## Slide 1
Nanophotonic Antimicrobial Susceptibility Test
Thomas F Krauss, Steve Johnson
Departments of Physics and Electronic Engineering, University of York
Towards a low cost test. Towards a fast test.

## Slide 2
1. Light couples into the grating
2. Light is Bragg-reflected.
Guided mode resonance
3. Light couples out again. The phase of the Bragg reflected light and the thickness of the high index layer determine whether the outgoing light is reflected or transmitted.

## Slide 3
Q≈200
We use silicon or silicon nitride. Typical operating wavelength is 800-900nm (therapeutic window).
Guided mode resonance

## Slide 4
Imaging
GJ Triggs, TF Krauss et al., “Spatial resolution and refractive index contrast of resonant photonic crystal
surfaces for biosensing” IEEE Photonics Journal, 7(3), 1–10 (2015)
Detect refractive index change locally, e.g. attachment of cells and bacteria.
Spatial resolution 2-5µm

## Slide 5
854 nm
856 nm
858 nm
0 minutes
60 minutes
150 minutes
Guided mode: Penetration depth 100-200 nm
Biofilm Imaging

## Slide 6
0 2 4 6 8 10 12 13 14 16 18 h
Reference media

## Slide 7
0 2 4 6 8 10 12 13 14 16 18 h
150 minutes
E.coli @ 107 cfu/ml

## Slide 8
0 2 4 6 8 10 12 13 14 16 18 h
Antibiotic after 0 h
Trimethoprim antibiotic after 0 h

## Slide 9
Trimethoprim antibiotic after 3.5 h
Trimethoprim antibiotic after 3.5 h
Behaviour with/without antibiotic is clearly different – can tell whether bottom layer of bacteria is affected.
107 cfu/ml
108 cfu/ml
Antibiotic after 3.5 h

## Slide 10
Towards a low cost test

## Slide 11
Autonomous sensor
“IMPROVED SENSOR AND ASSOCIATED METHODS” UK Patent Application No. 1610647.8
Cost of components £10-£40

## Slide 12
Towards a fast test
Our test works in the vertical direction cf the agar test that works in the horizontal.

## Slide 13
3µm
5µm
Individual bacteria
The test can look at individuals or small clusters of bacteria.

## Slide 14
C. Probst, A. Grünberger et al., “Polydimethylsiloxane (PDMS) Sub-Micron Traps for Single-Cell Analysis of Bacteria“, Micromachines 4, pp.357-369 (2013)
Trap ndividual bacteria

## Slide 15
G.N. Stewart, "The changes produced by the growth of bacteria in the molecular concentration and electrical conductivity of culture media”
Journal of Experimental Medicine. 4, pp. 235–243 (1899)
Electrophotonics
J.J. Colas, TF Krauss, SD Johnson et al., “The electrophotonic silicon biosensor”, Nature Comms 12769, 2016

## Slide 16
3. Now working towards individual bacteria (-> high speed)
Conclusion
1. The surface sensitivity of our nanophotonic approach allows us to monitor biofilms and their response to antibiotics accurately.
2. The technique can be realised in a simple package (-> low cost)