## Slide 1: Prevention: Sterilization/Clean Theatre MOH Malawi policy
Dr Chisale Mhango, FRCOG
November, 2013

## Slide 2: Infection Control Philosophy
The aim of ICP is to eliminate the infection as quickly as possible and to ensure that patients, staff, equipment and floors are not a source of infection because
  Contamination of the operating theatre is a major cause of nosocomial infection.
  Good hygiene practice in hospitals and in operating theatres is mandatory to minimise nosocomial postoperative infections.

## Slide 3: Infection Control Philosophy
Layout of theatre
The path a patient negotiates through an operating department is shaped by its design and layout of the physical plant, which should be determined by infection control requirements to ensure the safety of both patients and service providers.
  Layout of rooms, equipment with operating materials, cleaning and disinfection of surfaces, of anaesthetic devices as well as of surgical instruments are critical in infection prevention and control.
  It is important to keep strict guidelines on theatre IPC

## Slide 4: Guidelines for IPC practices in the OT.
Written guidelines for IPC practices in OT should including:
Storage of sterile and high-level disinfected instruments
Housekeeping, including schedule and procedures for:
  Cleaning before procedures
  Cleaning after each procedures
  Final cleaning at the end of the day
Patient’s skin preparation
Use of Personal Protective Equipment (PPE)
Safety practices for handling, passing and disposing of sharp instruments
Linen management
Waste management

## Slide 5: The traffic flow and activity patterns for the transition zone.
Traffic is limited to authorized personnel only
Personnel enter in personal clothes and exit into a semi-restricted or restricted area with proper attire (clean scrub suit)
Personnel enter operating rooms through changing areas (room)

## Slide 6: The traffic flow and activity patterns for the semi-restricted area
Traffic is limited to patients and authorized personnel
Must have a closed storage space (closed cabinets or closed room) for sterile and high level disinfected supplies
Personnel are required to wear surgical attire including head cover
Personnel are required to wear clean closed shoes that will protect their feet from fluids and dropped items

## Slide 7: The flow of supplies, instruments, linen and equipment to avoid cross-contamination.
Used and soiled supplies, instruments and equipment are transported in closed containers to outside of the restricted area after use without crossing with sterile, clean items
Soiled linen and waste are transported in closed or covered carts, containers or plastic bags to outside of the restricted area without crossing with sterile, clean items

## Slide 8: Safe environment of physical plant and storage space in restricted area of the OT
All the floors in the operating room (s) should be:
Hard
Seamless
Easy to clean
Without drains
All the walls in the operating room (s) are free of fissures, or crevices
All the ceilings in the operating room (s) are seamless and easy to clean
There is one or more scrub sink areas with running water with elbow/foot taps for surgical scrubbing outside of the operating room (s)
There is an area to store sterile and/or high-level disinfected supplies, instruments and equipment with:
  Limited access to the storage area
  Closed cabinets/ or Shelves

## Slide 9: The operating theatre must be clean.
Absence of blood, dust, soil, debris, trash, insects and spider webs in the following sites:
Floors
Walls
Ceilings
Windows
OT lamps
Chairs
Sinks for surgical scrub
Tabletops and counters
Ledges and any other flat surfaces
OT tables
Trolleys
Equipment:
  Oxygen cylinders
  Suction machines
  Anesthesia equipment
Storage area
Recovery beds
Toilets

## Slide 10: Aseptic techniques during surgical procedures.
Scrubbed personnel:
Remove jewelry
Wear clean scrub suit covering bare arms (one or two pieces)
Wear clean surgical cap or hood that covers hair
Wear gumboots or impervious closed shoes
Wear sterile gown
Wear sterile surgical gloves
Wear double gloves if the procedure involves coming in contact with large amount of blood or other body fluids (e.g. C-sections), and/or if the procedure is longer than 30 minutes
Wear protective eyewear
Wear face masks covering mouth and nose
Touch only sterile items or areas
Replace sterile gloves, as promptly as safety permits, if they become contaminated or torn during the procedure
Keep arms and hands within the sterile field at all times
Keep talking to a minimum in the presence of a sterile field
Keep forearms above the waist level
Never place hands under the upper arms

## Slide 11: Surgical scrub properly performed before each surgical procedure (1)
Keep fingernails short and healthy - do not polish nails
If it is a water and antiseptic soap scrub:
Turn on and adjusts the water
Hold hands above the level of the elbow, wet hands thoroughly and apply soap or an antiseptic soap
Begin at the fingertips, lathers and rubs vigorously
Wash between all fingers
Move from fingertips to elbows of one hand and repeat for the other hand
Use of a brush or sponge is unnecessary
Wash for 2-5 minutes using antiseptic soap
Rinse each forearm separately, fingertips first, holding hands above level of elbows
Use a separate clean cloth towel for each hand to wipe from fingertips to the elbow and then discard the towel
Hold hands above the level of the waist and away from the body without touching anything
Immediately wear sterile garb/gown

## Slide 12: Surgical scrub properly performed before each surgical procedure (2)
If it is hand washing followed by use of a waterless alcohol-based hand rub:
Turn on and adjusts the water
Hold hands above the level of the elbow; wet hands thoroughly and applies soap
Thoroughly wash hands and forearms to the elbow with soap and water for 2 minutes
Use of a brush or sponge is unnecessary
Rinse each forearm separately, fingertips first, holding hands above level of elbows
Dry hand and forearms thoroughly with a clean dry towel or air dry
Apply 5 ml (about one teaspoonful) of a waterless, alcohol-based hand rub to hands, fingers and forearms, and rub until dry
Repeat application and rubbing 2 more times for a total of at least 2 minutes, using a total about 15 ml of the hand rub
Hold hands above the level of the waist and away from the body and avoid touching anything
Immediately wear sterile garb/gown

## Slide 13: The operating room is set up properly before each surgical procedure.
Tables, Mayo stands and ring stands are:
Organized side by side
  In an area that is away from the traffic flow
  At least 46 cm from walls, cabinets and other non-sterile surfaces
A clean sheet is placed on the OT bed
A clean leak-proof container for soiled linen is placed away from sterile items
Puncture-resistant containers to dispose off sharps are placed away from the sterile items
  A leak-proof plastic bag is placed in each container for waste disposal
Clean plastic containers with fresh 0.5% chlorine solution are placed in the OT room
Supplies that are checked and ready to open are placed on the tables
Mayo stand and other non-sterile surfaces are covered with sterile barrier materials if they are to be used during the procedure

## Slide 14: Non-scrubbed personnel follow the aseptic techniques during surgical procedures.
Non-scrubbed personnel (runners):
Remove rings, watches, and bracelets and other jewelry
Wear long sleeved clean scrub suit
Wear clean surgical cap or hood that covers hair
Wear clean closed shoes that will provide protection from fluids and dropped items
Wear masks covering mouth and nose, when open sterile items and equipment are present
Stay at the periphery of the OT, keeping a distance away from sterile areas

## Slide 15: Patient’s skin is properly prepped before surgical procedures to prevent infections
Patient wears a clean gown and is covered with clean linen
Hair is not shaved around the operative site
  If hair must be cut, it is trimmed close to the skin surface with scissors immediately before surgery in an area outside of the OT room
If visibly soiled, the operative area is cleaned with soap and water, and dried before applying an antiseptic
Sterile gloves are worn for the prepping procedure
Patient’s skin is thoroughly cleaned from the operative site outward for several centimeters in a circular motion
If prepping contaminated areas (e.g., abdominal-perineal or abdominal-vaginal areas), 2 separate prepping procedures are done using different prep trays, solutions and gloves; the contaminated area is done first, covered with a sterile towel, and then the other area is prepped
Antiseptic is not allowed to pool underneath the patient’s body
Antiseptic is allowed to dry before beginning the procedure

## Slide 16: Sterile field must remains sterile during surgical procedures.
Sterile fluids, equipment and supplies are opened and delivered to the sterile surface without contacting the edges of the wrapper or container
Non-scrubbed personnel open wrapped supplies by the wrapper flap farthest away from them first, and then the nearest wrapper flap last
Sterile items are presented to the scrub person or placed securely on the sterile field
Solutions are poured slowly into the container held by the scrub person or placed near to the table edge
Sterile pick up forceps are pre-packed and used to open wraps or to pick up gauze or sterile supplies or instruments for one patient only

## Slide 17: Controlled traffic flow during surgical procedures.
Doors to the OT room are kept closed during the entire procedures, except during movement of personnel, patients, supplies and equipment
The number of personnel entering the OT room during the surgical procedure is limited to those necessary to perform the procedure

## Slide 18: Instruments, linen and waste are properly disposed after surgical procedures to avoid injuries and cross-contamination.
Personnel wear gloves when handling soiled instruments, linen and waste
All waste (e.g. gauze, cotton wool, dressing, etc.) are disposed of in a leak proof container with leak proof plastic bag
Instruments are placed in a 0.5% chlorine solution for 10 minutes for decontamination
When using regular needles and syringes these are flushed three times with 0.5% chlorine solution and immediately disposed of in a puncture-resistant container, without removing, recapping or breaking the needle
All blades and other disposable sharps are disposed of in a puncture-resistant container
Soiled linen is placed in a leak proof container
Sterile gloves are removed, after being immersed in a 0.5% chlorine solution, and placed in a leak proof container
Hand hygiene is performed after removing gloves:
Wash hands with running water and soap for 10–15 seconds and dry with an individual clean towel, paper towel or allows hands to air-dry

## Slide 19: The OT rooms must be properly cleaned after each procedure.
Housekeeping personnel wear utility gloves and other personal protective equipment during cleaning
All waste is collected and removed from the room in closed leak proof containers
Soiled linen is removed in closed leak-proof containers
Blood and body fluid spills are mopped with 0.5% chlorine solution, and then cleaned with detergent and water
All horizontal surfaces that have come in immediate contact with a patient or body fluids are cleaned with a disinfectant cleaning solution
The OT bed is cleaned, and all surfaces and mattress pads are wiped with a disinfectant-soaked, lint-free cloth
The center of the OT room surrounding the bed is cleaned with a disinfectant cleaning solution (if visibly soiled)
i.e. Two buckets are used:
One with the disinfectant cleaning solution
One with clean water for rinsing
After the room is cleaned, hand hygiene is performed after removing gloves:
Wash hands with running water and soap for 10–15 seconds and dry with an individual clean towel, paper towel or allows hands to air-dry

## Slide 20: A disinfectant cleaning solution must be prepared properly.
Cleaning solution is prepared as follows:
A 0.5% chlorine solution is prepared
Detergent without an acid, ammonia or ammonium is added to the 0.5% chlorine solution until a mild soapy cleaning solution is made.

## Slide 21: The cleaning equipment must be decontaminated, cleaned and dried before reuse or storage.
Mops, buckets, brushes and cleaning cloths are:
Decontaminated by soaking for 10 minutes in 0.5% chlorine solution or other approved disinfectant
Washed in detergent and water
Rinsed in clean water
Dried completely before reuse or storage

## Slide 22: Collection of medical waste must be performed properly to prevent injuries and contamination.
Medical waste (e.g. cotton wool, gauze, etc) must be placed in a washable container with a leak-proof plastic bag
Containers are closed and collected when ¾ full or daily if not ¾ full

## Slide 23: Flow and activity patterns in the CSSD designed to avoid cross-contamination.
Traffic is limited to authorized personnel only
Personnel are required to wear surgical attire including head cover
Receiving/clean-up area separated with a physical barrier (wall and/or door) from the processing area
The receiving/clean-up area must have:
    A receiving counter
    At least one sink with running water
    A counter for instruments to dry
  A clean work area for wrapping/packing with:
    A large work table
    Shelves for holding clean package
    At least an autoclave and/or a dry heat oven
Storage area for clean supplies, instruments and equipment with:
    Shelves for storing clean equipment
    Office desk for record keeping
Store for sterile and/or high-level disinfected supplies, instruments and equipment with:
    Limited access to the storage area
    Closed cabinets/ or shelves

## Slide 24: CSSD cleanness
Absence of blood, dust, soil, debris, trash, insects and spider webs in the following CSSD sites:
Floors
Walls
Ceilings
Windows
Chairs
Sinks for clean-up
Tabletops and counters
Ledges and any other flat surfaces
Trolleys
Storage area
Toilets and bathrooms

## Slide 25: Decontamination of instruments and other articles after use and before cleaning.
Surgical instruments must be processed according to standardised and validated methods
Liquid chlorine:
if using JIK (3.5%), 1 part bleach for 6 parts water, or
If using a concentration of 5%, 1 part bleach to 9 parts water, or
Powder chlorine:
if using Calcium hypochlorite (35%), 14 grams bleach powder for 1 liter water, or
if using Calcium hypochlorite (70%), 7 grams bleach powder for 1 liter water
A new chlorine solution is prepared at the beginning of each day or sooner if needed
Clean containers with fresh 0.5% chlorine solution are used for each surgical procedure
Instruments and other items are soaked in the 0.5% chlorine solution for 10 minutes
After 10 minutes, instruments and other items are removed from the chlorine solution; washed in soapy water then rinsed in clean water.

## Slide 26: Steps of cleaning instruments and recommendations:
Staff
Wears:
  Utility gloves
  Mask and eyewear protection or face shield
  Plastic apron
  Head cover
  Gumboots or enclosed shoes
Utilizes:
  Soft brush
  Detergent (liquid or powder)
  Scrubs instruments and other items under the surface of water, completely removing all blood and other foreign matter
  Disassembles instruments and other items with multiple parts and cleans in the grooves, teeth and joints with a brush
Rinses
  rinses instruments and other items thoroughly with clean water
Allows instruments and other items to air-dry, or dries with a clean towel
Washes hands after removing gloves:
  Washes hands with running water and soap for 10–15 seconds and dry with an individual clean towel, paper towel or allows hands to air-dry, or
  Rubs hands with 3–5 ml of an alcohol-based solution until the hands are dry (if hands are not visibly soiled)

## Slide 27: The process of loading the sterilizer.
If using steam sterilization (autoclave):
  Ensure space (around 7-8 cm) between the packages and the walls
  Packs (linen) must rest on their edge, in loose contact with each other
  Bottles, solid metal and glass containers with dry materials are placed on their sides with lids held loosely in place
  Canisters, utensils and treatment trays (if a solid tray) are on their sides
  Instrument trays (mesh or perforated bottom only) are placed flat on shelves
    Maximum dimensions and weight of packs are: 30 x 30 x 50 cm or 5 kg
  There is sufficient space between packs to allow steam circulation
  Solutions are sterilized in a separated load
AND/OR
If using dry-heat sterilization:
  Ensure space (around 7-8 cm) between the packages and the walls
  Must have enough space between packs and containers (sterilizer is not overloaded)

## Slide 28: Packaging process of items to be sterilized.
The instruments should be clean and dry
If packaging items to for steam sterilization (autoclave):
  Cloth items should laundered, dried and have no holes
  All jointed instruments must be in opened or in unlocked position
  All instruments must be disassembled
The types of materials used for wrapping:
  Cloth wraps, muslin or cotton: double wrapping using two double-thickness wraps (4 layers in all). [Canvas or other waterproof material is never used for wrapping]
Packages should be a bit loose to allow steam penetration
AND/OR
If packaging items to be sterilized through dry-heat:
  The types of materials used:
    Cloth wraps, muslin: double wrapping using two double-thickness wraps (4 layers in all), or
    Metal drum

## Slide 29: The sterilization process
Standard conditions to be followed:
If steam sterilization (autoclave):
  20 minutes for unwrapped items or 30 minutes for wrapped items at 121 ºC (250 ºF) in a gravity-displacement sterilizer, and/or
  4 minutes at 132 ºC (270 ºF), in a pre-vacuum sterilizer, and/or
  Other depending on the type of item, whether it is wrapped or unwrapped and the type of sterilizer (according to the manufacturer’s instructions)
AND/OR
If dry-heat sterilization:
  170 ºC (340 ºF) for 1 hour after achieving the desired temperature (total cycle between 2–2.5 hours), and/or
  160 ºC (320 ºF) for 2 hours after achieving the desired temperature (total cycle between 3–3.5 hours)

## Slide 30: The process of unloading the sterilizer
If using steam sterilization (autoclave):
Door is open 12–14 cm after the sterilizing cycle has been completed, and the chamber pressure gauge reaches “0”
30 minutes are allowed before unloading the sterilizer, for pack and instruments to dry (not applicable if drying cycle is used)
Packages must be dry before unloading
If a loading cart is used, the cart is removed from the sterilizer and placed away from open window or fan until it is cool
If no cart is used, packs are laid out on a surface padded with paper or fabric, away from open windows or a fan until they are cool
Unnecessary handling of the packs is avoided
When packs have cooled to room temperature, they are dispensed or placed into a sterile storage area
If using dry-heat sterilization:
Packs/containers must be laid out on a surface padded with paper or fabric, away from open windows or a fan until they are cool
Packs/containers cool to room temperature before handling
Unnecessary handling of the packs/containers is avoided
When packs/containers have cooled to room temperature, they are dispensed or placed into a sterile storage area

## Slide 31: Maintenance routine for sterilizers.
Steam sterilization (autoclave):
  Chamber is cooled before any procedure is undertaken (cleaning or loading)
  Outlet screen is removed and cleaned with detergent and a brush under running water
  Chamber is cleaned daily using a soft cloth [Abrasive cleanser or steel wool is avoided to clean the autoclave]
  All doors or lid gaskets are cleaned with a lint-free cloth and defects are checked
  Defective gaskets are replaced, if necessary
  Shelves, basket or cart that hold packs are cleaned with a soft cloth with detergent and water
AND/OR
Dry-heat sterilization:
  The oven is cleaned daily using a soft cloth, detergent and water
Every two weeks (observe or check in the records):
  The temperature gauge is checked every two weeks by placing a thermometer in the oven and comparing the reading with the one in the gauge

## Slide 32: Storage process for sterile items.
Observe if:
Clean supplies are stored separated from the sterile items
Unwrapped items are used immediately
Sterile packs have sterilization and expiration dates
There is a rotation and an inventory system to control the use of sterile items
The packs are free of tears, dampness, dust and gross oil
The sterile packs are reprocessed if not used after 14 days

## Slide 33: Monitor system for the effectiveness of the sterilization.
Steam sterilization (autoclave):
  There is a manual or automatic recording chart with time, temperature and pressure for each load
  The chart or log is completed and reviewed after each load
AND/OR
Dry-heat sterilization:
  Must have a manual or automatic recording chart with time and temperature for each load
  The chart or log should be completed and reviewed after each load
Correcting sterilization failure: If monitoring indicated a failure in sterilization, the following corrective measures were taken and registered:
  Equipment should be checked immediately to make sure it has been used correctly
  If the correct use of the unit has been documented and monitoring still indicates a failure, the use of the unit is discontinued and the unit is serviced
  Any instrument or other item that has been processed in the unit is reprocessed properly

## Slide 34: The End