Things which will need doing

Ongoing work in 1.04

At some point, estates will be coming to re-plaster and paint the wall around the new sink. Everything else is now done. If you notice red/brown spots on the floor, it means that the pipe in the roof has started leaking again. Email Chem Tech to get it sorted.

Equipment to UCL

Gemma needs the 3-tier rocker and old sonicator shipping down to UCL. They are in a big box under the bench in 1.05 and can be sent as soon as she sorts out a cost code. She will be collecting the pump in person, it is currently on the bench by the sink in 1.05, please don’t move or use it before then.

Balance calibration

Monday 10/09/2017 until Wednesday 12/09/2018, they are starting in the teaching labs, so it will probably be Wednesday before they make it over to the MAS. They will come to our lab, we have booked all 3 original balances in. They will not service the balances if they are not clean or if the surrounding area is dirty! The new ones (in 1.05) are not being calibrated.

Christmas lab shutdown

I have made the forms for the equipment which must stay on and uploaded them to the intranet, you will need to fill in the general shutdown forms when they are emails from Chem Tech and add suitable emergency contact numbers.

Missing pipettes

Rainin PR-1000 B1300099G has returned, but isn’t calibrated. It has been taken up to WMS to be added to their 11th September service booking.

Rainin PR-200 F1352379G and Scipette 0.1-2.5 MA0008415 are missing and have not been calibrated. If they reappear, it is best not to use them until they can be serviced. I suggest just hiding them in a drawer until the next service date (either down here or up in SLS/WMS).

Rainin PR-1000 B1300040G failed the calibration and has been taken away for further investigation, it may return at some point. If not, it can be removed from the inventory.

Useful files (including a copy of this document) have been uploaded onto the intranet, on the resources page.

Servicing Schedules

The safety cabinet in the cell lab will be serviced in January, expect an email from tech team or Magda (m.mos@warwick.ac.uk). If you don’t hear anything by mid-December, this will need chasing up, we want ours doing when the Walkers technician is already here doing the ones in Chemical Biology and engineering, to save on costs.

The autoclave needs a yearly safely test (carried out by the insurance company), expect an email about this from the tech team in January. Again, chase this up if you don’t hear anything.

Octet serviced August 2018, next due August 2019. They should email us a reminder, if you don’t hear anything by the beginning of August email stephen_sterling@pall.com.

MilliQ system had all components replaced July 2018, next due January 2020 unless a warning message appears. There is 1 of each spare part (and loads of chlorine tablets) on the shelf above it, should anything need attention.

Pipette servicing shouldn’t be done again until next August, but depending on the date, may be before I get back. The pipette inventory is on the intranet, under resources. It is worth going through the inventory as part of the Christmas shutdown (or whenever you decide to redo quartz) to check that they are still present.

Things you might need to order

Dishwasher tablets, get 5 boxes at a time or we have to pay £10 postage.

| SUN PROFFESIONAL TABLETS 7515207 100 |  |
| --- | --- |
| Supplier; BUNZL CATERING SUPPLIES. Part Number; N05405. System Packaging; CS. | Top of Form Location; Network Fulfillment Center 1. Net Price; 12.86 GBP. Bottom of Form |

Blunt needles for the Cryostage

| NEEDLE BLUNT STERICAN 18G 1,20X40MM |  |
| --- | --- |
| Supplier; VWR International Ltd. (UK). Part Number; 613-2948. Manufacturer Name; BRAUN B. (INC. PETZOLD). Manufacturer Part Number; 4038088-01. System Packaging; EA. | Top of Form Location; Fulfillment Address 1. Net Price; 25.40 GBP. Bottom of Form |

Coverslips for the Cryostage

| Academy Cover Slips, No.1.5, 0.16-0.19mm thick, 22 x 22mm, Pk100 |  |
| --- | --- |
| Supplier; DIXON SCIENCE. Part Number; NPS16/2222. Manufacturer Name; Academy. Manufacturer Part Number; NPS16/2222. System Packaging; EA. | Top of Form Location; Fulfillment Address 1. Net Price; 0.58 GBP. Bottom of Form |

Cuvettes for the Zetasizer- Non catalogue item, order from Malvern Intsruments LTD

| Product Description | Suppliers reference number | Quantity | Unit Price | Unit of Measure |
| --- | --- | --- | --- | --- |
| ZEN0040 - 40ul Cuvette Pack of 100 with Stoppers | 20000730 | 1 | 80.20 GBP | EA - Each |