Initial observations from the first phase of the research labs tour.

Areas visited

Ground floor areas visited in the tour covered the following areas:

F013, F012, F010, F011, F003, F005, F004, F016, F017, F018, F020, F021, F022, F025, D035, D034, D030 Mezz, D032 Mezz, D033, D034, D004A, D004B, D004C, D004D, D004E, D009, D015, D014, D020, D100, D101, D102, D103, D104, D105, D106, D107, D009B, D009A, D030, D017, D010, D009 Mezz, D002 Mezz, D003A, D002, A008C/D, A008B, A008A, D003.

General Observations

On the tour the good points were some areas were kept in good order, examples being F013/012, A008A. There was evidence of good health and safety practise in D003 with extension on the floor protected by a cable protector. Some areas had visible SSOW/RA. Despite claims of not enough space there looks to be potential good usable space that could be utilised for other purposes if existing areas were tidied or rationalised. Examples being F004/F005, F018, D010.

Most areas however suffered from a lack of care and attention with boxes, test gear, old computers piled up on floors or desk space. Areas cluttered with unsuitable space to conduct teaching or research.

The areas looked particularly uninspiring to potential students or visitors. Areas were found to be dirty, messy, vintage looking test equipment with a general lack of care or respect for areas being used.

One student was seen in a shabby lab coat riddled with holes, which under further discussion was possibly due to a local mouse feeding on the jacket. Although the student was not complaining about the jacket, this does not give a good impression.

In another area students had to work on the floor due to a lack of desk space requiring them to kneel down to set up and monitor experiments.

Bad practice found in the laboratories was a number of bikes being stored in the lab areas, general disregard for no eating or drinking in the lab areas, general untidiness, chemicals left out, unidentified solutions in containers, slip and trip hazards on the floor.

F013/F012 Trace Metals Research Lab: + Neat and tidy, +well laid out, -underutilised                         F010/F011 Research lab – F10 boxes in entrance, -F011 some junk, -underutilised?                                                               F003 Microscopy & analysis lab: + potential space, + services many areas cheaply, – untidy, -old equipment, -cheap charging rates.                                                                                                                       F005/F004 Surface Parameters Lab/Metrology Lab: +Good potential space for teaching area, -old equipment, - utilisation, -academic/technician retiring.                                                                                                                                  F016 Geotechnics Lab : + potential space, - old equipment, - utilisation.                                                      F017 Geotechnics Lab:  -untidy, dirty (work related).                                                                                                                   F018 Precision Mechanics Lab: + good size, -underutilised, -untidy.                                                                               F020 Instrumentation Lab: -more of a storage area than lab.                                                                         F021 Materials testing room: -new equipment to go in area, users keen to swap space for F018.  F022 Store area:                                                                                                                                                F025 Concrete workshop: +good size area, +practical area for students                                                            D035 Structures lab (strong floor): +large area, -not visually inspiring                                                                D034 Gait lab obs room: +interesting work, -untidy in area, -stuck out of the way                                       D030 Mezz PhD student office: +large area, -some desks very untidy, - roof work in progress                  D033 Warwick water lab: -untidy                                                                                                                         D004 Flume/wind tunnel area: +flume well used, -not sure how well wind tunnel used, -untidy in some areas around wind tunnel and up on gantry                                                                                             D004A Fluids project area: +half used for research, half for project work, - project area untidy, -area needs partition/door  for C14 pesticide work                                                                                                                          D004B Thermodynamics research cell: -very untidy, area used for ammonia work,                                 D004C Thermodynamics research cell: -very untidy, area used for ammonia work,                                   D004D Solar thermal lab: -area untidy, -no space for student projects,                                              D004E Optical engineering lab: -untidy                                                                                                                      D009 climatic chambers, solar simulator, ovens: -untidy in parts, rubbish behind chambers, -cables by entrance to chamber                                                                                                                                          D014/015 Thermodynamics research cell: +newly refurbished, -old items being stored in area                                                                           D020 Thermodynamics research cell: -untidy                                                                                                     D103 PCB manufacturing cell: +some new kit, -kit not functioning, -odour/atmosphere in area, -underutilised                                                                                                                                                      D107 Thermal properties measurement lab: +well utilised, - little untidy                                              D102 Engine test cell: +space could be reused, -underutilised, -untidy                                                    D101 Engine obs room: +space could be reused, - underutilised, -untidy                                               D106 Research cell: +space could be reused, -underutilised, -untidy                                                        D105 Research cell:+space could be reused, -underutilised, -untidy                                                          D100 Research lab: +good size space, - extremely untidy, -slip/trip hazards, -locked side offices,             D009B Imaging lab: +newly refurbished, +utilised, -work still in progress (laser lockout)                                  D009A Flow lab: +newly refurbished, -filled with parts, looks a dump, new flume dumped outside  restricting walkway.                                                                                                                                             D030 Chemical reaction lab: +newly refurbished, +utilised, -little untidy,                                                         D017 +newly refurbished, +in the process of being set up                                                                       D010 Laser lab: +good space, -very untidy, -area not being used,                                                           D009 Mezz PhD student office: +good size, +good condition, -ac power for desks                                                                                                                                                              D002 Mezz Design studio: +good space, -utilisation?                                                                                D003A Biomedical sensors lab: +utilised, +well laid out, +looks modern, -little untidy in office part, D002 Brain & behaviour lab: +good space, +in process of being set up                                                      A008CD Research lab: -untidy, -laser blinds not working, -utilisation?                                                          A008B Teaching lab: +newly refurbished, +large area, +looks good, -utilisation?                                A008A Project area: +newly refurbished, +good area, +looks good, -needs tables/chairs, -temperature control                                                                                                                                                 D003 European satellite lab: +newish area, +of interest to new students, +monitor to visually showcase area, -little untidy.

Points to consider

Existing utilisation of space. What research is carried out in which areas, revenue generated or peer interest/relevance of research undertaken.

Areas that could be used for larger teaching areas or multiple use facilities to improve utilisation.

Improvements in general décor or look of the building. Visual and engaging displays of what research is being undertaken to inform/excite visitors or potential students on open days.

Red tag/5S type methodology to help keep area tidy.

Potential areas for pesticide/C14 research instead of partitioning up D004A.

Identify up and coming research projects to see where they could best be performed perhaps improving synergy in the areas.

Improvements in student project space/areas.