935 – RA for Helium

Supervisor/Manager:

[image: image1.wmf]

Dr. James Covington & Dr. D. R. Billson




1. Identify Task

Define the task, eg "using X-ray equipment", "handling or moving heavy equipment", "using electrical equipment".  Please include the location. 

[image: image2.wmf]

Using a helium compressed air tank for pressurising 




2. Identify Hazards

These could be, for example, exposure to laser beams, the release of a toxic chemical, activity causing back and/or physical injury, possibility of electrocution under fault condition. A full list of possible hazards is given here. 

[image: image3.wmf]

Risk of explosion from compressed gas tank.

In high concentrations, may cause asphyxiation.

Heavy tank may cause personal injury upon impact if




3. Identify People Affected

Employees, students, visitors, contractors, etc 

[image: image4.wmf]

Project group students




4. Evaluate the Risks

State the likely severity (death, burn, major injury, minor injury) of an incident caused by the hazard, and the probability and the likelihood that such an incident will occur. The factors affecting the analysis of likelihood are: 

[image: image5.wmf]

Explosion - Very Unlikely

Asphixiation - Very Unlikely

Tipping over and Crushing - Unlikely




5. Control Measures

State the measures that are necessary to reduce or elimate the risk. For example: protective devices, safe working practices, permit to work, training, supervision, warning signs. 

[image: image6.wmf]

Careful handling, low pressures used and low capa

Room kept well ventilated to remove risk of asphixiat

Cylinder chained to wall/table within carriage to remo




_1263385738.unknown

_1263385740.unknown

_1263385736.unknown

_1263385737.unknown

_1263385735.unknown

_1263385734.unknown

