Risk Assessment Form – RA-BrukerE580_V1

| Title of Assessment | Bruker E580 EPR Spectrometer |  |  | Date of assessment |  | 08/02/2017 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date for review |  | 08/02/2018 |
| Department | Physics |  |  |  |  |  |
| Descriptions of Activities | Use of the Bruker EPR spectrometer in Millburn house room G69. |  |  |  |  |  |
| Name of those working to this assessment | Trained EPR spectrometer users listed in the px-epr-users webgroup. |  | Any others who may be affected by this assessment |  | All lab users |  |
| Assessment carried out by | Sinead Mottishaw |  |  |  |  |  |

| ##### Additional information | General lab risks are detailed in the general lab risk assessment. Users are responsible for having performed a risk assessment for their samples which must be logged at: www.warwick.ac.uk/fac/sci/physics/research/condensedmatt/magneticresonancecluster/diamond-epr/optical/raman_spectrometer/sample . When booking all users will provide a reference to the risk assessment for the sample used. Due to the location of the spectrometer in and interlocked laser lab all users must have completed basic laser safety before they are allowed in the lab. Bookings are restricted to trained users who are recorded in the px-epr-users web group. |
| --- | --- |

| Foreseeable Significant Hazard | Hazard Risk | Existing control measures | Controlled residual risk | Further Action where risk remains moderate/high | By whom & when | Controlled Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Mains electricity | Electric shock and/or burns | Equipment should not be tampered with. All equipment requires an in-date PAT test. | (Major, Unlikely) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Three-phase electricity | Electric shock and/or burns | Three-phase power supply/cables should not be tampered with. Visual inspection should be regularly carried out. | (Major, Unlikely) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Water leak | Electric shock and or burns and slips | Water cooling pipes/fitting should be inspected for leaks. Flooding sensors are located at the spectrometers, which shut off the water valve in event of a leak. Lab flooding procedure (c.f. general risk assessment) should be followed. | (Major, Unlikely) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Microwave source (1 kW maximum at 9.8 Ghz) (0.15 W maximum at 34 Ghz) | Burns to eyes/skin | Microwave power should not be on if waveguide is open. Waveguide seals should be properly fitted and replaced if damaged. | (Serious, Unlikely) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Magnetic field | Bruising, ill-health, failure of electronic health devices | Magnetic items should not be held within the 5 G line All users, and especially users with pace-makers/other electronic health devices, should not cross the 5 G line which is the yoke of the spectrometer. | (Major, Unlikely) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Moving parts | Trap fingers, hair/clothing | Loose clothing should be avoided and long hair should be tied back. | (Minor, Possible) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Broken glassware | Cuts | Take care, dispose of sharps and broken glass in the approved receptacles provided. | (Minor, Likely) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Obstructed walkways | Slip, fall | Do not block walkways and be aware of risk | (Minor, Possible) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Dirt or polluted work area | Poisoning, eye and skin irritation | Keep work areas clean and tidy | (Minor, Possible) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Cryogenics | Inhalation or ingestion causing loss of consciousness, asphyxiation or Burns. | Read all relevant safety data sheets, University and Departmental Safety regulations and guidance, and pass any required safety tests. | (Major, Unlikely) Low | None | Sinead Mottishaw 08/02/2017 | Low |
| Explosion/implosion of cryostat/vacuum system | Cuts from shards of glass/metal | Use of vacuum systems prohibited unless user is trained in the safe operation of the vacuum pumps. Safety valves are to be used and checked regularly. | (Major, Unlikely) Low | none | Sinead Mottishaw 08/02/2017 | Low |

Work should not be carried out until the assessment is completed to a suitable & sufficient level and all required control measures are in place.

Is assessment suitable and sufficient       Yes

| Any further actions required to allow work to commence |  | None |  |  |
| --- | --- | --- | --- | --- |
| Approved By |  |  | Position |  |
| Date |  |  |  |  |

Please print a copy, sign it and keep for your records

|  | Severity of injury |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  |  |  |
| Unlikely | Very low | Very low | Low | Low | Moderate |  |  |  |
| Possible | Very low | Low | Low | Moderate | High |  |  |  |
| Likely | Low | Low | Moderate | High | Very high |  |  |  |
| Very likely | Low | Moderate | High | Very high | Very high |  | Overall Risk Rating (highest level found) | Low |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.