Risk Assessment Form – RA-Magnetometer _V1

| Title of Assessment | Diamond magnetometer |  |  | Date of assessment |  | 03 April 2018 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date for review |  | 03 April 2019 |
| Department | Physics |  |  |  |  |  |
| Descriptions of Activities | Use of the diamond magnetometer |  |  |  |  |  |
| Name of those working to this assessment | Gavin Morley, Angelo Frangeskou, Guy Stimpson, project students |  | Any others who may be affected by this assessment |  | People in G74 |  |
| Assessment carried out by | Angelo Frangeskou |  |  |  |  |  |

| ##### Additional information |  |
| --- | --- |

| Foreseeable Significant Hazard | Hazard Risk | Existing control measures | Controlled residual risk | Further Action where risk remains moderate/high | By whom & when | Controlled Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Exposure to laser radiation at 532 nm | Occular damage, skin damage | All participants must be familiar with the laser RA and SSoW. | (Serious, Unlikely) Low | None |  | Low |
| Exposure to microwave radiation at 2-4 GHz | Cellular heating | Experiment housed in a Faraday cage requiring a tool to be opened. | (Minor, unlikely) Very Low | None |  | Very Low |
| Trip hazards | Bodily injury due to impact on falling | All lab users instructed to keep paths clear. | (Minor, possible) Low | None |  | Low |
| Fire hazards | Burning, death | Refer to the laser RA and SSoW. | (Serious, unlikely) Low | None |  | Low |
| Electrical hazards | Electric shock, burns, death | Electrical equipment should not be tampered with. All equipment requires an in-date PAT test. | (Serious, unlikely) Low | None |  | Low |
| Magnetic field | Bruising, ill-health, failure of electronic health devices | A ~8 x 8 x 8 cm permanent magnet is employed for bias magnetisation. The 5 G line is does not extend beyond the table it sits on. The magnet must always be securely mounted or inside a secure padded & marked box) All users, and especially users with pace-makers/other electronic health devices, should not cross the 5 G line. | (Serious, unlikely) Low | None |  | Low |
| Dirt or polluted work area | Poisoning, eye and skin irritation | Keep work areas clean and tidy | (Minor, Possible) Low | None |  | Low |

Work should not be carried out until the assessment is completed to a suitable & sufficient level and all required control measures are in place.

Is assessment suitable and sufficient       Yes

| Any further actions required to allow work to commence |  |  |  |  |
| --- | --- | --- | --- | --- |
| Approved By |  |  | Position |  |
| Date |  |  |  |  |

Please print a copy, sign it and keep for your records

|  | Severity of injury |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  |  |  |
| Unlikely | Very low | Very low | Low | Low | Moderate |  |  |  |
| Possible | Very low | Low | Low | Moderate | High |  |  |  |
| Likely | Low | Low | Moderate | High | Very high |  |  |  |
| Very likely | Low | Moderate | High | Very high | Very high |  | Overall Risk Rating (highest level found) | Low |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.