## Front Sheet
UNIVERSITY OF WARWICK
DEPARTMENT OF PHYSICS
RISK ASSESSMENT FORM
Student | Amy Hopper
Supervisor | Gavin Morley
Date of assessment | 2017-10-11
Location of work area(s) | Milburn House Magnetic resonance labatory G74
Review date(s)
TITLE | Spin qubit experiments in diamond
Description | Setting up and performing magnetometry experiments with diamonds
Approval and acceptance of risk assessment and control measures
NAME | ROLE
Gavin Morley | Supervisor

## Documentation
Documentation required to be completed
Type of project | Safety Plan | Chemical Hazards | Other Risks Assessment | Ionising Radiation Registration | Workstation/Office Assessment
Theory / Desk-based |  |  |  |  | ü
Experimental | ü |  | ü
Experimental including chemicals | ü | ü | ü
Experimental including radiation | ü | ü | ü | ü

## List of Hazards
Mechanical | Electrical | Biological Hazards | Radiation | Location | Other hazards
Abrasion | Arcing | Any planned biological work | Heat or UV | Falls from a height | Confined spaces
Crushing | Burns | Moulds, spores, fungi | Ionising radiation | Lighting conditions | Cryogenic gases
Cutting | Electrocution | Rodents | Lasers | Noise, vibrations | Dangerous (flammable)substances and explosive atmospheres
Entanglement | Explosion | Waterborne diseases when working outdoors | Microwaves/RF | Slips, trips and falls | Excavation
Impact | Falls, subsequent to shock |  |  | The working environment – hot, cold, humid | Experimental rigs
Trapping | Fire |  |  | Traffic hazards | Exposure to extreme temperatures
Also consider: lifting; tripping hazards; repetitive movements & the condition of the work environment. | Consider fault conditions; where you place the conductors; how the system has been configured, and by whom. |  |  |  | Falling objects, collapsing structures
Chemical |  |  |  |  | Lifting operations using lifting equipment
Allergies, dermatitis |  |  |  |  | Magnets and magnetism
Asphyxiation |  |  |  |  | Manual handling
Carcinogens or substances that can harm reproduction |  | Supplementary advice and guidance |  |  | Pressure systems / gases and cylinders
Fire and explosion |  |  |  |  | Transport of dangerous substances
Toxicity, burns |  |  |  |  | Vibration
Look at the foreseeable routes of entry to the body; spillage and emergency action; waste disposal |  |  |  |  | Workplace transport

## Chemicals
Use of Chemicals
Rows may be inserted or deleted as required
Chemical | Hazards (H-codes) | Amount used | Control Measures applied
Acetone | H225; H319; H336 | Minimal | Avoid direct contact. Wash hands after use. When working with large volumes use PPE; goggles or fume hood and gloves
Methanol | H225; H301; H311; H331; H370 | Minimal | Avoid direct contact. Wash hands after use. When working with large volumes use PPE; goggles or fume hood and gloves
Ethanol | H225; H315; H320; H335; H401 | Minimal | Avoid direct contact. Wash hands after use. When working with large volumes use PPE; goggles or fume hood and gloves
Isopropanol | H225; H319: H335 | Minimal | Avoid direct contact. Wash hands after use. When working with large volumes use PPE; goggles or fume hood and gloves
Propanol | H225; H318; H336 | Minimal | Avoid direct contact. Wash hands after use. When working with large volumes use PPE; goggles or fume hood and gloves

## Other Risks
Rows may be inserted or deleted as required
|  |  | HELP |  | HELP
HAZARD TYPE | STEP | LIST TASK & HAZARDS | HAZARD SEVERITY | CONTROL MEASURES | LIKELIHOOD | ASSESSED RISK | OUTCOME | COMMENTS
MECHANICAL | 1 | Falling equipment | 2-Minor | Keep good labatory practice; Keep walkways clear; | 1-Unlikely | Very low | Risk well controlled
| 2 |  |  |  |  | #N/A | #N/A
ELECTRICAL | 1 | High voltage electrocuton | 4-Major | High voltage work restricted; equipment (esp. casings) kept maintained | 1-Unlikely | Low | Risk controls acceptable
|  | Electrical Fire | 2-Minor | Equipment readily availiable; good lab practice maintained; walkways kept as clear as possible; fire proof enclosures around lasers in free space | 1-Unlikely | Very low | Risk well controlled
BIOLOGICAL | 1 | Injesting nanoparticles | 2-Minor | Do not inhale/injest | 2-Possible | Low | Risk controls acceptable
| 2 | Cryogenic burns | 3-Serious | Only used with training; PPE (goggles, gloves); Equipment kept well maintained | 1-Unlikely | Low | Risk controls acceptable
| 3 | Solvent spillages | 2-Minor | Training as needed; PPE (goggles, gloves, lab coats); Equipment kept well maintained | 1-Unlikely | Very low | Risk well controlled
NON-IONISING RADIATION | 1 | Laser damage (class 3B, 4) in NORMAL operation | 4-Major | Laser training for anyone using high power lasers; door interlocks for the laser controlled area; shielding where possible; PPE (specifice, goggles); acces to rooms controlled | 2-Possible | Moderate | Additional controls required | See extra documentation for laser saftey
| 2 | Strong mircowave radiation | 4-Major | Shielding on probes; equipment (especially casing) well maintained | 1-Unlikely | Low | Risk controls acceptable
| 3 | Strong radio frequency waves | 3-Serious | Shielding on probes;equipment (especially casing) well maintained | 1-Unlikely | Low | Risk controls acceptable
IONISING RADIATION | 1 |  |  |  |  | #N/A | #N/A
| 2 |  |  |  |  | #N/A | #N/A
LOCATION | 1 | Magnet Quench | 2-Minor | Oxygen sensors present; Large rooms; Awareness of sympoms of oxygen deprivaton | 1-Unlikely | Very low | Risk well controlled
| 2 | Trip Hazards (wires, desks, chairs) | 2-Minor | Cabling minimized and organised; walkways kept as clear as possible | 1-Unlikely | Very low | Risk well controlled
| 3 | Untrained visitors | 2-Minor | Clear warning signs; Door security; Clearly designated safe/unsafe areas; Guest procedures | 1-Unlikely | Very low | Risk well controlled
| 4 | Cramped indoor working space | 1-Superficial | Keep good practice for having breaks; Keep walkways clear | 1-Unlikely | Very low | Risk well controlled
OTHER | 1 | Strong magnetic fields | 2-Minor | Clear labeling; Shielding | 1-Unlikely | Very low | Risk well controlled
| 2 |  |  |  |  | #N/A | #N/A
| 3 |  |  |  |  | #N/A | #N/A
RISK MATRIX
HELP - Control Measures |  | LIKELIHOOD | 1-Unlikely | 2-Possible | 3-Likely | 4-Very likely | 5-Highly likely | Severity of Injury | Cost | Interruption | Environmental
HELP - Matrix function | SEVERITY | 1-Superficial | Very low | Very low | Low | Low | Moderate | Minor cut, bruise | < £ 2K | < 1 hour | Minimal localised impact
|  | 2-Minor | Very low | Low | Low | Moderate | High | First aid treatment | £ 2K - 25K | 1 hour to 1 day | On site impact
Very low |  | 3-Serious | Low | Low | Moderate | High | Very high | Medical treatment | £ 25K - 100K | 1 day to 1week | Off site impact
Low |  | 4-Major | Low | Moderate | High | Very high | Very high | Hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
Moderate |  | 5-Extreme | Moderate | High | Very high | Very high | Very high | Death, or life-changing injury | > £ 1M | > 6 weeks | National / International impact
High |  |  | Requires combination of events | Could occur, but rarely | Likely to occur | Expected to occur in most circumstances | Almost certain to occur
Very high
Severity | Likelihood | Risk
1-Superficial | 1-Unlikely | Very low
1-Superficial | 2-Possible | Very low
1-Superficial | 3-Likely | Low
1-Superficial | 4-Very likely | Low
1-Superficial | 5-Highly likely | Moderate
2-Minor | 1-Unlikely | Very low
2-Minor | 2-Possible | Low
2-Minor | 3-Likely | Low
2-Minor | 4-Very likely | Moderate
2-Minor | 5-Highly likely | High
3-Serious | 1-Unlikely | Low
3-Serious | 2-Possible | Low
3-Serious | 3-Likely | Moderate
3-Serious | 4-Very likely | High
3-Serious | 5-Highly likely | Very high
4-Major | 1-Unlikely | Low
4-Major | 2-Possible | Moderate
4-Major | 3-Likely | High
4-Major | 4-Very likely | Very high
4-Major | 5-Highly likely | Very high
5-Extreme | 1-Unlikely | Moderate
5-Extreme | 2-Possible | High
5-Extreme | 3-Likely | Very high
5-Extreme | 4-Very likely | Very high
5-Extreme | 5-Highly likely | Very high
Note on D2: Insert the HAZARD SEVERITY from the table below: 1-Superficial 2-Minor 3-Serious 4-Major 5-Extreme Use the drop down list for each cell
Note on F2: Insert the LIKELIHOOD of occurence from the table below: 1-Very unlikely 2-Unlikely 3-Possible 4-Probable 5-Highly probable Use the drop down list for each cell
Note on A24: Control Measures Control measures are actions taken to manage the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “High” or "Very High",steps must be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls is: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on J24: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A25: GREEN SAFE condition. Good controls in operation BLUE SAFE condition. Adequate controls in place YELLOW This condition requires careful monitoring - risk levels may be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. AMBER Risk level unacceptable. Additional controls must be in place before carrying out work RED NO work must be carried out at these levels of risk. Ensure that additional control measures are employed to reduce risk

## Ionising Radiation Registration
DEPARTMENT OF PHYSICS
Undergraduate Final Year Projects
Registration form for work with Ionising radiation
Student
University number
Project Supervisor
Equipment to be used
I understand the rules for the use of sources of ionising radiation and I agree to abide
by them. I will only use the equipment specified above, and understand that to use
any further equipment, even of the same type, requires specific approval from the
Departmental Radiation Protection Supervisor. I further acknowledge that I am
aware that any breach of these Regulations may result in permission to use sources
of ionising radiation being withdrawn.
Signed
Date
Print out this form, sign it and take it to Dr Jonathan Duffy (MAS 4.03), who will arrange
and check your training. Only once this is complete, and the form signed below, may
you commence working with radiation.
I certify that the above name person will work only in an open or supervised area on
the equipment detailed above.
Signed |  | Group Radiation Protection Supervisor
Date
I hereby state that in my opinion that the above named person is capable of handling the
sources of radiation named above in a responsible manner and that he/she has been
trained in their proper use.
Signed |  | Dr J Duffy
Date |  | Departmental Radiation Protection Supervisor

## Safety plan
Planning to carry out the project safely
The development of a safety plan allows the student to break down the project into smaller activities, which may or may not need to be included in the Other Risks assessment. This allows the student to capture details of where local rules may apply, and the requirements of those rules. This is intended to be living document and be amended as the project progresses and you become more aware of the scope of the project
A Risk Assessment is required to cover all parts of a student’s project work where there may be significant risks. Trivial risks do not have to be documented. Ensure that any controls are workable and adequate to control the risk. Review and update the assessment as the project progresses.
List the activities involved in the project | Risk assessment needed (Y/N)
Aligning laser systems | y
Setting up microwave equipment | y
Testing magnetometer | y
What equipment / instrumentation is required to be used? | Training required (Y/N)
2W 532nm CW laser | y
16W Microwave souce (3GHz) | y
Permanent magnet (neodimuium) | y
Electronic components (power supplies, circuits) | y
What training needs to be provided to ensure the project can be performed safely? | Trainer | Date of Training
Laser training | Angelo Frangeskou | TBC
Microwave, RF and magnet training | Angelo Frangeskou | TBC
Component training | Angelo Frangeskou | TBC
List any foreseeable emergency situations and ensure emergency arrangements are available. Ensure that these are reflected in the risk assessment
Damage to eye /skin from exposure to laser beam- shut off all beams, etc: See laser saftey (safe system of working and specific risk assesment) documentation
As a result of the above, are there any specialist first aid requirements - ensure these are captured in the risk assessment
No extra first aid requirements

## Workstation Office
This checklist and information is intended to enable you to self assess your workstation |  | Yes
area and make suitable adjustments to minimise stress and strain on your body. |  | No
Response
COMPUTER Screen
Are the characters clear and readable?
Is the text size comfortable to read?
Is the image stable, free from flicker?
Are the brightness and contrast appropriately adjusted?
Is the screen height, swivel and tilt adjustable?
Is the screen free of glare and reflections?
Are adjustable window coverings provided and in adequate condition?
COMPUTER Keyboard
Is it possible to find a comfortable keying position?
Can the wrists be rested in front of the keyboard?
Is the keyboard clean and free from glare?
Can the characters on the keys be read easily?
COMPUTER Mouse
Is the device suitable for the intended use?
Is the mouse positioned close to the keyboard?
Is there support for the device user's wrist and forearm?
Does the device work at a speed and accuracy which suits the user?
FURNITURE
Is the work surface large enough?
Is the work surface free of glare and reflections?
Can the user comfortably reach all of the equipment and papers which which they need to use?
Is the chair stable and adjustable?
Are the mechanisms in working order?
SETTING UP
Guidance about how to set up your workstation is given at
http://www2.warwick.ac.uk/services/healthsafetywellbeing/guidance/computerworkstations/setup/
ENVIRONMENT
Is there enough room to change position and move?
Is the lighting level suitable?
Are the levels of heat and noise comfortable?
HEALTH Whilst using a computer at work, in the past year, has the operator suffered from any of the following:
Eye strain
Pain in the: back
elbows
fingers
neck
shoulders
wrists
If you have responded "Yes" to any of the Health questions, please contact the Health & Safety
Officer, John Horsler for advice : (j.horsler@warwick.ac.uk) or on 02476 573444, or in Room P 5.68

## Lists (hidden)
Very Low
Low
Action to be taken
Moderate
High
Very High