Risk Assessment Form – RA- Thermoluminescence_V1

| Title of Assessment | Thermoluminescence, Phosphorescence and Photoluminescence in Diamond |  |  | Date of assessment |  | 24-Jan-2018 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date for review |  | 24-Jan-2019 |
| Department | Physics |  |  |  |  |  |
| Descriptions of Activities | Images and spectrum detection of Thermoluminescence, Phosphorescence and Photoluminescence on diamond |  |  |  |  |  |
| Name of those working to this assessment | Jiahui Zhao Ben Breeze Ben Green Mark Newton |  | Any others who may be affected by this assessment |  | All other Lab Users |  |
| Assessment carried out by | Jiahui Zhao |  |  |  |  |  |

| ##### Additional information | For details of general lab risk assessment please see local rules. A separate Risk assessment must be carried out by the user for each for samples other than diamond All user must have taken the laser training courses suitable for operation of Class 3B Laser. A separate Laser Risk assessment and safe systems of Work are available (documents 224nm_ThemoLumi_SSoW & 224nm_ThemoLumi_RA) and should be consulted prior to using the equipment. |
| --- | --- |

| Foreseeable Significant Hazard | Hazard Risk | Existing control measures | Controlled residual risk | Further Action where risk remains moderate/high | By whom & when | Controlled Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Laser exposure during alignment procedure | Eye injuries | Alignment conducted with reduced laser Power, PPE (clear goggles), local rules, | (serious, possible) Low | none |  | Low |
|  | Skin burn | PPE (nitrile gloves, Long sleeves) | (Minor, likely) low | none |  | Low |
| Laser exposure during experiment | Eye or skin injuries | Block all equipment in a dark box, interlock | (serious, unlikely) Low | none |  | Low |
| Cryogenics (Liquid Nitrogen) | Inhalation or ingestion causing loss of consciousness, asphyxiation or Burns. | PPE (gloves, Goggles), Experiment to be conducted in Lab with Oxygen level monitors. Read all relevant safety data sheets, University and Departmental Safety regulations and guidance, and pass any required safety tests. | (Major, Unlikely) Low | none |  | Low |
| Obstructed Walkways | Slip, Fall | Enclosed area, rubber floor protectors for cables crossing walk paths, lamps to provide floor lighting when operating in the dark | (Minor, possible) Low | none |  | Low |
| Fire hazards | Burn | Flammable materials never kept in the enclosure. | (Serious, unlikely) Low | none |  | Low |
| Mains Electricity | Electric Shocks or Burns | Users are not to tamper with the equipment. All equipment must have an in date Pat test. | (Major, Unlikely) Low | none |  | Low |
| Dirt or polluted work area | Poisoning, eye and skin irritation | Keep all work areas clean and tidy | (Minor, Possible) Low | none |  | Low |
| Explosion/implosion of cryostat/vacuum system | Cuts from shards of glass/metal | Use of vacuum systems prohibited unless user is trained in the safe operation of the vacuum pumps. Safety valves are to be used and checked regularly. | (Major, Unlikely) Low | none |  | Low |

Work should not be carried out until the assessment is completed to a suitable & sufficient level and all required control measures are in place.

Is assessment suitable and sufficient       Yes

| Any further actions required to allow work to commence |  |  |  |  |
| --- | --- | --- | --- | --- |
| Approved By | Ben Breeze |  | Position | Manager |
| Date | 24/01/18 |  |  |  |

Please print a copy, sign it and keep for your records

|  | Severity of injury |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  |  |  |
| Unlikely | Very low | Very low | Low | Low | Moderate |  |  |  |
| Possible | Very low | Low | Low | Moderate | High |  |  |  |
| Likely | Low | Low | Moderate | High | Very high |  |  |  |
| Very likely | Low | Moderate | High | Very high | Very high |  | Overall Risk Rating (highest level found) | LOW |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.