Risk Assessment Form – RA-Bruker IFS-66_V1

| Title of Assessment | Bruker IFS66 FT-IR spectrometer |  |  | Date of assessment |  | 05/01/2018 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date for review |  | 05/01/2019 |
| Department | Physics |  |  |  |  |  |
| Descriptions of Activities | Use of the Bruker IFS-66 Spectrometer, |  |  |  |  |  |
| Name of those working to this assessment | Trained Spectrometer Operators Listed in the px-optical-absorption-users webgroup |  | Any others who may be affected by this assessment |  | All other Lab users |  |
| Assessment carried out by | Ben Breeze |  |  |  |  |  |

| ##### Additional information | For details of general lab risk assessment please see appropriate local rules. A separate Risk assessment must be carried out by the user for each sample being used these must be logged on the online form prior to experiments https://warwick.ac.uk/research/rtp/spectroscopy/Safety/Sample These individual sample assessments are available from B Breeze or M Newton on request. |
| --- | --- |

| Foreseeable Significant Hazard | Hazard Risk | Existing control measures | Controlled residual risk | Further Action where risk remains moderate/high | By whom & when | Controlled Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Main electricity. | Electric shock or burns. | Users are not to tamper with the equipment. All equipment must have an in date Pat test. | (Major, Unlikely) Low | none | Ben Breeze 05/01/2018 | Low |
| IR light Source. | Irritation to eyes/skin | Users are not to remove the covers from the spectrometer. Spectrometer door should be in place during operation. Light is low power. | (Minor, Unlikely) Very Low | none | Ben Breeze 05/01/2018 | Very Low |
| Broken Glassware | Cuts | Take care, dispose of sharps and broken glass in the approved receptacles provided. | (Minor, Likely) Low | none | Ben Breeze 05/01/2018 | Low |
| Obstructed walkways | Slip, Fall | Do not block walkways, be aware of risk | (Minor, Possible) Low | none | Ben Breeze 05/01/2018 | Low |
| Dirt or polluted work area | Poisoning, eye and skin irritation | Keep all work areas clean and tidy | (Minor, Possible) Low | none | Ben Breeze 05/01/2018 | Low |

Work should not be carried out until the assessment is completed to a suitable & sufficient level and all required control measures are in place.

Is assessment suitable and sufficient       Yes

| Any further actions required to allow work to commence |  | None |  |  |
| --- | --- | --- | --- | --- |
| Approved By | Ben Breeze |  | Position | RTP-Manager |
| Date | 05/01/2018 |  |  |  |

Please print a copy, sign it and keep for your records

|  | Severity of injury |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  |  |  |
| Unlikely | Very low | Very low | Low | Low | Moderate |  |  |  |
| Possible | Very low | Low | Low | Moderate | High |  |  |  |
| Likely | Low | Low | Moderate | High | Very high |  |  |  |
| Very likely | Low | Moderate | High | Very high | Very high |  | Overall Risk Rating (highest level found) | Low |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.