## Front Sheet
UNIVERSITY OF WARWICK
DEPARTMENT OF PHYSICS
RISK ASSESSMENT FORM
Student | Benjamin Higson
Supervisor | Geetha Balakrishnan
Date of assessment
Location of work area(s) | P122, P124, P128, P130, P166
Review date(s)
TITLE | Crystals of Frustrated Magnets
Description | Term 1 - Research frustrated magnetism and rare earth tetraborides. Produce high quality polycrystalline sample and investigate with X-ray powder diffraction. Term 2 - Produce single crystal samples and use laue diffraction to investigate. Use squid magnetometers to investigate low temperature magnetic properties.
Approval and acceptance of risk assessment and control measures
NAME | ROLE

## Documentation
Documentation required to be completed
Type of project | Safety Plan | Chemical Hazards | Other Risks Assessment | Ionising Radiation Registration | Workstation/Office Assessment
Theory / Desk-based |  |  |  |  | ü
Experimental | ü |  | ü
Experimental including chemicals | ü | ü | ü
Experimental including radiation | ü | ü | ü | ü

## List of Hazards
Mechanical | Electrical | Biological Hazards | Radiation | Location | Other hazards
Abrasion | Arcing | Any planned biological work | Heat or UV | Falls from a height | Confined spaces
Crushing | Burns | Moulds, spores, fungi | Ionising radiation | Lighting conditions | Cryogenic gases
Cutting | Electrocution | Rodents | Lasers | Noise, vibrations | Dangerous (flammable)substances and explosive atmospheres
Entanglement | Explosion | Waterborne diseases when working outdoors | Microwaves/RF | Slips, trips and falls | Excavation
Impact | Falls, subsequent to shock |  |  | The working environment – hot, cold, humid | Experimental rigs
Trapping | Fire |  |  | Traffic hazards | Exposure to extreme temperatures
Also consider: lifting; tripping hazards; repetitive movements & the condition of the work environment. | Consider fault conditions; where you place the conductors; how the system has been configured, and by whom. |  |  |  | Falling objects, collapsing structures
Chemical |  |  |  |  | Lifting operations using lifting equipment
Allergies, dermatitis |  |  |  |  | Magnets and magnetism
Asphyxiation |  |  |  |  | Manual handling
Carcinogens or substances that can harm reproduction |  | Supplementary advice and guidance |  |  | Pressure systems / gases and cylinders
Fire and explosion |  |  |  |  | Transport of dangerous substances
Toxicity, burns |  |  |  |  | Vibration
Look at the foreseeable routes of entry to the body; spillage and emergency action; waste disposal |  |  |  |  | Workplace transport

## Chemicals
Use of Chemicals
Rows may be inserted or deleted as required
Chemical | Hazards (H-codes) | Amount used | Control Measures applied
Boron Pieces/Powder | H-228, H-302, H-332, H-335 | Not yet known | Keep away from heat, sparks, hot surfaces. No smoking. Wear face mask to avoid inhaling. Wash hands after use to avoid ingestion.
Yttrium Pieces | N/A | Not yet known | Keep away from eyes. Wash hands after handling to avoid ingestion. Use eye/face protection.
Terbium Pieces | H-228, H-260 | Not yet known | Keep away from heat, sparks, hot surfaces. No smoking. Keep away from water, handle under inert gas.

## Other Risks
Rows may be inserted or deleted as required
|  |  | HELP |  | HELP
HAZARD TYPE | STEP | LIST TASK & HAZARDS | HAZARD SEVERITY | CONTROL MEASURES | LIKELIHOOD | ASSESSED RISK | OUTCOME | COMMENTS
MECHANICAL | [5 empty] | #N/A | #N/A
Arc Furnace - High pressure | 1 | Damage to equipment or self if equipment is faulty, as high pressure argon is used by the furnace. | 4-Major | Vent gases safely. Don't expose furnace to oxygen in use. Make sure all valves are functional. Ensure glass casing of furnace never has cracks in before using. | 1-Unlikely | Low | Risk controls acceptable | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
Broken/sharp glassware or equpment | 2 | Cut | 2-Minor | Dispose safely of broken glassware in the appropriate place. | 1-Unlikely | Very low | Risk well controlled
Dirty glassware/equipment/work area | 3 | Poisoning, eye/skin irritation. | 3-Serious | Dispose safely of all chemicals used.. Keep workspace clean. | 1-Unlikely | Low | Risk controls acceptable
High magnetic field from SQUID Magnetometer | 4 | Hit by magnetisable object. | 1-Superficial | Remove any magnetisable items before using magnetometers. | 1-Unlikely | Very low | Risk well controlled | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
Arc Furnace - Burn (contact) | 3 | Burning to skin. | 4-Major | Use appropriate PPE (Gloves) and use tongs to handle hot samples. Wait for sample to cool before removing. | 2-Possible | Moderate | Additional controls required | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
Sample preparation room - Hot furnaces | 6 | Burns. | 4-Major | Wear appropriate PPE (gloves) and only handle samples with tongs when hot. | 2-Possible | Moderate | Additional controls required | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
[6 empty] | #N/A | #N/A
ELECTRICAL | [5 empty] | #N/A | #N/A
Arc Furnace - Electrocution | 1 | Loose/exposed wires. | 5-Extreme | Don't tamper with equipment and if anything is faulty let a member of staff know. | 1-Unlikely | Moderate | Additional controls required | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
[6 empty] | #N/A | #N/A
CHEMICAL | [5 empty] | #N/A | #N/A
Preparation/Handling of chemicals/samples | 1 | Eye irritation, poisoning, organ damage, skin irritation, irritation after inhalation. | 4-Major | Read COSHH information for any chemicals used. Wear appropriate clothing and PPE - face masks when dealing with powder, goggles, gloves. Only use chemicals as listed in the chemical section on the previous page. | 1-Unlikely | Low | Risk controls acceptable
Acids used to clean equipment | 4 | Burns. Organ damage. Skin/eye irritation. | 1-Superficial | If washing up liquid won't clean a piece of sample preparation equipment, consult a member of staff who will acid clean it. Never do this myself. | 1-Unlikely | Very low | Risk well controlled
Use of cryogenic fluids | 5 | Burns. Frostbite. Asphyxiation. | 3-Serious | Ensure valves are all functional. Have good ventilation. Wear appropriate PPE (gloves, glasses). Do not fiddle with equipment. | 1-Unlikely | Low | Risk controls acceptable
[6 empty] | #N/A | #N/A
[6 empty] | #N/A | #N/A
[6 empty] | #N/A | #N/A
[6 empty] | #N/A | #N/A
[6 empty] | #N/A | #N/A
[6 empty] | #N/A | #N/A
IONISING RADIATION | [5 empty] | #N/A | #N/A
X-Ray Powder Diffractometer | 1 | Burns, damage to eyes. | 5-Extreme | Do not bypass safeguards on X-Ray equipment. Only run when closed. Do not expose skin or eyes to rays. | 1-Unlikely | Moderate | Additional controls required | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
Arc Furnace - UV | 2 | Burning to skin, blindness/eye damage | 5-Extreme | Close UV screen around work area to protect people outside lab. Use UV shield in front of furnace to protect eyes/skin. Never look at the arc. | 1-Unlikely | Moderate | Additional controls required | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
X-Ray Laue Diffractometer | 2 | Burns, damage to eyes. | 5-Extreme | Do not bypass safeguards on X-Ray equipment. Only run when closed. Do not expose skin or eyes to rays. | 1-Unlikely | Moderate | Additional controls required | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
NON-IONISING RADIATION | [5 empty] | #N/A | #N/A
Arc Furnace - UV | 2 | Burning to skin, blindness/eye damage | 5-Extreme | Close UV screen around work area to protect people outside lab. Use UV shield in front of furnace to protect eyes/skin. Never look at the arc. | 1-Unlikely | Moderate | Additional controls required | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
[6 empty] | #N/A | #N/A
LOCATION | [5 empty] | #N/A | #N/A
Cables on floor | 1 | Tripping hazard, fall. | 2-Minor | Be careful of where you walk, step over cables. | 1-Unlikely | Very low | Risk well controlled
Tight/cramped walkways | 2 | Brushing up against equipment and accidentally changing settings. | 4-Major | Remove rucksacks and leave in P122 by the computers. | 1-Unlikely | Low | Risk controls acceptable
Obstructed walkways | 3 | Tripping hazard, fall. | 2-Minor | Beware of tripping hazard, remove obstructions. | 1-Unlikely | Very low | Risk well controlled
Wet Floors | 4 | Slip and fall. | 2-Minor | Dry floor or avoid wet area. | 1-Unlikely | Very low | Risk well controlled
Working at height | 5 | Fall. | 3-Serious | Do not use ladders or stools. Be careful. | 1-Unlikely | Low | Risk controls acceptable
Items fall from equipment or floor above | 6 | Items falling and hitting someone. | 3-Serious | Don’t leave loose items at height on equipment or upper floors of room. | 2-Possible | Low | Risk controls acceptable
OTHER | [5 empty] | #N/A | #N/A
High magnetic field from SQUID Magnetometer | 1 | Pacemaker damage | 5-Extreme | Don't enter lab if you have a pacemaker. | 1-Unlikely | Moderate | Additional controls required | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
High magnetic field from SQUID Magnetometer | 2 | Wiping of electrical device storage. | 1-Superficial | Keep electrical devices away from the magnetometers. | 1-Unlikely | Very low | Risk well controlled | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
[6 empty] | #N/A | #N/A
Arc Furnace - Fire risk from exposing furnace to oxygen | 3 | Burns, UV damage to eyes/skin, explosion | 3-Serious | Ensure sample and furnace hearth are coled before opening. | 1-Unlikely | Low | Risk controls acceptable | Read User Manual, receive training from experienced user (mandatory) and follow best practice.
Yttrium - Fire risk if exposed to water | 4 | Burns. | 3-Serious | Wear appropriate PPE to minimise risk of burns, keep Yttrium in a dry environment. | 1-Unlikely | Low | Risk controls acceptable
RISK MATRIX
HELP - Control Measures |  | LIKELIHOOD | 1-Unlikely | 2-Possible | 3-Likely | 4-Very likely | 5-Highly likely | Severity of Injury | Cost | Interruption | Environmental
HELP - Matrix function | SEVERITY | 1-Superficial | Very low | Very low | Low | Low | Moderate | Minor cut, bruise | < £ 2K | < 1 hour | Minimal localised impact
|  | 2-Minor | Very low | Low | Low | Moderate | High | First aid treatment | £ 2K - 25K | 1 hour to 1 day | On site impact
Very low |  | 3-Serious | Low | Low | Moderate | High | Very high | Medical treatment | £ 25K - 100K | 1 day to 1week | Off site impact
Low |  | 4-Major | Low | Moderate | High | Very high | Very high | Hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
Moderate |  | 5-Extreme | Moderate | High | Very high | Very high | Very high | Death, or life-changing injury | > £ 1M | > 6 weeks | National / International impact
High |  |  | Requires combination of events | Could occur, but rarely | Likely to occur | Expected to occur in most circumstances | Almost certain to occur
Very high
Severity | Likelihood | Risk
1-Superficial | 1-Unlikely | Very low
1-Superficial | 2-Possible | Very low
1-Superficial | 3-Likely | Low
1-Superficial | 4-Very likely | Low
1-Superficial | 5-Highly likely | Moderate
2-Minor | 1-Unlikely | Very low
2-Minor | 2-Possible | Low
2-Minor | 3-Likely | Low
2-Minor | 4-Very likely | Moderate
2-Minor | 5-Highly likely | High
3-Serious | 1-Unlikely | Low
3-Serious | 2-Possible | Low
3-Serious | 3-Likely | Moderate
3-Serious | 4-Very likely | High
3-Serious | 5-Highly likely | Very high
4-Major | 1-Unlikely | Low
4-Major | 2-Possible | Moderate
4-Major | 3-Likely | High
4-Major | 4-Very likely | Very high
4-Major | 5-Highly likely | Very high
5-Extreme | 1-Unlikely | Moderate
5-Extreme | 2-Possible | High
5-Extreme | 3-Likely | Very high
5-Extreme | 4-Very likely | Very high
5-Extreme | 5-Highly likely | Very high
Note on D2: Insert the HAZARD SEVERITY from the table below: 1-Superficial 2-Minor 3-Serious 4-Major 5-Extreme Use the drop down list for each cell
Note on F2: Insert the LIKELIHOOD of occurence from the table below: 1-Very unlikely 2-Unlikely 3-Possible 4-Probable 5-Highly probable Use the drop down list for each cell
Note on A46: Control Measures Control measures are actions taken to manage the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “High” or "Very High",steps must be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls is: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on J46: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A47: GREEN SAFE condition. Good controls in operation BLUE SAFE condition. Adequate controls in place YELLOW This condition requires careful monitoring - risk levels may be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. AMBER Risk level unacceptable. Additional controls must be in place before carrying out work RED NO work must be carried out at these levels of risk. Ensure that additional control measures are employed to reduce risk

## Ionising Radiation Registration
DEPARTMENT OF PHYSICS
Undergraduate Final Year Projects
Registration form for work with Ionising radiation
Student
University number
Project Supervisor
Equipment to be used
I understand the rules for the use of sources of ionising radiation and I agree to abide
by them. I will only use the equipment specified above, and understand that to use
any further equipment, even of the same type, requires specific approval from the
Departmental Radiation Protection Supervisor. I further acknowledge that I am
aware that any breach of these Regulations may result in permission to use sources
of ionising radiation being withdrawn.
Signed
Date
Print out this form, sign it and take it to Dr Jonathan Duffy (MAS 4.03), who will arrange
and check your training. Only once this is complete, and the form signed below, may
you commence working with radiation.
I certify that the above name person will work only in an open or supervised area on
the equipment detailed above.
Signed |  | Group Radiation Protection Supervisor
Date
I hereby state that in my opinion that the above named person is capable of handling the
sources of radiation named above in a responsible manner and that he/she has been
trained in their proper use.
Signed |  | Dr J Duffy
Date |  | Departmental Radiation Protection Supervisor

## Safety plan
Planning to carry out the project safely
The development of a safety plan allows the student to break down the project into smaller activities, which may or may not need to be included in the Other Risks assessment. This allows the student to capture details of where local rules may apply, and the requirements of those rules. This is intended to be living document and be amended as the project progresses and you become more aware of the scope of the project
A Risk Assessment is required to cover all parts of a student’s project work where there may be significant risks. Trivial risks do not have to be documented. Ensure that any controls are workable and adequate to control the risk. Review and update the assessment as the project progresses.
List the activities involved in the project | Risk assessment needed (Y/N)
Crush samples into powder | N
Weigh samples | N
Use arc furnace to produce tetraborides | Y
Use powder diffractometer to investigate samples | Y
Use floating zone technique to produce single crystals | Y
Use laue diffraction to investigate single crystal samples | Y
Use squid magnetometer to investigate magnetic properties of single crystals. | Y
What equipment / instrumentation is required to be used? | Training required (Y/N)
Arc Furnace | Y
Optical Floating Zone Furnace | Y
X-Ray Powder diffractometer | Y
SQUID magnetometer | Y
Top pan balance | N
X-Ray Laue diffractometer | Y
What training needs to be provided to ensure the project can be performed safely? | Trainer | Date of Training
Arc Furnace training
X-ray diffraction training
Floating Zone crystal growth training
SQUID magnetometer training
List any foreseeable emergency situations and ensure emergency arrangements are available. Ensure that these are reflected in the risk assessment
Explosion of arc furnace - if container under high pressure fails. Serious burns from arc furnace UV.
Severe damage from radiation - but shouldn't occur as there are lots of failsafes on the diffractometers.
Severe burns from cryofluid.
As a result of the above, are there any specialist first aid requirements - ensure these are captured in the risk assessment
Mainly related to skin/flesh damage due to either burns or radiation.

## Workstation Office
This checklist and information is intended to enable you to self assess your workstation |  | Yes
area and make suitable adjustments to minimise stress and strain on your body. |  | No
Response
COMPUTER Screen
Are the characters clear and readable? | Yes
Is the text size comfortable to read? | Yes
Is the image stable, free from flicker? | Yes
Are the brightness and contrast appropriately adjusted? | Yes
Is the screen height, swivel and tilt adjustable? | Yes
Is the screen free of glare and reflections? | Yes
Are adjustable window coverings provided and in adequate condition? | Yes
COMPUTER Keyboard
Is it possible to find a comfortable keying position? | Yes
Can the wrists be rested in front of the keyboard? | Yes
Is the keyboard clean and free from glare? | No
Can the characters on the keys be read easily? | Yes
COMPUTER Mouse
Is the device suitable for the intended use? | Yes
Is the mouse positioned close to the keyboard? | Yes
Is there support for the device user's wrist and forearm? | Yes
Does the device work at a speed and accuracy which suits the user? | Yes
FURNITURE
Is the work surface large enough? | Yes
Is the work surface free of glare and reflections? | Yes
Can the user comfortably reach all of the equipment and papers which which they need to use? | Yes
Is the chair stable and adjustable? | Yes
Are the mechanisms in working order? | Yes
SETTING UP
Guidance about how to set up your workstation is given at
http://www2.warwick.ac.uk/services/healthsafetywellbeing/guidance/computerworkstations/setup/
ENVIRONMENT
Is there enough room to change position and move? | Yes
Is the lighting level suitable? | Yes
Are the levels of heat and noise comfortable? | Yes
HEALTH Whilst using a computer at work, in the past year, has the operator suffered from any of the following:
Eye strain | No
Pain in the: back | No
elbows | No
fingers | No
neck | No
shoulders | No
wrists | No
If you have responded "Yes" to any of the Health questions, please contact the Health & Safety
Officer, John Horsler for advice : (j.horsler@warwick.ac.uk) or on 02476 573444, or in Room P 5.68

## Lists (hidden)
Very Low
Low
Action to be taken
Moderate
High
Very High