## Information sheet 1
UNIVERSITY OF WARWICK
DEPARTMENT OF PHYSICS
Ver 002
RISK ASSESSMENT FORM
INFORMATION SHEET 1 [for COSHH assessments use sheet 2 overleaf]
Assessor |  | Oleg A. Petrenko
Supervisor [if required]
Date of assessment | 2020-06-10
Review date [dd/mm/yyyy] | Continuously
| TITLE | Risk assessment
| Description | Funded and unfunded research, supervison of UG research projects. Supervison of PhD studenst and post doctoral staff research projectsA breakdown of the risks associated with each activity can be found in the tabs below.
COSHH - use sheet 2 | Who is at risk of harm? | Myself, PG and UG students, academic staff and PDRAs, technical staff, other staff e.g. cleaners, contractors.
Copies to be held by:
S+M group web pages
Assure
SIGNATORIES | NAME | SIGNATURE
Oleg A. Petrenko
Note on B9: for current date use keys together: CTL and ; [semicolon]

## information sheet 2
INFORMATION SHEET 2
COSHH | Details of any COSHH assessment(s) | assessment - number or detail
Control Measures: | When applied? | Details - if required
1
2
Review | Date [dd/mm/yyyy]
Signatories
|  |  | Name | Date [dd/mm/yyyy] | Title
Note on B10: for current date use keys together: CTRL and ; [semicolon]

## GENERAL LAB ASSESSMENT
HAZARD TYPE |  | HAZARD | HAZARD RISK | HAZARD | CONTROL MEASURES | RISK | MATRIX SCORE | FURTHER CONTROL MEASURES | HAZARD | RISK | MATRIX SCORE | ACCEPT? | COMMENTS
| HELP |  | HELP | HELP |  | HELP | HELP |  | HELP | HELP |  | HELP
PHYSICAL and CHEMICAL | 1 | Falling / slipping | Injury due to fall | low | Do not run. Be fully aware of slippery surfaces/obstacles | v low | 3 | Do not run. Be fully aware of slippery surfaces/obstacles | low | v low | 3 | yes
| 2 | Chemicals | Irritation, damage to skin/eyes etc | minor | Observe all warning labels. Use PPE. Avoid contact with skin. | v low | 6 | Observe all warning labels. Use PPE. Avoid contact with skin. Seek Assistance if unsure. Ensure correct storage. | minor | v low | 6 | yes
| 3 | Acids | Burns, skin or eye irritation, organ damage. | minor | Read all relevant safety data sheets, university and Departmental Safety regulations and guidance, and pass any required safety tests. Minimise exposure, use appropriate PPE. | v low | 3 | Use PPE. Avoid contact with skin. Seek Assistance if unsure. Ensure correct storage. | low | v low | 3 | yes
| 4 | Bases | Burns, skin or eye irritation, organ damage. | minor | Read all relevant safety data sheets, university and Departmental Safety regulations and guidance, and pass any required safety tests. Minimise exposure, use appropriate PPE. Use appropriate PPE, minimise exposure. | v low | 3 | Use PPE. Avoid contact with skin. Seek Assistance if unsure. Ensure correct storage. | minor | v low | 3 | yes
| 5 | Use of solvents for cleaning | Irritation to skin | v low | Use PPE. Try to avoid direct contact with skin. | v low | 1 | PPE used includes rubber gloves and lab coat to cover arms etc. | v low | v low | 1 | yes
| 6 | Very cold surfaces, liquids or gases | Cold Burns | low | Use PPE. Avoid distractions. Ask if unsure. | v low | 3 | As before: PPE, no distractions. Ask if unsure. | low | v low | 3 | yes
| 7 | Radiation (x-rays, gamma rays, etc) | Radiation exposure | minor | Ensure door is fully closed before use. Do not but head in beam path! | v low | 6 | Ensure door is full closed whilst beam in on. Introductory tutorial is necessary before being allowed to use equipment. | minor | v low | 6 | yes
| 8 | Electrical system | Risk of electric shock | minor | Visual inspection of electric. Do not open any electrical system. Ensure power is off. | v low | 6 | Additionally be aware that any voltages over 25V are a greater risk. | minor | v low | 6 | yes
| 9 | Food and drink | Contamination of food and drink by chemicals | minor | Do not eat or drink in labs. Wash hands thoughourly after handling chemicals and before eating / drinking | v low | 6 | No further measures. | minor | v low | 6 | yes
| 10 | Using tools (hacksaws, etc) | Cut injuries | low | Use PPE. Avoid distractions. Ask if unsure. | low | 5 | No further measures. | low | low | 5 | yes
| 11 | Sample preparation | Inhalation of powder / dust particles | low | Use PPE. Ensure adequate ventilation. | v low | 3 | No further measures. | low | v low | 3 | yes
| 12 | Storage desiccators under vacuum | Galss explosion. Cuts to hands, face and eyes. Explosion, ignition of chemicals stored. Inhalation of pumped gas. | minor | Do not tamper with desiccators. Vent and pump out with care. Beware of inhaling pumped gas. Tape desiccators. Turn off pump immediately after use. | low | 9 | None | minor | low | 9 | yes
| 13 | Exposure to chemical fumes | Poisoning, eye and skin irritation, organ damage. | minor | Use fume hood, PPE. | low | 6 | None | minor | low | 6 | yes
| 14 | Working at height. | Fall. | low | Use kick step with care. Do not use ladders or stools. | v low | 3 | None | low | v low | 3 | yes
FUTHER HAZARD RELATING TO SPECIFIC ACTIVITIES CAN BE FOUND IN THE RED TABS AT THE BOTTOM OF THIS SHEET.
HELP - Risk Control
HELP - Matrix function |  | RISK | MATRIX |  |  | HAZARD | impact | cost | interruption | environmental
| 11 | 7 | 4 | 2 | 1 | V. LOW | no treatment | < £ 2K | < 1 hour | potential impact
| 16 | 12 | 8 | 5 | 3 | LOW | first aid treatment | £ 2K - 25K | 1 hour to 1 day | on site impact
| 20 | 17 | 13 | 9 | 6 | MINOR | medical treatment | £ 25K - 100K | 1 day to 1week | off site impact
| 23 | 22 | 18 | 14 | 10 | SEVERE | hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
| 25 | 24 | 21 | 19 | 15 | MAJOR | death or extensive injury | > £ 1M | > 6 weeks | National / International impact
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW | RISK
| certain to occur | expected to occur in most circumstances | likely to occur | could occur, but rarely | unlikely to occur.
Note on B3: insert extra lines if required
Note on D3: This reports the EFFECT of the HAZARD, i.e. what happens as a result of the existence of this HAZARD.
Note on E3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on G3: insert level of RISK from the table below: V. HIGH HIGH MEDIUM LOW V. LOW use drop down list for each cell
Note on H3: type in number derived from RISK MATRIX: e.g. HAZARD = MINOR RISK = MEDIUM matrix score = 13
Note on J3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on K3: insert reassessed RISK after further control measures are applied and/or HAZARD is altered
Note on M3: select yes/no from drop down list in each cell If NO - risk assessment must be updated with further control measures If still NO refer the procedure to the DHSO or USO for assistance
Note on A20: Risk Control Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “high", steps should be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls are: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on A21: GREEN ---- SAFE condition - no need to monitor further. LIGHT GREEN ---- Monitor the work - ensure that changes are assessed to ensure minimum risk. AMBER ---- This condition requires careful monitoring - risk levels can be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. RED ---- NO work must be carried out at these levels of risk. Ensure that control measures are employed to reduce risk - use Risk Control.
Note on I21: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.

## BOX FURNACES ASSESSMENT
HAZARD TYPE |  | HAZARD | HAZARD RISK | HAZARD | CONTROL MEASURES | RISK | MATRIX SCORE | FURTHER CONTROL MEASURES | HAZARD | RISK | MATRIX SCORE | ACCEPT? | COMMENTS
| HELP |  | HELP | HELP |  | HELP | HELP |  | HELP | HELP |  | HELP
PHYSICAL | 1 | Explosion of vacuum/pressure system | Potentially serious injuries. | severe | Use PPE. Ensure gauge reads safe pressure/ | v low | 10 | As before: PPE & gauge. Quartz and chamber were checked for damage. | minor | v low | 6 | yes
| 2 | Broken glassware/metalic wires | Cuts and stabbing injuries | v low | take care, dispose of sharps and broken glass in the approved receptacles provided. | v low | 6 | None | v low | v low | 6 | yes
| 3 | Electrical system | Risk of electric shock | minor | Visual inspection of electric. Do not open any electrical system. Ensure power is off. | v low | 6 | Additionally be aware that any voltages over 25V are a greater risk. | minor | v low | 6 | yes
| 4 | Furnaces | Burns | low | Do not open the furnace doors when in use and wait until the furnace is cooled down before removing sample. | low | 6 | Ensure cooling. Clearly indicate on furnace user sheet the nature of samples and the treatment to be followed. | low | low | 6 | yes
CHEMICAL | 1 | Exposure to chemical fumes | Poisoning, eye and skin irritation, organ damage. | minor | Use fume hood, PPE. | low | 6 | None | minor | low | 6 | yes
| 2 | Furnaces gases. Evaporation of chemicals from crucibles, evaporation of chemicals deposited in the furnace lining | Fumes, gas. Inhalation leading to poisoning, burns, lung and or organ damage loss of consciousness, asphyxiation. | minor | Clearly indicate on furnace user sheet the nature of samples and the treatment to be followed. Do not modify gas ventilation systems unless indicated by risk assessment. | v low | 6 | None | minor | v low | 6 | yes
FIRE | 1 | Fire due to overheating of equipment. | Potentially very extensive | severe | Ensure water cooling is on whilst equipment is in use. | v low | 10 | Stick to procedure explained and in lab book, to remember cooling. Fire equipment is readily available. | minor | v low | 6 | yes
HELP - Risk Control |  | RISK | MATRIX |  |  | HAZARD | impact | cost | interruption | environmental
HELP - Matrix function | 11 | 7 | 4 | 2 | 1 | V. LOW | no treatment | < £ 2K | < 1 hour | potential impact
| 16 | 12 | 8 | 5 | 3 | LOW | first aid treatment | £ 2K - 25K | 1 hour to 1 day | on site impact
| 20 | 17 | 13 | 9 | 6 | MINOR | medical treatment | £ 25K - 100K | 1 day to 1week | off site impact
| 23 | 22 | 18 | 14 | 10 | SEVERE | hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
| 25 | 24 | 21 | 19 | 15 | MAJOR | death or extensive injury | > £ 1M | > 6 weeks | National / International impact
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW | RISK
| certain to occur | expected to occur in most circumstances | likely to occur | could occur, but rarely | unlikely to occur.
Note on B2: insert extra lines if required
Note on D2: This reports the EFFECT of the HAZARD, i.e. what happens as a result of the existance of this HAZARD.
Note on E2: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on G2: insert level of RISK from the table below: V. HIGH HIGH MEDIUM LOW V. LOW use drop down list for each cell
Note on H2: type in number derived from RISK MATRIX: e.g. HAZARD = MINOR RISK = MEDIUM matrix score = 13
Note on J2: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on K2: insert reassessed RISK after further control measures are applied and/or HAZARD is altered
Note on M2: select yes/no from drop down list in each cell If NO - risk assessment must be updated with further control measures If still NO refer the procedure to the DHSO or USO for assistance
Note on A12: Risk Control Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “high”,steps should be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls are: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on I12: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A13: GREEN ---- SAFE condition - no need to monitor further. LIGHT GREEN ---- Monitor the work - ensure that changes are assessed to ensure minimum risk. AMBER ---- This condition requires careful monitoring - risk levels can be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. RED ---- NO work must be carried out at these levels of risk. Ensure that control measures are employed to reduce risk - use Risk Control.

## TUBE FURNACES ASSESSMENT
HAZARD TYPE |  | HAZARD | HAZARD RISK | HAZARD | CONTROL MEASURES | RISK | MATRIX SCORE | FURTHER CONTROL MEASURES | HAZARD | RISK | MATRIX SCORE | ACCEPT? | COMMENTS
| HELP |  | HELP | HELP |  | HELP | HELP |  | HELP | HELP |  | HELP
PHYSICAL | 1 | Explosion of vacuum/pressure system | Potentially serious injuries. | severe | Use PPE. Ensure gauge reads safe pressure/ | v low | 10 | As before: PPE & gauge. Quartz and chamber were checked for damage. | minor | v low | 6 | yes
| 2 | Broken glassware/metalic wires | Cuts and stabbing injuries | v low | take care, dispose of sharps and broken glass in the approved receptacles provided. | v low | 6 | None | v low | v low | 6 | yes
| 3 | Electrical system | Risk of electric shock | minor | Visual inspection of electric. Do not open any electrical system. Ensure power is off. | v low | 6 | Additionally be aware that any voltages over 25V are a greater risk. | minor | v low | 6 | yes
| 4 | Furnaces | Burns | low | Do not open the furnace doors when in use and wait until the furnace is cooled down before removing sample. | low | 6 | Ensure cooling. Clearly indicate on furnace user sheet the nature of samples and the treatment to be followed. | low | low | 6 | yes
CHEMICAL | 1 | Exposure to chemical fumes | Poisoning, eye and skin irritation, organ damage. | minor | Use fume hood, PPE. | low | 6 | None | minor | low | 6 | yes
| 2 | Furnaces gases. Evaporation of chemicals from crucibles, evaporation of chemicals deposited in the furnace lining | Fumes, gas. Inhalation leading to poisoning, burns, lung and or organ damage loss of consciousness, asphyxiation. | minor | Clearly indicate on furnace user sheet the nature of samples and the treatment to be followed. Do not modify gas ventilation systems unless indicated by risk assessment. | v low | 6 | None | minor | v low | 6 | yes
FIRE | 1 | Fire due to overheating of equipment. | Potentially very extensive | severe | Ensure water cooling is on whilst equipment is in use. | v low | 10 | Stick to procedure explained and in lab book, to remember cooling. Fire equipment is readily available. | minor | v low | 6 | yes
HELP - Risk Control |  | RISK | MATRIX |  |  | HAZARD | impact | cost | interruption | environmental
HELP - Matrix function | 11 | 7 | 4 | 2 | 1 | V. LOW | no treatment | < £ 2K | < 1 hour | potential impact
| 16 | 12 | 8 | 5 | 3 | LOW | first aid treatment | £ 2K - 25K | 1 hour to 1 day | on site impact
| 20 | 17 | 13 | 9 | 6 | MINOR | medical treatment | £ 25K - 100K | 1 day to 1week | off site impact
| 23 | 22 | 18 | 14 | 10 | SEVERE | hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
| 25 | 24 | 21 | 19 | 15 | MAJOR | death or extensive injury | > £ 1M | > 6 weeks | National / International impact
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW | RISK
| certain to occur | expected to occur in most circumstances | likely to occur | could occur, but rarely | unlikely to occur.
Note on B2: insert extra lines if required
Note on D2: This reports the EFFECT of the HAZARD, i.e. what happens as a result of the existance of this HAZARD.
Note on E2: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on G2: insert level of RISK from the table below: V. HIGH HIGH MEDIUM LOW V. LOW use drop down list for each cell
Note on H2: type in number derived from RISK MATRIX: e.g. HAZARD = MINOR RISK = MEDIUM matrix score = 13
Note on J2: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on K2: insert reassessed RISK after further control measures are applied and/or HAZARD is altered
Note on M2: select yes/no from drop down list in each cell If NO - risk assessment must be updated with further control measures If still NO refer the procedure to the DHSO or USO for assistance
Note on A12: Risk Control Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “high”,steps should be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls are: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on I12: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A13: GREEN ---- SAFE condition - no need to monitor further. LIGHT GREEN ---- Monitor the work - ensure that changes are assessed to ensure minimum risk. AMBER ---- This condition requires careful monitoring - risk levels can be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. RED ---- NO work must be carried out at these levels of risk. Ensure that control measures are employed to reduce risk - use Risk Control.

## HANDLING HOT OBJECTS ASSESSMENT
HAZARD TYPE |  | HAZARD | HAZARD RISK | HAZARD | CONTROL MEASURES | RISK | MATRIX SCORE | FURTHER CONTROL MEASURES | HAZARD | RISK | MATRIX SCORE | ACCEPT? | COMMENTS
| HELP |  | HELP | HELP |  | HELP | HELP |  | HELP | HELP |  | HELP
PHYSICAL | 1 | Solvents, paper, flammable samples. | Fire, burns. | low | Store chemicals and solvents properly, use solvents sparingly, avoid sources of ignition. | v low | 3 | Fire extinguishing equipment is readily available. | low | v low | 3 | yes
| 2 | Hot sample space. | Burns. | low | Do not remove samples at T > 300 K. | v low | 3 | Fire extinguishing equipment is readily available. | low | v low | 3 | yes
| 3 | Hot surfaces / samples | Burns | low | Ensure cooling. Received tuition. | v low | 3 | Ensure cooling. As for further guidance if still unsure. Use PPE if necessary. | low | v low | 3 | yes
| 4 | Explosion of vacuum/pressure system | Potentially serious injuries. | severe | Use PPE. Ensure gauge reads safe pressure/ | v low | 10 | As before: PPE & gauge. Quartz and chamber were checked for damage. | minor | v low | 6 | yes
| 5 | Broken glassware/metalic wires | Cuts and stabbing injuries | v low | take care, dispose of sharps and broken glass in the approved receptacles provided. | v low | 6 | None | v low | v low | 6 | yes
CHEMICAL | 5 | Furnaces | Burns | low | Do not open the furnace doors when in use and wait until the furnace is cooled down before removing sample. | low | 6 | Ensure cooling. Clearly indicate on furnace user sheet the nature of samples and the treatment to be followed. | low | low | 6 | yes
| 1 | Exposure to chemical fumes | Poisoning, eye and skin irritation, organ damage. | minor | Use fume hood, PPE. | low | 6 | None | minor | low | 6 | yes
| 2 | Furnaces gases. Evaporation of chemicals from crucibles, evaporation of chemicals deposited in the furnace lining | Fumes, gas. Inhalation leading to poisoning, burns, lung and or organ damage loss of consciousness, asphyxiation. | minor | Clearly indicate on furnace user sheet the nature of samples and the treatment to be followed. Do not modify gas ventilation systems unless indicated by risk assessment. | v low | 6 | None | minor | v low | 6 | yes
HELP - Risk Control
HELP - Matrix function |  | RISK | MATRIX |  |  | HAZARD | impact | cost | interruption | environmental
| 11 | 7 | 4 | 2 | 1 | V. LOW | no treatment | < £ 2K | < 1 hour | potential impact
| 16 | 12 | 8 | 5 | 3 | LOW | first aid treatment | £ 2K - 25K | 1 hour to 1 day | on site impact
| 20 | 17 | 13 | 9 | 6 | MINOR | medical treatment | £ 25K - 100K | 1 day to 1week | off site impact
| 23 | 22 | 18 | 14 | 10 | SEVERE | hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
| 25 | 24 | 21 | 19 | 15 | MAJOR | death or extensive injury | > £ 1M | > 6 weeks | National / International impact
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW | RISK
| certain to occur | expected to occur in most circumstances | likely to occur | could occur, but rarely | unlikely to occur.
Note on B3: insert extra lines if required
Note on D3: This reports the EFFECT of the HAZARD, i.e. what happens as a result of the existance of this HAZARD.
Note on E3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on G3: insert level of RISK from the table below: V. HIGH HIGH MEDIUM LOW V. LOW use drop down list for each cell
Note on H3: type in number derived from RISK MATRIX: e.g. HAZARD = MINOR RISK = MEDIUM matrix score = 13
Note on J3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on K3: insert reassessed RISK after further control measures are applied and/or HAZARD is altered
Note on M3: select yes/no from drop down list in each cell If NO - risk assessment must be updated with further control measures If still NO refer the procedure to the DHSO or USO for assistance
Note on A13: Risk Control Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “high”,steps should be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls are: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on A14: GREEN ---- SAFE condition - no need to monitor further. LIGHT GREEN ---- Monitor the work - ensure that changes are assessed to ensure minimum risk. AMBER ---- This condition requires careful monitoring - risk levels can be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. RED ---- NO work must be carried out at these levels of risk. Ensure that control measures are employed to reduce risk - use Risk Control.
Note on I14: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.

## CRYOGEN ASSESSMENT
HAZARD TYPE |  | HAZARD | HAZARD RISK | HAZARD | CONTROL MEASURES | RISK | MATRIX SCORE | FURTHER CONTROL MEASURES | HAZARD | RISK | MATRIX SCORE | ACCEPT? | COMMENTS
| HELP |  | HELP | HELP |  | HELP | HELP |  | HELP | HELP |  | HELP
PHYSICAL | 1 | Very cold surfaces | Cold Burns | low | Use PPE. Avoid distractions. Ask if unsure. | v low | 3 | As before: PPE, no distractions. Ask if unsure. | low | v low | 3 | yes
| 2 | Very cold liquid / gas | Cold Burns | low | Use PPE, Avoid distractions. Ask if unsure. | v low | 3 | As before: PPE, no distractions. Ask if unsure. | low | v low | 3 | yes
| 3 | Moving large vessels | Colision with others / toppling | v low | Move with caution. Not fast. | v low | 1 | As before: Move with caution. Not fast. | v low | v low | 1 | yes
| 4 | Gas in atmosphere | Asphyxiation | minor | Ensure adequate ventilation. Follow procedure to ensure valves are not mistakenly left open. | low | 9 | As before: plus ensure others around you are also following procedures correctly. If in doubt, seek assistance. | minor | v low | 6 | yes
HELP - Risk Control |  | RISK | MATRIX |  |  | HAZARD | impact | cost | interruption | environmental
HELP - Matrix function | 11 | 7 | 4 | 2 | 1 | V. LOW | no treatment | < £ 2K | < 1 hour | potential impact
| 16 | 12 | 8 | 5 | 3 | LOW | first aid treatment | £ 2K - 25K | 1 hour to 1 day | on site impact
| 20 | 17 | 13 | 9 | 6 | MINOR | medical treatment | £ 25K - 100K | 1 day to 1week | off site impact
| 23 | 22 | 18 | 14 | 10 | SEVERE | hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
| 25 | 24 | 21 | 19 | 15 | MAJOR | death or extensive injury | > £ 1M | > 6 weeks | National / International impact
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW | RISK
| certain to occur | expected to occur in most circumstances | likely to occur | could occur, but rarely | unlikely to occur.
Note on B3: insert extra lines if required
Note on D3: This reports the EFFECT of the HAZARD, i.e. what happens as a result of the existance of this HAZARD.
Note on E3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on G3: insert level of RISK from the table below: V. HIGH HIGH MEDIUM LOW V. LOW use drop down list for each cell
Note on H3: type in number derived from RISK MATRIX: e.g. HAZARD = MINOR RISK = MEDIUM matrix score = 13
Note on J3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on K3: insert reassessed RISK after further control measures are applied and/or HAZARD is altered
Note on M3: select yes/no from drop down list in each cell If NO - risk assessment must be updated with further control measures If still NO refer the procedure to the DHSO or USO for assistance
Note on A14: Risk Control Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “high”,steps should be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls are: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on I14: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A15: GREEN ---- SAFE condition - no need to monitor further. LIGHT GREEN ---- Monitor the work - ensure that changes are assessed to ensure minimum risk. AMBER ---- This condition requires careful monitoring - risk levels can be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. RED ---- NO work must be carried out at these levels of risk. Ensure that control measures are employed to reduce risk - use Risk Control.

## VSM, SQUID and PPMS ASSESSMENT
HAZARD TYPE |  | HAZARD | HAZARD RISK | HAZARD | CONTROL MEASURES | RISK | MATRIX SCORE | FURTHER CONTROL MEASURES | HAZARD | RISK | MATRIX SCORE | ACCEPT? | COMMENTS
| HELP |  | HELP | HELP |  | HELP | HELP |  | HELP | HELP |  | HELP
PHYSICAL | 1 | Liquid Nitrogen for SQUID/VSM/PPMS | Cold Burns | low | Use PPE, Avoid distractions. Ask if unsure. | v low | 3 | As before: PPE, no distractions. Ask if unsure. | low | v low | 3 | yes
| 2 | Electrical system | Risk of electric shock | minor | Visual inspection of electric. Do not open any electrical system. Ensure power is off. | v low | 6 | Additionally be aware that any voltages over 25V are a greater risk. | minor | v low | 6 | yes
| 3 | Magnetic field | Risk due to strong fields | low | Follow precaution signs | v low | 3 | Follow precaution signs | low | v low | 3 | yes
HELP - Risk Control |  | RISK | MATRIX |  |  | HAZARD | impact | cost | interruption | environmental
HELP - Matrix function | 11 | 7 | 4 | 2 | 1 | V. LOW | no treatment | < £ 2K | < 1 hour | potential impact
| 16 | 12 | 8 | 5 | 3 | LOW | first aid treatment | £ 2K - 25K | 1 hour to 1 day | on site impact
| 20 | 17 | 13 | 9 | 6 | MINOR | medical treatment | £ 25K - 100K | 1 day to 1week | off site impact
| 23 | 22 | 18 | 14 | 10 | SEVERE | hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
| 25 | 24 | 21 | 19 | 15 | MAJOR | death or extensive injury | > £ 1M | > 6 weeks | National / International impact
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW | RISK
| certain to occur | expected to occur in most circumstances | likely to occur | could occur, but rarely | unlikely to occur.
Note on B3: insert extra lines if required
Note on D3: This reports the EFFECT of the HAZARD, i.e. what happens as a result of the existance of this HAZARD.
Note on E3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on G3: insert level of RISK from the table below: V. HIGH HIGH MEDIUM LOW V. LOW use drop down list for each cell
Note on H3: type in number derived from RISK MATRIX: e.g. HAZARD = MINOR RISK = MEDIUM matrix score = 13
Note on J3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on K3: insert reassessed RISK after further control measures are applied and/or HAZARD is altered
Note on M3: select yes/no from drop down list in each cell If NO - risk assessment must be updated with further control measures If still NO refer the procedure to the DHSO or USO for assistance
Note on A10: Risk Control Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “high”,steps should be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls are: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on I10: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A11: GREEN ---- SAFE condition - no need to monitor further. LIGHT GREEN ---- Monitor the work - ensure that changes are assessed to ensure minimum risk. AMBER ---- This condition requires careful monitoring - risk levels can be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. RED ---- NO work must be carried out at these levels of risk. Ensure that control measures are employed to reduce risk - use Risk Control.

## X-RAY DIFFRACTION ASSESSMENT
HAZARD TYPE |  | HAZARD | HAZARD RISK | HAZARD | CONTROL MEASURES | RISK | MATRIX SCORE | FURTHER CONTROL MEASURES | HAZARD | RISK | MATRIX SCORE | ACCEPT? | COMMENTS
| HELP |  | HELP | HELP |  | HELP | HELP |  | HELP | HELP |  | HELP
PHYSICAL | 1 | X-ray beam | Radiation exposure | minor | Ensure door is fully closed before use. There is a built in safety switch to ensure door is closed | v low | 6 | Ensure door is full closed whilst beam in on. Introductory tutorial is necessary before being allowed to use equipment. | minor | v low | 6 | yes
| 2 | Electrical system | Risk of electric shock | minor | Visual inspection of electric. Do not open any electrical system. Ensure power is off. | v low | 6 | Additionally be aware that any voltages over 25V are a greater risk. | minor | v low | 6 | yes
HELP - Risk Control |  | RISK | MATRIX |  |  | HAZARD | impact | cost | interruption | environmental
HELP - Matrix function | 11 | 7 | 4 | 2 | 1 | V. LOW | no treatment | < £ 2K | < 1 hour | potential impact
| 16 | 12 | 8 | 5 | 3 | LOW | first aid treatment | £ 2K - 25K | 1 hour to 1 day | on site impact
| 20 | 17 | 13 | 9 | 6 | MINOR | medical treatment | £ 25K - 100K | 1 day to 1week | off site impact
| 23 | 22 | 18 | 14 | 10 | SEVERE | hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
| 25 | 24 | 21 | 19 | 15 | MAJOR | death or extensive injury | > £ 1M | > 6 weeks | National / International impact
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW | RISK
| certain to occur | expected to occur in most circumstances | likely to occur | could occur, but rarely | unlikely to occur.
Note on B3: insert extra lines if required
Note on D3: This reports the EFFECT of the HAZARD, i.e. what happens as a result of the existance of this HAZARD.
Note on E3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on G3: insert level of RISK from the table below: V. HIGH HIGH MEDIUM LOW V. LOW use drop down list for each cell
Note on H3: type in number derived from RISK MATRIX: e.g. HAZARD = MINOR RISK = MEDIUM matrix score = 13
Note on J3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on K3: insert reassessed RISK after further control measures are applied and/or HAZARD is altered
Note on M3: select yes/no from drop down list in each cell If NO - risk assessment must be updated with further control measures If still NO refer the procedure to the DHSO or USO for assistance
Note on A9: Risk Control Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “high”,steps should be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls are: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on I9: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A10: GREEN ---- SAFE condition - no need to monitor further. LIGHT GREEN ---- Monitor the work - ensure that changes are assessed to ensure minimum risk. AMBER ---- This condition requires careful monitoring - risk levels can be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. RED ---- NO work must be carried out at these levels of risk. Ensure that control measures are employed to reduce risk - use Risk Control.

## LOW SPEED DIAMOND SAW
HAZARD TYPE |  | HAZARD | HAZARD RISK | HAZARD | CONTROL MEASURES | RISK | MATRIX SCORE | FURTHER CONTROL MEASURES | HAZARD | RISK | MATRIX SCORE | ACCEPT? | COMMENTS
| HELP |  | HELP | HELP |  | HELP | HELP |  | HELP | HELP |  | HELP
PHYSICAL | 1 | Melting glue | Burns | low | Use PPE. Avoid distractions. Ask if unsure. | v low | 3 | As before: PPE, no distractions. Ask if unsure. | low | v low | 3 | yes
| 2 | Diamond Saw | Cut injury | low | Use guard, Avoid distractions. Ask if unsure. | v low | 3 | As before:Use guard, no distractions. Ask if unsure. | low | v low | 3 | yes
HELP - Risk Control |  | RISK | MATRIX |  |  | HAZARD | impact | cost | interruption | environmental
HELP - Matrix function | 11 | 7 | 4 | 2 | 1 | V. LOW | no treatment | < £ 2K | < 1 hour | potential impact
| 16 | 12 | 8 | 5 | 3 | LOW | first aid treatment | £ 2K - 25K | 1 hour to 1 day | on site impact
| 20 | 17 | 13 | 9 | 6 | MINOR | medical treatment | £ 25K - 100K | 1 day to 1week | off site impact
| 23 | 22 | 18 | 14 | 10 | SEVERE | hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
| 25 | 24 | 21 | 19 | 15 | MAJOR | death or extensive injury | > £ 1M | > 6 weeks | National / International impact
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW | RISK
| certain to occur | expected to occur in most circumstances | likely to occur | could occur, but rarely | unlikely to occur.
Note on B3: insert extra lines if required
Note on D3: This reports the EFFECT of the HAZARD, i.e. what happens as a result of the existance of this HAZARD.
Note on E3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on G3: insert level of RISK from the table below: V. HIGH HIGH MEDIUM LOW V. LOW use drop down list for each cell
Note on H3: type in number derived from RISK MATRIX: e.g. HAZARD = MINOR RISK = MEDIUM matrix score = 13
Note on J3: insert the HAZARD assessment from the table below: MAJOR SEVERE MINOR LOW V.LOW use the drop down list for each cell
Note on K3: insert reassessed RISK after further control measures are applied and/or HAZARD is altered
Note on M3: select yes/no from drop down list in each cell If NO - risk assessment must be updated with further control measures If still NO refer the procedure to the DHSO or USO for assistance
Note on A13: Risk Control Risk control is a method of managing the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “high”,steps should be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls are: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on I13: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A14: GREEN ---- SAFE condition - no need to monitor further. LIGHT GREEN ---- Monitor the work - ensure that changes are assessed to ensure minimum risk. AMBER ---- This condition requires careful monitoring - risk levels can be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. RED ---- NO work must be carried out at these levels of risk. Ensure that control measures are employed to reduce risk - use Risk Control.

## data (hidden)
[7 empty] | Likelihood | Description |  | V. High | High | Medium | Low | V. Low
V. LOW | 15 | 19 | 22 | 24 | 25 |  | V. High | The event is CERTAIN to occur
LOW | 10 | 14 | 18 | 21 | 23 |  | High | The event is expected to occur in most circumstances |  | The event is CERTAIN to occur | The event is expected to occur in most circumstances | The event is likely to occur | The event could occur, but only rarely | The event is unlikely to occur.
MINOR | 6 | 9 | 13 | 17 | 20 |  | Medium | The event is likely to occur
SEVERE | 3 | 4 | 8 | 12 | 16 |  | Low | The event could occur, but only rarely
MAJOR | 1 | 2 | 5 | 7 | 11 |  | V. Low | The event is unlikely to occur.
| V. HIGH | HIGH | MEDIUM | LOW | V. LOW
major | v high | yes |  |  |  | Research Laboratory
severe | high | no |  |  |  | Teaching Laboratory |  | consequence | impact | cost | interrruption | environmental
minor | medium |  |  |  |  | Workshop |  | major | death or extensive injury | >250K | >6 weeks | National / International impact
low | low |  |  |  |  | Office |  | severe | hospitalisation | £100 - 250K | 1 week to 6 weeks | Regional impact
v low | v low |  |  |  |  | Services Rooms |  | minor | medical treatment | £25K to 100K | 1 day to 1 week | off site impact
[6 empty] | Meeting Rooms |  | low | first aid treatment | £2K to 25K | 1 hour to 1 day | on site impact
[6 empty] | Visitors |  | very low | no treatment | < 2K | < 1 hour | potential impact
Contractors
General Areas
[7 empty] | Consequence | Personal | Damage Cost | Process | Environmental
[8 empty] | Damage |  | Interruption
[7 empty] | Major | Extensive injury or | >£250K | > 6 weeks | National impact
death
[7 empty] | Severe | Hospitalisation | £100K - £250K | 1 week – 6 weeks | Regional impact
[7 empty] | Minor | Medical treatment | £25 – 100K | 1 day- 1 week | Off site impact
[7 empty] | Low | First aid treatment | £ 2 – 25K | 1 hour – 1 day | On site impact
[7 empty] | V. Low | No treatment | <£2K | <1 hour | Potential impact
1