Risk Assessments for Equipment – Guidance

Risk assessments must be completed for each major piece of equipment. Based on the completed assessment, any additional training courses required to use the equipment, beyond those already defined for accessing the space, as well as requirements for competency signoff should be noted herein. Please consult the training matrix spreadsheet for courses. The main outcome of an equipment risk assessment should be a standard operating procedure that must be used for normal operation of the equipment. At a minimum, the equipment risk assessment must include the emergency switch off procedures and include any specific PPE required.

Where appropriate, consider if there is a need for “expert users”, such as those who could maintain or use the equipment beyond the stated standard operating regime. If so it should be clearly stated who these users are and what additional operational rules/training are needed.

A physical hard copy of the standard operating procedures and any approved user list should be kept with the equipment so that it is accessible to all users with the electronic copy stored on Quemis under the room in which it is located.

## Risk Assessment Form

| Title of Assessment | Cryomagnet systems |  | Date of assessment |  | 4th August 2021 |
| --- | --- | --- | --- | --- | --- |
| Department | Physics |  | This risk assessment must be reviewed whenever a significant change or an accident occurs |  |  |
| Descriptions of Activities | Use of cryomagnet system for condensed matter physics measurements |  |  |  |  |
| Name of those working to this assessment | All members of S+M Group and project students using cryomagnet systems in Rooms P125, P126 or P130. | Others who may be affected by this assessment |  |  |  |
| Assessment carried out by | Martin Lees |  |  |  |  |
| Additional information | The space risk assessment for Room P125, P126, P127 or P130 must also be read in conjunction with this document. |  |  |  |  |

## Standard Operating Procedures

This RA is concerned with the following commercially available cyomagnets:

Quantum Design MPMS (Room P130), Quantum Design PPMS (Room P130 and Room P125), Oxford Instuments VSM (Room P126), Oxford Instruments 15/17T magnet (Room 127)

Standard Operating Procedures are highlighted in the relevant user manuals, which are kept in the room along with the equipment.

## Emergency Switch Off Procedure

N/A

## Additional Training Requirements

Users must read and follow the instructions in the user manuals.

Users must be trained by Martin Lees or Paul Goddard.

Users must be authorised to use the equipment by Martin Lees or Paul Goddard.

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Cryogens | User, and (reduced risk) personnel in lab during operation. | See Cryogens risk assessment Wear required PPE and suitable clothing Specifically trained and authorised users only. | L |  |  | L |
| Magnetic fields | User, and (reduced risk) personnel in lab during operation. | Keep magnetisable objects well away for cryomagnet while it is energised. Do not enter room if you have a pace maker fitted. Ensure you know the correct procedure for de-energising magnet. Specifically trained and authorised users only | L |  |  | L |
| Instrumentation | User, and (reduced risk) personnel in lab during operation. | Do not tamper with or attempt to modify apparatus. Do not use untested apparatus. Ensure you know the correct procedure for switching off instrumentation. Specifically trained and authorised users only. | L |  |  | L |
| Samples | User, and (reduced risk) personnel in lab during operation. | Carry out risk assessment on any new set of samples prior to loading in cryomagnet. Remove all samples after measurements are complete. Only trained users allowed to operate any cryomagnet system. | L |  |  | L |

Work should not be carried out until the assessment is completed to a suitable & sufficient level and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) |  | L |  |
| --- | --- | --- | --- |
| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  |  |  |  |  |
| Any further actions required to allow work to commence |  |  |  |  |  |
| Approved By | Martin Lees |  |  | Position | Academic Staff |
| Date | 04 August 2021 |  |  |  |  |

Please print a copy, sign it and keep for your records

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.