Emergency procedure in the event of accidental eye exposure to class 3 or class 4 laser

This card should be completed and kept in a safe position by the laser so that it is readily retrievable in the event of an accidental eye exposure.  It should be taken to the hospital with the patient.  Any incident should be reported immediately to the Health and Safety Department either by phone or online.

| EMERGENCY OPTHALMIC EXAMINATION | LASER EXPOSURE |
| --- | --- |
| Laser details: |  |
| Type | Continuous Wave |
| Wavelength | 532 nm |
| Power output (CW) | 40mW |
| Pulse energy, duration and rate (pulse) | - |
| Laser classification | 3B |
| Exposure details |  |
| University of Warwick - School or Department | Department of Physics |
| Circumstances of accident / injury: |  |
| Time / date of incident |  |
| Eye (s) affected | Left Right Both (identify which) |
| Was protective eyewear being worn? | Yes / No (bring with patient if possible) |