Risk Assessment Form

| Title of Assessment | Risk Assessment for Superconductivity & Magnetism Group Labs |  |  | Date of assessment |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Date for review |  |  |
| Department | Department of Physics |  |  |  |  |  |
| Descriptions of Activities | General Risk Assessment for the lab equipment to be used in the PhD project of Sam Curley. |  |  |  |  |  |
| Name of those working to this assessment | Sam Curley |  | Any others who may be affected by this assessment |  | Other users of the lab. |  |
| Assessment carried out by | Sam Curley |  |  |  |  |  |

| ##### Additional information |  |
| --- | --- |

| Foreseeable Significant Hazard | Existing control measures | Controlled residual risk | Further Action where risk remains moderate/high | By whom & when | Controlled Risk Level |
| --- | --- | --- | --- | --- | --- |
| Cryogens – Filling Nitrogen Dewar - Cold burns | Will receive training. Use appropriate PPE. Avoid contact with gas/liquid/cold surface. | High |  | User | Low |
| Cryogens - Filling Nitrogen Dewar – Asphyxiation | Will receive training. Fill in well ventilated space and if filling via the inside Nitrogen filling station it is important to regularly check the Oxygen meter on the wall of the filling station. | Very High | No unauthorised out of hours work & vent the space safely (if possible) should Oxygen level begin to fall. | User & nearby individuals. | Low |
| Cryogens – Filling VSM or PPMS - Asphyxiation | Will receive training. Rooms are well ventilated & if available Oxygen meters should be checked whilst filling. | Very High | No unauthorised out of hours work & vent the space safely (if possible) should Oxygen level begin to fall. | User & nearby individuals | Low |
| High Magnetic Fields – Individuals with pacemakers/metal implants | Warning signs put up at entrance to high magnetic field area. | Very High | Notify individuals of the presence of strong magnetic field and its inherent dangers. | User & nearby individuals. | Low |
| High Magnetic Fields - Struck by magnetisable object | No magnetisable objects near the high magnetic fields. | Moderate |  | User & nearby individuals. | Low |
| Electrical Equipment – Electrocution/Burns | Don’t tamper with equipment and check it is all PAT tested if plugged into the mains supply. | Moderate |  | User | Low |
| Handling Samples – poisoning or irritation. | Use appropriate PPE when working with samples. Don’t ingest and minimise contact time. Wash hands after handling. No food or drink near samples. | Moderate |  | User & nearby individuals. | Low |
| Chemicals within Labs - poisoning, irritation and burns. | Use appropriate PPE when handling chemicals. Don’t ingest and minimise contact time. Wash hands after handling. No food or drink near samples. Check required COSHH form when using chemicals. | High |  | User & nearby individuals. | Low |
| Soldering – Burns | Use soldering iron at appropriate station and re-holster when not directly soldering. Don’t get too close to fresh hot solder. Avoid contact with the hot end of the soldering iron. | Moderate |  | User | Low |
| Soldering – Inhalation of poison vapour | Solder in a well-ventilated area. Use PPE i.e. face mask, if appropriate. If soldering large components using an extractor fan may be required. | Low |  | User | Low |
| Soldering – Solid solder can get into or on skin and be harmful. | Wash hands after using the soldering iron. No food or drink near the soldering workspace. | Moderate | No Rosin or Ersin multicore solder permitted in the lab. | User | Low |
| Soldering – electrical faults – the irons are particularly susceptible to damage due to hear/strain | Don’t use irons with blatant damage to the cable. Keep apart the tip from the cable. | Moderate |  | User | Low |
| Heat gun – Burns and risk of fire | Do not aim at individuals or flammable objects. Use as directed. | High |  | User & nearby individuals if fire began. | Low |
| Evacuable Pellet Die – Components fail at high load, impact from component, inhalation of fine powder and potential poisoning | Will be trained before use. Don’t tamper with equipment. Use appropriate PPE and close press door upon compression. Minimise exposure to powders and read all relevant sample safety guides. | High |  | User | Low |
| Use of movable steps - Slips and falls | Brake should be on when platform is in use. Platform should be dry and position in a way to avoid over reaching when it is in use. | Minor |  | User | Low |
| Use of sharp tools – Cuts | Focus on the activity at hand when using sharp tools. Make sure the work bench is not cluttered. Keep sharps in a safe place, i.e. covered or in a box, when not in use. Dispose of in correct sharps bin. | Minor |  | User & individuals with access sharps area. | Low |
| Ionising Radiation – Exposure to radiation & electrical hazards. | Will receive training before use. System will have appropriate radiative shielding in place. Radiative areas are clearly marked. All equipment to be made fail-safe with an interlock system and indicate when radiation source is ‘on’. Technicians regularly check the equipment for faults. Don’t tamper with the equipment. | Very High |  | User & Individuals near the radiative source | Low |
| QD MPMS pressure cell | Appropriate PPE to be worn i.e. pressure safety glasses when working with the cell. When applying pressure to the cell, do not stand in front of the tips of the cell and apply pressure incrementally as advised in the manual. Cell to be kept in a screwed closed die cast box when removed from SQUID and under pressure. | Very high | Notify individuals in the area that pressure cell work is underway. When cell in SQUID put a warning label on the SQUID so untrained users don’t remove and harm themselves or damage the cell. | Users & nearby individuals. | Low |

Work should not be carried out until the assessment is completed to a suitable & sufficient level and all required control measures are in place.

Is assessment suitable and sufficient       Yes

| Any further actions required to allow work to commence |  | - Chemical Handling training (Passed online training) - Fume cupboards training - Gas Cylinder training - Mechanical workshop, load handling and manual handling training - Electrical & Safety training |  |  |
| --- | --- | --- | --- | --- |
| Approved By |  |  | Position |  |
| Date |  |  |  |  |

Please print a copy, sign it and keep for your records

|  | Severity of injury |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Moderate | Serious | Major | Extreme |  |  |  |
| Unlikely | Very low | Very low | Low | Low | Moderate |  |  |  |
| Possible | Very low | Low | Low | Moderate | High |  |  |  |
| Likely | Low | Low | Moderate | High | Very high |  |  |  |
| Very likely | Low | Moderate | High | Very high | Very high |  | Overall Risk Rating (highest level found) |  |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.