## Title
UNIVERSITY OF WARWICK
DEPARTMENT OF PHYSICS
RISK ASSESSMENT FORM
Student | Diana Oduntan
Supervisor | Geetha Balakrishnan and Daniel Mayoh
Date of assessment | Monday 17th October 2022
Location of work area(s) | Physics Labs (P122, P124, P164, P130, P128)
Review date(s) | 2022-10-20
TITLE | Crystals of Frustrated Magnets
Description | This experiment investigates the properties of frustrated magnetic materials through crystal growth using floating zone techniques and inspecting the purity of these samples using non-invasive techniques such as X-ray powder diffraction as well as investigating the magnetic properties of these compounds at low temperatures.
Approval and acceptance of risk assessment and control measures
NAME | ROLE
Geetha Balakrishnan | Project Supervisor
Daniel Mayoh | Project Supervisor

## Documents
Documentation required to be completed
Type of project | Title | Plan | General RA | Chemicals | Ionising Radiation | Computer space
Theory / Desk-based | ü |  |  |  |  | ü
Experimental | ü | ü | ü
Experimental including chemicals | ü | ü | ü | ü
Experimental including radiation | ü | ü | ü |  | ü

## Hazards
Mechanical | Electrical | Biological Hazards | Radiation | Location | Other hazards
Abrasion | Arcing | Any biological work | Heat or UV | Falls from a height | Confined spaces
Crushing | Burns | Moulds, spores, fungi | Ionising radiation | Lighting conditions | Cryogenic gases
Cutting | Electrocution | Rodents | Lasers | Noise, vibrations | Dangerous (flammable)substances and explosive atmospheres
Entanglement | Explosion | Waterborne diseases when working outdoors | Microwaves/RF | Slips, trips and falls | Excavation
Impact | Falls, subsequent to shock |  |  | The working environment – hot, cold, humid | Experimental rigs
Trapping | Fire |  |  | Traffic hazards | Exposure to extreme temperatures
Also consider: lifting; tripping hazards; repetitive movements & the condition of the work environment. | Consider fault conditions; where you place the conductors; how the system has been configured, and by whom. |  |  |  | Falling objects, collapsing structures
Chemical |  |  |  |  | Lifting operations using lifting equipment
Allergies, dermatitis |  |  |  |  | Magnets and magnetism
Asphyxiation |  |  |  |  | Manual handling
Carcinogens or substances that can harm reproduction |  | Link to additional guidance |  |  | Pressure systems / gases and cylinders
Fire and explosion |  |  |  |  | Transport of dangerous substances
Toxicity, burns |  |  |  |  | Vibration
Look at the foreseeable routes of entry to the body; spillage and emergency action; waste disposal |  |  |  |  | Workplace transport

## Plan
Planning to carry out the project safely
The development of a safety plan allows the student to break down the project into smaller activities, which may or may not need to be included in the Other Risks assessment. This allows the student to capture details of where local rules may apply, and the requirements of those rules. This is intended to be living document and be amended as the project progresses and you become more aware of the scope of the project
A Risk Assessment is required to cover all parts of a student’s project work where there may be significant risks. Trivial risks do not have to be documented. Ensure that any controls are workable and adequate to control the risk. Review and update the assessment as the project progresses.
List the activities involved in the project | Risk assessment needed (Y/N)
High purity polycrystalline samples are created using arc melting techniques | Y
Investigate the properties using x-ray powder diffraction techniques | Y
Single crystal growth by the floating zone technique using optical furnaces | Y
What equipment / instrumentation is required to be used? | Training required (Y/N)
ARC melting furnace | Y
Photonic-Science Laue camera/Panalytical X-Pert Pro MPD Kα1 | Y
Magnetometer | Y
What training needs to be provided to ensure the project can be performed safely? | Trainer | Date of Training
Use of furnace | Dr Daniel Mayoh | To be confirmed
Handling of chemicals | Dr Daniel Mayoh | To be confirmed
Use of XRD machine | Dr Jon Duffy | To be confirmed
Use of magnetometer | Dr Daniel Mayoh | To be confirmed
List any foreseeable emergency situations and ensure emergency arrangements are available. Ensure that these are reflected in the risk assessment
High heat from furnace
Radiation exposure from XRD
Irritation from handling chemicals
As a result of the above, are there any specialist first aid requirements - ensure these are captured in the risk assessment

## General RA
Rows may be inserted or deleted as required
|  |  | HELP |  | HELP
HAZARD TYPE | STEP | LIST TASK & HAZARDS | HAZARD SEVERITY | CONTROL MEASURES | LIKELIHOOD | ASSESSED RISK | OUTCOME | COMMENTS
MECHANICAL | 1 | Grinding powder | 2-Minor | Wear a dust mask and safety glasses | 1-Unlikely | Very low | Risk well controlled
| 2 | Use of box furnaces - risk of burns | 4-Major | Insulation on the furnace. Protective gloves, and face shield should be worn and the correct tools used to remove samples from the furnace. | 1-Unlikely | Low | Risk controls acceptable
ELECTRICAL | 1 | Arc Furnace - burning/blindness. Looking directly at the arc can cause retinal burning/blindness | 4-Major | There is UV shield to protect the user as well as around the lab. Wear gloves and long sleeves. | 1-Unlikely | Low | Risk controls acceptable
| 2 | Mains electricity - electrocution and burns | 2-Minor | Do not tamper with or attempt to alter apparatus. Do not use untested apparatus | 1-Unlikely | Very low | Risk well controlled
IONISING RADIATION | 1 | Radiation from PXRD machine | 2-Minor | Training before use the machine. Keep the door of the machine closed. | 1-Unlikely | Very low | Risk well controlled
LOCATION | 1 | Tripping or falls | 2-Minor | Keep work area tidy, wear appropriate footwear. | 2-Possible | Low | Risk controls acceptable
Chemical | 1 | Chemical - risk of asphyxiation when ARC Melting - argon gas used | 3-Serious | Alarms for when oxygen levels are low. Evacuate the room when the alarm sounds. | 2-Possible | Low | Risk controls acceptable
| 2 | Use of liquid Nitrogen and Helium - Very low temperaure. Risk of cryogenic burns | 3-Serious | Wear insulation gloves as well as glasses. Avoid contact with gold gas, liquid or cooled surfaces. | 1-Unlikely | Low | Risk controls acceptable
| 3 | Use of liquid nitrogen and helium - asphyxiation | 3-Serious | Evacuate the room when alarms sound/when oxygen levels are low, allow adequate ventilation before you begin. | 1-Unlikely | Low | Risk controls acceptable
| 4 | Use of chemicals can cause irritation to skin. Can cause respiratory issues/ organ damage | 2-Minor | Wash hands after use, wear gloves, lab coat, safety glasses and a face mask | 1-Unlikely | Very low | Risk well controlled
RISK MATRIX BELOW
HELP - Control Measures |  | LIKELIHOOD | 1-Unlikely | 2-Possible | 3-Likely | 4-Very likely | 5-Highly likely | Severity of Injury | Cost | Interruption | Environmental
HELP - Matrix function | SEVERITY | 1-Superficial | Very low | Very low | Low | Low | Moderate | Minor cut, bruise | < £ 2K | < 1 hour | Minimal localised impact
|  | 2-Minor | Very low | Low | Low | Moderate | High | First aid treatment | £ 2K - 25K | 1 hour to 1 day | On site impact
Very low |  | 3-Serious | Low | Low | Moderate | High | Very high | Medical treatment | £ 25K - 100K | 1 day to 1week | Off site impact
Low |  | 4-Major | Low | Moderate | High | Very high | Very high | Hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
Moderate |  | 5-Extreme | Moderate | High | Very high | Very high | Very high | Death, or life-changing injury | > £ 1M | > 6 weeks | National / International impact
High |  |  | Requires combination of events | Could occur, but rarely | Likely to occur | Expected to occur in most circumstances | Almost certain to occur
Very high
Severity | Likelihood | Risk
1-Superficial | 1-Unlikely | Very low
1-Superficial | 2-Possible | Very low
1-Superficial | 3-Likely | Low
1-Superficial | 4-Very likely | Low
1-Superficial | 5-Highly likely | Moderate
2-Minor | 1-Unlikely | Very low
2-Minor | 2-Possible | Low
2-Minor | 3-Likely | Low
2-Minor | 4-Very likely | Moderate
2-Minor | 5-Highly likely | High
3-Serious | 1-Unlikely | Low
3-Serious | 2-Possible | Low
3-Serious | 3-Likely | Moderate
3-Serious | 4-Very likely | High
3-Serious | 5-Highly likely | Very high
4-Major | 1-Unlikely | Low
4-Major | 2-Possible | Moderate
4-Major | 3-Likely | High
4-Major | 4-Very likely | Very high
4-Major | 5-Highly likely | Very high
5-Extreme | 1-Unlikely | Moderate
5-Extreme | 2-Possible | High
5-Extreme | 3-Likely | Very high
5-Extreme | 4-Very likely | Very high
5-Extreme | 5-Highly likely | Very high
Note on D2: Insert the HAZARD SEVERITY from the table below: 1-Superficial 2-Minor 3-Serious 4-Major 5-Extreme Use the drop down list for each cell
Note on F2: Insert the LIKELIHOOD of occurence from the table below: 1-Very unlikely 2-Unlikely 3-Possible 4-Probable 5-Highly probable Use the drop down list for each cell
Note on A19: Control Measures Control measures are actions taken to manage the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “High” or "Very High",steps must be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls is: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on J19: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A20: GREEN SAFE condition. Good controls in operation BLUE SAFE condition. Adequate controls in place YELLOW This condition requires careful monitoring - risk levels may be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. AMBER Risk level unacceptable. Additional controls must be in place before carrying out work RED NO work must be carried out at these levels of risk. Ensure that additional control measures are employed to reduce risk

## Chemicals
Use of Chemicals
Please insert the details of the chemicals that you will be working with during your project. Additional risk assessments may be required (please refer to information below)
Rows may be inserted or deleted as required
Chemical | Hazards (H-codes) | Amount used | Control Measures applied
Eu | H228, H261 |  | Handle under inert gas, store in a well ventilated place, do not allow contact with air, wear appropriate PPE, wash hands after contact, take care with disposal, keep away from open flames.
Pd | Non-hazardous |  | Wear appropriate PPE, wash hands after contact, take care with disposal
Si | Non-hazardous |  | Wear appropriate PPE, wash hands after contact, take care with disposal
Dy | Non-hazardous |  | Wear appropriate PPE, wash hands after contact, take care with disposal
What is a Hazardous Substance?
A substance hazardous to health is anything that is hazardous in the form in which it may occur in the work activity. It need not just be chemical compounds, it can include chemical mixtures, micro-organisms, natural materials such as flour, or processed materials such as wood dust, etc.
How to assess risk when working with hazardous substances
When using substances which are potentially hazardous to health, your risk assessment will require all of the substances involved in the project to be assessed, and for the appropriate controls to mitigate the risks to be put into place. In some situations a formal detailed 'Control of Substances Hazardous to Health' or 'COSHH' assessment will be required in addition to the process or activity risk assessment
Please read through the risk assessment guidance document to help you detemine what type of COSHH Assessment you will need to write.
https://warwick.ac.uk/services/healthsafetywellbeing/guidance/chemical_safety/hazardoussubstances/hazard_grid_for_working_with_chemicals_v1_21_01_2020.pdf

## Ionising Radiation
DEPARTMENT OF PHYSICS
Final Year Projects
Registration form for work with Ionising radiation
Student | Diana Oduntan
University number | U2018361
Project Supervisor | Geetha Balakrishnan and Daniel Mayoh
Equipment to be used | XRD Machine
I understand the rules for the use of sources of ionising radiation and I agree to abide by them. I will only use the equipment
specified above, and understand that to use any further equipment, even of the same type, requires specific approval from the
Departmental Radiation Protection Supervisor. I further acknowledge that I am aware that any breach of these Regulations
may result in permission to use sources of ionising radiation being withdrawn.
Signed
Date
Print out this form, sign it and take it to Dr Jonathan Duffy (MAS 4.03), who will arrange and check your training. Only once this
is complete, and the form signed below, may you commence working with radiation.
I certify that the above name person will work only in an open or supervised area on the equipment detailed above.
Signed |  | Group Radiation Protection Supervisor
Date
I hereby state that in my opinion that the above named person is capable of handling the sources of radiation named above
in a responsible manner and that he/she has been trained in their proper use.
Signed |  | Dr J Duffy
Date |  | Departmental Radiation Protection Supervisor
I was told the training would only take place closer to the date I would be using the PXRD machine. Not signed off until closer to this date

## Computer space
This checklist and information is intended to enable you to self assess your workstation |  | Yes
area and make suitable adjustments to minimise stress and strain on your body. |  | No
SETTING UP
Guidance about how to set up your workstation is given at
http://www2.warwick.ac.uk/services/healthsafetywellbeing/guidance/computerworkstations/setup/
Response
COMPUTER Screen
Are the characters clear and readable? | Yes
Is the text size comfortable to read? | Yes
Is the image stable, free from flicker? | Yes
Are the brightness and contrast appropriately adjusted? | Yes
Is the screen height, swivel and tilt adjustable? | Yes
Is the screen free of glare and reflections? | Yes
Are adjustable window coverings provided and in adequate condition? | Yes
COMPUTER Keyboard
Is it possible to find a comfortable keying position? | Yes
Can the wrists be rested in front of the keyboard? | Yes
Is the keyboard clean and free from glare? | Yes
Can the characters on the keys be read easily? | Yes
COMPUTER Mouse
Is the device suitable for the intended use? | Yes
Is the mouse positioned close to the keyboard? | Yes
Is there support for the device user's wrist and forearm? | Yes
Does the device work at a speed and accuracy which suits the user? | Yes
FURNITURE
Is the work surface large enough? | Yes
Is the work surface free of glare and reflections? | Yes
Can the user comfortably reach all of the equipment and papers which which they need to use? | Yes
Is the chair stable and adjustable? | Yes
Are the mechanisms in working order? | Yes
ENVIRONMENT
Is there enough room to change position and move? | Yes
Is the lighting level suitable? | Yes
Are the levels of heat and noise comfortable? | Yes
HEALTH Whilst using a computer at work, in the past year, has the operator suffered from any of the following:
Eye strain | No
Pain in the: back | No
elbows | No
fingers | No
neck | No
shoulders | No
wrists | No
If you have responded "Yes" to any of the Health questions, please contact the Health & Safety
Officer, Stephanie Brown for advice : (Stephanie.A.Brown@warwick.ac.uk), or in Room P 5.68

## Lists (hidden)
Very Low
Low
Action to be taken
Moderate
High
Very High