## Title
UNIVERSITY OF WARWICK
DEPARTMENT OF PHYSICS
RISK ASSESSMENT FORM
Student | Rachael Morgan
Supervisor | Geetha Balakrishnan and Daniel Mayoh
Date of assessment | 2022-10-15
Location of work area(s) | P122, P124, P128, P130, P164
Review date(s)
TITLE | Crystal of Frustrated magnets
Description | Understanding the magnetic behaviour of rare earths undergoing magnetic frustration. We will be preparting samples, single crystal growth and identifying characteristics. We will be refining synthesis techniques and using x-ray powder diffraction to determine the properties of samples. Also, using the x-ray Laue diffraction to see the quality of single crystal growth which is done by the floating zone technique, optical furnaces.
Approval and acceptance of risk assessment and control measures
NAME | ROLE

## Documents
Documentation required to be completed
Type of project | Title | Plan | General RA | Chemicals | Ionising Radiation | Computer space
Theory / Desk-based | ü |  |  |  |  | ü
Experimental | ü | ü | ü
Experimental including chemicals | ü | ü | ü | ü
Experimental including radiation | ü | ü | ü |  | ü

## Hazards
Mechanical | Electrical | Biological Hazards | Radiation | Location | Other hazards
Abrasion | Arcing | Any biological work | Heat or UV | Falls from a height | Confined spaces
Crushing | Burns | Moulds, spores, fungi | Ionising radiation | Lighting conditions | Cryogenic gases
Cutting | Electrocution | Rodents | Lasers | Noise, vibrations | Dangerous (flammable)substances and explosive atmospheres
Entanglement | Explosion | Waterborne diseases when working outdoors | Microwaves/RF | Slips, trips and falls | Excavation
Impact | Falls, subsequent to shock |  |  | The working environment – hot, cold, humid | Experimental rigs
Trapping | Fire |  |  | Traffic hazards | Exposure to extreme temperatures
Also consider: lifting; tripping hazards; repetitive movements & the condition of the work environment. | Consider fault conditions; where you place the conductors; how the system has been configured, and by whom. |  |  |  | Falling objects, collapsing structures
Chemical |  |  |  |  | Lifting operations using lifting equipment
Allergies, dermatitis |  |  |  |  | Magnets and magnetism
Asphyxiation |  |  |  |  | Manual handling
Carcinogens or substances that can harm reproduction |  | Link to additional guidance |  |  | Pressure systems / gases and cylinders
Fire and explosion |  |  |  |  | Transport of dangerous substances
Toxicity, burns |  |  |  |  | Vibration
Look at the foreseeable routes of entry to the body; spillage and emergency action; waste disposal |  |  |  |  | Workplace transport

## Plan
Planning to carry out the project safely
The development of a safety plan allows the student to break down the project into smaller activities, which may or may not need to be included in the Other Risks assessment. This allows the student to capture details of where local rules may apply, and the requirements of those rules. This is intended to be living document and be amended as the project progresses and you become more aware of the scope of the project
A Risk Assessment is required to cover all parts of a student’s project work where there may be significant risks. Trivial risks do not have to be documented. Ensure that any controls are workable and adequate to control the risk. Review and update the assessment as the project progresses.
List the activities involved in the project | Risk assessment needed (Y/N)
Using the arc melting technique to create high purity polycrystalline | Y
Preparing materials | Y
Storing sinthasisied material in a vacuum desiccator | Y
Using magnetometer and x-ray powder diffraction to identify properties | Y
The floating zone technique for single crystal growth using optical furnaces | Y
What equipment / instrumentation is required to be used? | Training required (Y/N)
Arc melting furnace | Y
Magnetometer | Y
Photonic-Science Laue camera | Y
Panalytical X-Pert Pro MPD Kα1 | Y
Optical furnace | Y
Vacuum desiccator | Y
What training needs to be provided to ensure the project can be performed safely? | Trainer | Date of Training
List any foreseeable emergency situations and ensure emergency arrangements are available. Ensure that these are reflected in the risk assessment
using the arc furnace asphyxiation by argon can occur
Large amounts of gas can be produced from the magnetometer caused by the liquid nitrogen and helium, if it escapes could cause asphyxiation
As a result of the above, are there any specialist first aid requirements - ensure these are captured in the risk assessment

## General RA
Rows may be inserted or deleted as required
|  |  | HELP |  | HELP
HAZARD TYPE | STEP | LIST TASK & HAZARDS | HAZARD SEVERITY | CONTROL MEASURES | LIKELIHOOD | ASSESSED RISK | OUTCOME | COMMENTS
MECHANICAL | 1 | Using vacuum desiccator to store samples in- risk of explosion/ shattering of plastic because of low pressure | 3-Serious | Do not change any setting unless needed, turn off pump immediately after use, pump and vent out carefully and do not inhale pumped gas. | 1-Unlikely | Low | Risk controls acceptable
| 2 | Arc furnace- low pressure gas | 3-Serious | Before using ensure that the valves and regulators work correctly and are clean. | 1-Unlikely | Low | Risk controls acceptable
ELECTRICAL | 1 | Box furnaces- risk of burns | 3-Serious | Use PPE (heat resistant gloves), do not touch hot surfaces, only open the furnace when cool which is under 50°C | 1-Unlikely | Low | Risk controls acceptable
| 2 | High voltage of electricity fed into arc meltng furnace- electricutions | 3-Serious | Do not touch power box, turn off before touching the furnace | 1-Unlikely | Low | Risk controls acceptable
CHEMICAL | 1 | Using the ARC melting/ optical furnaces- produces lots of visible bright light, risk of damaging eyes | 3-Serious | Use a protective screen (welding shield) and do not look at the light directly, draw the dark curtain around the work station when in use | 2-Possible | Low | Risk controls acceptable
| 2 | Using the ARC melting- uses Argon gas, risk of asphyxiation | 3-Serious | Evacuate room when oxygen level alarm sounds, turn gas flow off when not in use. | 1-Unlikely | Low | Risk controls acceptable
| 3 | Preparing the samples- dust and small fibres can become airborn | 2-Minor | Wear a dust mask when preparing the samples also use gloves to not transfer the debris from preparing the samples | 1-Unlikely | Very low | Risk well controlled
| 4 | Use of nitrogen and helium liquid in the magnetometer- risk of cryogenic burn as it is at very low temperature | 3-Serious | Use appropriate PPE, make sure hands are dry and clean, do not touch cold surfaces, liquids or gas | 1-Unlikely | Low | Risk controls acceptable
| 5 | Use of nitrogen and helium liquid in the magnetometer- large amounts of gas can be produced, risk of asphyxiation | 3-Serious | Evacuate room when oxygen level alarm sounds. | 1-Unlikely | Low | Risk controls acceptable
IONISING RADIATION | 1 | x-ray sources- radiation exposure from use of PXRD machine, in normal use the risk is negligable | 3-Serious | Operator training, dose rate monitor around the interlockcheck and enclosure, before using critically examine to ensure no damages. | 1-Unlikely | Low | Risk controls acceptable
OTHER | 1 |  |  |  |  | #N/A | #N/A
| 2 |  |  |  |  | #N/A | #N/A
| 3 |  |  |  |  | #N/A | #N/A
RISK MATRIX BELOW
HELP - Control Measures |  | LIKELIHOOD | 1-Unlikely | 2-Possible | 3-Likely | 4-Very likely | 5-Highly likely | Severity of Injury | Cost | Interruption | Environmental
HELP - Matrix function | SEVERITY | 1-Superficial | Very low | Very low | Low | Low | Moderate | Minor cut, bruise | < £ 2K | < 1 hour | Minimal localised impact
|  | 2-Minor | Very low | Low | Low | Moderate | High | First aid treatment | £ 2K - 25K | 1 hour to 1 day | On site impact
Very low |  | 3-Serious | Low | Low | Moderate | High | Very high | Medical treatment | £ 25K - 100K | 1 day to 1week | Off site impact
Low |  | 4-Major | Low | Moderate | High | Very high | Very high | Hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
Moderate |  | 5-Extreme | Moderate | High | Very high | Very high | Very high | Death, or life-changing injury | > £ 1M | > 6 weeks | National / International impact
High |  |  | Requires combination of events | Could occur, but rarely | Likely to occur | Expected to occur in most circumstances | Almost certain to occur
Very high
Severity | Likelihood | Risk
1-Superficial | 1-Unlikely | Very low
1-Superficial | 2-Possible | Very low
1-Superficial | 3-Likely | Low
1-Superficial | 4-Very likely | Low
1-Superficial | 5-Highly likely | Moderate
2-Minor | 1-Unlikely | Very low
2-Minor | 2-Possible | Low
2-Minor | 3-Likely | Low
2-Minor | 4-Very likely | Moderate
2-Minor | 5-Highly likely | High
3-Serious | 1-Unlikely | Low
3-Serious | 2-Possible | Low
3-Serious | 3-Likely | Moderate
3-Serious | 4-Very likely | High
3-Serious | 5-Highly likely | Very high
4-Major | 1-Unlikely | Low
4-Major | 2-Possible | Moderate
4-Major | 3-Likely | High
4-Major | 4-Very likely | Very high
4-Major | 5-Highly likely | Very high
5-Extreme | 1-Unlikely | Moderate
5-Extreme | 2-Possible | High
5-Extreme | 3-Likely | Very high
5-Extreme | 4-Very likely | Very high
5-Extreme | 5-Highly likely | Very high
Note on D2: Insert the HAZARD SEVERITY from the table below: 1-Superficial 2-Minor 3-Serious 4-Major 5-Extreme Use the drop down list for each cell
Note on F2: Insert the LIKELIHOOD of occurence from the table below: 1-Very unlikely 2-Unlikely 3-Possible 4-Probable 5-Highly probable Use the drop down list for each cell
Note on A22: Control Measures Control measures are actions taken to manage the risk with the primary emphasis on controlling the hazards at source. For a risk that is assessed as “High” or "Very High",steps must be taken immediately to minimize risk of injury. The method of ensuring that risks are controlled effectively is by using the “hierarchy of controls”. The Hierarchy of Controls is: - Order Control Example 1 Elimination Removing the hazard, e.g. taking a hazardous piece of equipment out of service. 2 Substitution Replacing a hazardous item or process with a less hazardous one. 3 Isolation Isolating the hazard from the person at risk, e.g. using a guard or barrier. 4 Engineering Redesign a process or piece of equipment to make it less hazardous. 5 Administrative Adopting safe work practices or providing appropriate training, instruction or information. 6 Personal Protective Equipment [ PPE] Personal protective equipment could include using gloves, glasses, ear defenders, aprons, safety footwear, dust masks etc.
Note on J22: Costs are relative and proportionate to the business. Alter costs as required to scale of operation and liabilities.
Note on A23: GREEN SAFE condition. Good controls in operation BLUE SAFE condition. Adequate controls in place YELLOW This condition requires careful monitoring - risk levels may be acceptable in some circumstances - if risk cannot be lowered further ensure PPE is available and used. AMBER Risk level unacceptable. Additional controls must be in place before carrying out work RED NO work must be carried out at these levels of risk. Ensure that additional control measures are employed to reduce risk

## Chemicals
Use of Chemicals
Please insert the details of the chemicals that you will be working with during your project. Additional risk assessments may be required (please refer to information below)
Rows may be inserted or deleted as required
Chemical | Hazards (H-codes) | Amount used | Control Measures applied
Eu3PdSi3 (Europium Palladium Silicide)
Dy3PdSi3 (Dysprosium Palladium Silicide)
Argon gas | H305
Europium | H250
Palladium (powder) | H228, H315, H319, H335
Silicon (powder) | H228, H315, H319, H335
Dysprosium
What is a Hazardous Substance?
A substance hazardous to health is anything that is hazardous in the form in which it may occur in the work activity. It need not just be chemical compounds, it can include chemical mixtures, micro-organisms, natural materials such as flour, or processed materials such as wood dust, etc.
How to assess risk when working with hazardous substances
When using substances which are potentially hazardous to health, your risk assessment will require all of the substances involved in the project to be assessed, and for the appropriate controls to mitigate the risks to be put into place. In some situations a formal detailed 'Control of Substances Hazardous to Health' or 'COSHH' assessment will be required in addition to the process or activity risk assessment
Please read through the risk assessment guidance document to help you detemine what type of COSHH Assessment you will need to write.
https://warwick.ac.uk/services/healthsafetywellbeing/guidance/chemical_safety/hazardoussubstances/hazard_grid_for_working_with_chemicals_v1_21_01_2020.pdf

## Ionising Radiation
DEPARTMENT OF PHYSICS
Final Year Projects
Registration form for work with Ionising radiation
Student | Rachael Morgan
University number | 2014411
Project Supervisor | Greetha Balakrishnan
Equipment to be used | X-ray diffraction
I understand the rules for the use of sources of ionising radiation and I agree to abide by them. I will only use the equipment
specified above, and understand that to use any further equipment, even of the same type, requires specific approval from the
Departmental Radiation Protection Supervisor. I further acknowledge that I am aware that any breach of these Regulations
may result in permission to use sources of ionising radiation being withdrawn.
Signed
Date
Print out this form, sign it and take it to Dr Jonathan Duffy (MAS 4.03), who will arrange and check your training. Only once this
is complete, and the form signed below, may you commence working with radiation.
I certify that the above name person will work only in an open or supervised area on the equipment detailed above.
Signed |  | Group Radiation Protection Supervisor
Date
I hereby state that in my opinion that the above named person is capable of handling the sources of radiation named above
in a responsible manner and that he/she has been trained in their proper use.
Signed |  | Dr J Duffy
Date |  | Departmental Radiation Protection Supervisor

## Computer space
This checklist and information is intended to enable you to self assess your workstation |  | Yes
area and make suitable adjustments to minimise stress and strain on your body. |  | No
SETTING UP
Guidance about how to set up your workstation is given at
http://www2.warwick.ac.uk/services/healthsafetywellbeing/guidance/computerworkstations/setup/
Response
COMPUTER Screen
Are the characters clear and readable?
Is the text size comfortable to read?
Is the image stable, free from flicker?
Are the brightness and contrast appropriately adjusted?
Is the screen height, swivel and tilt adjustable?
Is the screen free of glare and reflections?
Are adjustable window coverings provided and in adequate condition?
COMPUTER Keyboard
Is it possible to find a comfortable keying position?
Can the wrists be rested in front of the keyboard?
Is the keyboard clean and free from glare?
Can the characters on the keys be read easily?
COMPUTER Mouse
Is the device suitable for the intended use?
Is the mouse positioned close to the keyboard?
Is there support for the device user's wrist and forearm?
Does the device work at a speed and accuracy which suits the user?
FURNITURE
Is the work surface large enough?
Is the work surface free of glare and reflections?
Can the user comfortably reach all of the equipment and papers which which they need to use?
Is the chair stable and adjustable?
Are the mechanisms in working order?
ENVIRONMENT
Is there enough room to change position and move?
Is the lighting level suitable?
Are the levels of heat and noise comfortable?
HEALTH Whilst using a computer at work, in the past year, has the operator suffered from any of the following:
Eye strain
Pain in the: back
elbows
fingers
neck
shoulders
wrists
If you have responded "Yes" to any of the Health questions, please contact the Health & Safety
Officer, Stephanie Brown for advice : (Stephanie.A.Brown@warwick.ac.uk), or in Room P 5.68

## Lists (hidden)
Very Low
Low
Action to be taken
Moderate
High
Very High