## Title
UNIVERSITY OF WARWICK
DEPARTMENT OF PHYSICS
RISK ASSESSMENT FORM
Student | Grady Beckett
Supervisor | Geetha Balakrishnan
Date of assessment | 2020-10-12
Location of work area(s) | Physics Department (P122, P124, P128, P129, P130)
Review date(s) | Thursday Week 2 Term 2
TITLE | Chiral Magnets as Skyrmion Hosts
Description | This project involves the synthesis of Fe3GeTe2 crystals through the means of CVT. These crystals will then be analysed with X-ray diffraction and a SQUID magnetometer to investigate structure and magnetic susceptibility at low temperatures
Approval and acceptance of risk assessment and control measures
NAME | ROLE
G Balakrishnan | Supervisor

## Documents
Documentation required to be completed
Type of project | Title | Plan | General RA | Chemicals | Ionising Radiation | Computer space
Theory / Desk-based | ü |  |  |  |  | ü
Experimental | ü | ü | ü
Experimental including chemicals | ü | ü | ü | ü
Experimental including radiation | ü | ü | ü |  | ü

## Hazards
Mechanical | Electrical | Biological Hazards | Radiation | Location | Other hazards
Abrasion | Arcing | Any biological work | Heat or UV | Falls from a height | Confined spaces
Crushing | Burns | Moulds, spores, fungi | Ionising radiation | Lighting conditions | Cryogenic gases
Cutting | Electrocution | Rodents | Lasers | Noise, vibrations | Dangerous (flammable)substances and explosive atmospheres
Entanglement | Explosion | Waterborne diseases when working outdoors | Microwaves/RF | Slips, trips and falls | Excavation
Impact | Falls, subsequent to shock |  |  | The working environment – hot, cold, humid | Experimental rigs
Trapping | Fire |  |  | Traffic hazards | Exposure to extreme temperatures
Also consider: lifting; tripping hazards; repetitive movements & the condition of the work environment. | Consider fault conditions; where you place the conductors; how the system has been configured, and by whom. |  |  |  | Falling objects, collapsing structures
Chemical |  |  |  |  | Lifting operations using lifting equipment
Allergies, dermatitis |  |  |  |  | Magnets and magnetism
Asphyxiation |  |  |  |  | Manual handling
Carcinogens or substances that can harm reproduction |  | Link to additional guidance |  |  | Pressure systems / gases and cylinders
Fire and explosion |  |  |  |  | Transport of dangerous substances
Toxicity, burns |  |  |  |  | Vibration
Look at the foreseeable routes of entry to the body; spillage and emergency action; waste disposal |  |  |  |  | Workplace transport

## Plan
Planning to carry out the project safely
The development of a safety plan allows the student to break down the project into smaller activities, which may or may not need to be included in the Other Risks assessment. This allows the student to capture details of where local rules may apply, and the requirements of those rules. This is intended to be living document and be amended as the project progresses and you become more aware of the scope of the project
A Risk Assessment is required to cover all parts of a student’s project work where there may be significant risks. Trivial risks do not have to be documented. Ensure that any controls are workable and adequate to control the risk. Review and update the assessment as the project progresses.
List the activities involved in the project | Risk assessment needed (Y/N)
Synthesing Fe3GeTe2 | Y
X-Ray Diffraction | Y
SQUID magnetometer | Y
What equipment / instrumentation is required to be used? | Training required (Y/N)
Powder X-ray diffraction | Y
SQUID magnetometer | Y
Tubular Furnace | Y
What training needs to be provided to ensure the project can be performed safely? | Trainer | Date of Training
Use of furnace | Superconductivity and Magnetism Group H&S pages | 2020-10-13
Handling of chemicals for crystal synthesis | Superconductivity and Magnetism Group H&S pages | 2020-10-13
Use of XRD equipment | Superconductivity and Magnetism Group H&S pages | 2020-10-13
Use of magnetometer | Superconductivity and Magnetism Group H&S pages | 2020-10-13
List any foreseeable emergency situations and ensure emergency arrangements are available. Ensure that these are reflected in the risk assessment
High heat from furnace (burns, fires, blindness)
Poisoning/chemical burns and irriation from handling chemicals
Radiation exposure from PXRD
As a result of the above, are there any specialist first aid requirements - ensure these are captured in the risk assessment

## General RA
Risk Assessment adapted from that of Sam Holt and Amelia Hall, and those for P122, P124, P128, P129, P130
|  |  | HELP |  | HELP
HAZARD TYPE | STEP | LIST TASK & HAZARDS | HAZARD SEVERITY | CONTROL MEASURES | LIKELIHOOD | ASSESSED RISK | OUTCOME | COMMENTS
MECHANICAL | 1 | Burns from the box and tube furnaces | 4-Major | Furnaces insulated from outside, correct tools must be used for removing samples. Lab coat, apron, face shield and protective gloves to be worn | 1-Unlikely | Low | Risk controls acceptable
| 2 | Glass and quartz ampuole breakage | 2-Minor | Take care handling glass and quartz. If broken, handle carefully, wear lab coat, gloves, and be careful not to inhale the gas in the ampuole | 1-Unlikely | Very low | Risk well controlled
| 3 | Grinding powder | 2-Minor | Wear a dust mask and safety glasses | 1-Unlikely | Very low | Risk well controlled
ELECTRICAL | 1 | Electrocution | 2-Minor | All laboratory devices to be PAT tested, care taken when using electrical applicances | 1-Unlikely | Very low | Risk well controlled
| 2 | Electrical Fires | 2-Minor | All Laboratory devices to be PAT tested, Awareness of fire control measures | 1-Unlikely | Very low | Risk well controlled
| 3 |  |  |  |  | #N/A | #N/A
BIOLOGICAL | 1 | Current COVID pandemic | 3-Serious | Stick to departmental guidelines, wear face covering and keep distant where possible, reduce number of people working together, hold meetings virtually if possible | 2-Possible | Low | Risk controls acceptable
| 2 |  |  |  |  | #N/A | #N/A
| 3 |  |  |  |  | #N/A | #N/A
IONISING RADIATION | 1 | Radiation exposure from PXRD | 2-Minor | Training before use. Ensure nothing is in beam path and the doors on the machine are closed. | 1-Unlikely | Very low | Risk well controlled
| 2 |  |  |  |  | #N/A | #N/A
| 3 |  |  |  |  | #N/A | #N/A
OTHER | 1 | Cryogenic Gases causing asphyxiation | 3-Serious | Keep in well ventilated spaces, ensure transport is not done in an enclosed space, | 1-Unlikely | Low | Risk controls acceptable
| 2 | Extreme Cold causing injuries | 2-Minor | Wear insulative gloves and a lab coat, be aware of keeping a tidy work area | 1-Unlikely | Very low | Risk well controlled
| 3 | Explosions from sealed cryogenic gases | 2-Minor | ensure never to seal a container of cryogenic gas, wear insulative gloves and a lab coat | 1-Unlikely | Very low | Risk well controlled
LOCATION | 1 | Tripping and falls | 1-Superficial | Keep a tidy work area, wear appropriate footwear | 1-Unlikely | Very low | Risk well controlled
| 2 |  |  |  |  | #N/A | #N/A
| 3 |  |  |  |  | #N/A | #N/A
CHEMICAL | 1 | Use of chemicals, cause poisoning, organ damage, severe damage to aquatic life, respiritory and skin irritation | 2-Minor | Training before use, wash hands, dispose of waste responsibly, wear gloves, goggles and a face mask | 1-Unlikely | Very low | Risk well controlled
| 2 |  |  |  |  | #N/A | #N/A
| 3 |  |  |  |  | #N/A | #N/A
RISK MATRIX BELOW
HELP - Control Measures |  | LIKELIHOOD | 1-Unlikely | 2-Possible | 3-Likely | 4-Very likely | 5-Highly likely | Severity of Injury | Cost | Interruption | Environmental
HELP - Matrix function | SEVERITY | 1-Superficial | Very low | Very low | Low | Low | Moderate | Minor cut, bruise | < £ 2K | < 1 hour | Minimal localised impact
|  | 2-Minor | Very low | Low | Low | Moderate | High | First aid treatment | £ 2K - 25K | 1 hour to 1 day | On site impact
Very low |  | 3-Serious | Low | Low | Moderate | High | Very high | Medical treatment | £ 25K - 100K | 1 day to 1week | Off site impact
Low |  | 4-Major | Low | Moderate | High | Very high | Very high | Hospitalisation | £ 100K - 1M | 1 to 6 weeks | Regional impact
Moderate |  | 5-Extreme | Moderate | High | Very high | Very high | Very high | Death, or life-changing injury | > £ 1M | > 6 weeks | National / International impact
High |  |  | Requires combination of events | Could occur, but rarely | Likely to occur | Expected to occur in most circumstances | Almost certain to occur
Very high
Severity | Likelihood | Risk
1-Superficial | 1-Unlikely | Very low
1-Superficial | 2-Possible | Very low
1-Superficial | 3-Likely | Low
1-Superficial | 4-Very likely | Low
1-Superficial | 5-Highly likely | Moderate
2-Minor | 1-Unlikely | Very low
2-Minor | 2-Possible | Low
2-Minor | 3-Likely | Low
2-Minor | 4-Very likely | Moderate
2-Minor | 5-Highly likely | High
3-Serious | 1-Unlikely | Low
3-Serious | 2-Possible | Low
3-Serious | 3-Likely | Moderate
3-Serious | 4-Very likely | High
3-Serious | 5-Highly likely | Very high
4-Major | 1-Unlikely | Low
4-Major | 2-Possible | Moderate
4-Major | 3-Likely | High
4-Major | 4-Very likely | Very high
4-Major | 5-Highly likely | Very high
5-Extreme | 1-Unlikely | Moderate
5-Extreme | 2-Possible | High
5-Extreme | 3-Likely | Very high
5-Extreme | 4-Very likely | Very high
5-Extreme | 5-Highly likely | Very high

## Chemicals
Use of Chemicals
Rows may be inserted or deleted as required
Chemical | Hazards (H-codes) | Amount used | Control Measures applied
Fe | H228, H251, H319, H400 |  | Keep under inert(argon) atmosphere, wear appropriate PPE, wash hands after contact, take care with disposal
Ge | H373, H400, H411 |  | wear appropriate PPE, wash hands after contact, take care with disposal
Te | H301, H317, H319, H332, H335, H360, H360D, H413 |  | wear appropriate PPE, wash hands after contact, take care with disposal
Iodine | H312, H332, H400 |  | wear appropriate PPE, wash hands after contact, take care with disposal, use in fume hood
Se | H301, H331, H373, H413 |  | wear appropriate PPE, wash hands after contact, take care with disposal

## Ionising Radiation
DEPARTMENT OF PHYSICS
Undergraduate Final Year Projects
Registration form for work with Ionising radiation
Student | Grady Beckett
University number | u1719937
Project Supervisor | Geetha Balakrishnan
Equipment to be used | XRD machine
I understand the rules for the use of sources of ionising radiation and I agree to abide by them. I will only use the equipment
specified above, and understand that to use any further equipment, even of the same type, requires specific approval from the
Departmental Radiation Protection Supervisor. I further acknowledge that I am aware that any breach of these Regulations
may result in permission to use sources of ionising radiation being withdrawn.
Signed
Date | 2020-10-13
Print out this form, sign it and take it to Dr Jonathan Duffy (MAS 4.03), who will arrange and check your training. Only once this
is complete, and the form signed below, may you commence working with radiation.
I certify that the above name person will work only in an open or supervised area on the equipment detailed above.
Signed |  | Group Radiation Protection Supervisor
Date | 2020-10-12
I hereby state that in my opinion that the above named person is capable of handling the sources of radiation named above
in a responsible manner and that he/she has been trained in their proper use.
Signed |  | Dr J Duffy
Date |  | Departmental Radiation Protection Supervisor

## Computer space
This checklist and information is intended to enable you to self assess your workstation |  | Yes
area and make suitable adjustments to minimise stress and strain on your body. |  | No
SETTING UP
Guidance about how to set up your workstation is given at
http://www2.warwick.ac.uk/services/healthsafetywellbeing/guidance/computerworkstations/setup/
Response
COMPUTER Screen
Are the characters clear and readable?
Is the text size comfortable to read?
Is the image stable, free from flicker?
Are the brightness and contrast appropriately adjusted?
Is the screen height, swivel and tilt adjustable?
Is the screen free of glare and reflections?
Are adjustable window coverings provided and in adequate condition?
COMPUTER Keyboard
Is it possible to find a comfortable keying position?
Can the wrists be rested in front of the keyboard?
Is the keyboard clean and free from glare?
Can the characters on the keys be read easily?
COMPUTER Mouse
Is the device suitable for the intended use?
Is the mouse positioned close to the keyboard?
Is there support for the device user's wrist and forearm?
Does the device work at a speed and accuracy which suits the user?
FURNITURE
Is the work surface large enough?
Is the work surface free of glare and reflections?
Can the user comfortably reach all of the equipment and papers which which they need to use?
Is the chair stable and adjustable?
Are the mechanisms in working order?
ENVIRONMENT
Is there enough room to change position and move?
Is the lighting level suitable?
Are the levels of heat and noise comfortable?
HEALTH Whilst using a computer at work, in the past year, has the operator suffered from any of the following:
Eye strain
Pain in the: back
elbows
fingers
neck
shoulders
wrists
If you have responded "Yes" to any of the Health questions, please contact the Health & Safety
Officer, John Horsler for advice : (j.horsler@warwick.ac.uk) or on 02476 573444, or in Room P 5.68

## Lists (hidden)
Very Low
Low
Action to be taken
Moderate
High
Very High