Risk Assessment Form

| Title of Risk Assessment | Small Flow Rig in P224 |  |  | Date of assessment |  | 10/10/25 |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Physics |  |  | Date review due |  | 10/10/26 |
| Description of Task/Process | This risk assessment is for the flow rig in P224. The rig consists of two tanks each with a 20L capacity. One tank is raised compared to the other, and water is fed into it using a submersible pump in the bottom tank. A section of test pipe returns water back to the bottom tank. Also fitted is an overflow pipe which sits at the top of the top tank and returns water to the bottom tank to prevent overflows and maintain a constant head of pressure. There is some expectation that the test pipe will be changed without fully draining the system, as defined in the standard operating procedure. |  |  |  |  |  |
| Assessment carried out by | Luke Smith |  |  |  |  |  |

| ##### Additional information | This rig is only to be operated by trained users who understand the control system and the safety precautions that need to be taken. The current list of trained users is: Steve Dixon Luke Smith Ben McHugh |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Electrocution | The user, anyone nearby | The main risk of electrocution during normal operation of the rig is from water entering the mains voltage electrical elements powering the pump. Exist8ing control measures are: - RCD protection on the building circuit - Grounding of the pump - Regular inspection of the pumps cable. | L |  |  | L |
| Slips, trips and falls | Any user of the room | Cables for meters under test to be run under the cable cover so that they are not a trip hazzard. Unused flow meters, sections of pipework, and other objects are to be stored in locations where they do not pose a trip hazard. Any water which leaks from the rig or is spilt during pipework changes etc must be mopped up immediately. The risk of water splashing or overflowing onto the floor is minimised by the use of a splash guard on the overflow at the bottom tank, and the overflow preventing the top tank from overflowing. Any continual leaks from the rig are to be fixed before continuing work. | L |  |  | L |
| Water-borne bacteria and viruses e.g legionella | Anyone in the vicinity whilst water is flowing | Water changes once a month are to be conducted, including wiping the insides of the tanks with an antibacterial cleaner. | VL |  |  | VL |
| General flood risk affecting neighbouring labs | Occupants of the labs nearby | Flood risk is limited via a set of precautions and detection mechanisms: - Shutdown procedure including closing all valves, which limits the amount of water released in the event of a leak - Startup checklist to ensure that rig is always checked for leaks prior to operation - Minimal quantity of water stored in the rig, if not using for extended periods it should be left drained. Flood risk is increased during pipework changes, particularly if this is done without draining the system. The standard operating procedure must be followed, and when performing pipework changes it is advisable to always have a bucket and white roll within arms reach to contain any water which comes out of the pipe section itself. | L |  |  | L |

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | L |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Approved By |  |  | Position |  |
| Date |  |  |  |  |

Please print a copy, sign it and keep for your records

Document History

| Version | Date | Reviewer | Comments |
| --- | --- | --- | --- |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.