EMERGENCY PROCEDURES – P424 VACUUM SYSTEMS

Unless you are an Expert User

DO NOTHING

to the vacuum systems.

If there is a MAJOR WATER LEAK shut off the water supply behind the blue electronics racks here:

CLOSE both the “In” and “Return” levers.

They are shown CLOSED in this photo.

EMERGENCY PROCEDURES – P422 VACUUM SYSTEMS

Unless you are an Expert User

DO NOTHING

to the vacuum systems.

If there is a MAJOR WATER LEAK shut off the water supply on the right side wall here:

CLOSE both the “In” and “Return” levers.

They are shown OPEN in this photo.

EMERGENCY PROCEDURES – P422 VACUUM SYSTEMS

Unless you are an Expert User

DO NOTHING

to the vacuum systems.

If there is a MAJOR WATER LEAK shut off the water supply on the left side wall here:

CLOSE all levers.

Parallel to wall = closed. Parallel to outlet pipes = open.