## Slide 1: Electron Paramagnetic Resonance and Dynamic Nuclear Polarisation CH916
Gavin W Morley,
Department of Physics,
University of Warwick

## Slide 2
Overview
Electron paramagnetic resonance
  What it is
  Why it’s useful
Dynamic nuclear polarization
  Why it’s useful
  What it is

## Slide 3
Overview
Electron paramagnetic resonance
  What it is
  Why it’s useful
Dynamic nuclear polarization
  Why it’s useful
  What it is
What does an EPR spectrum look like?
What is the resonant frequency for EPR?
Which things have an EPR signal?

## Slide 4
Overview
Electron paramagnetic resonance
  What it is
  …NMR for electrons

## Slide 5
Electron paramagnetic resonance (EPR)
… or electron spin resonance (ESR)
… or electron magnetic resonance (EMR)
… or ferromagnetic resonance (FMR)

## Slide 6
Magnetism
Electron spins tend to:
Paramagnetism: follow
Diamagnetism: oppose
Ferromagnetism: ignore
…an applied magnetic field

## Slide 7
From Steven Brown’s NMR lecture:

## Slide 8
Magnetic resonance
Isidor Isaac Rabi (1898 – 1988)
Energy of a spin ½
Photon energy
Magnetic field
An isolated spin I = ½ has m = ±½
m = +½
m = -½

## Slide 9
Magnetic resonance
Isidor Isaac Rabi (1898 – 1988)
Energy of a spin ½
Photon energy
Magnetic field
m = +½
m = -½

## Slide 10
Magnetic resonance
Isidor Isaac Rabi (1898 – 1988)
Energy of a spin ½
Magnetic field
Photon energy
Magnetic field
Photons reflected
m = +½
m = -½

## Slide 11
Magnetic resonance
Isidor Isaac Rabi (1898 – 1988)
Energy of a spin ½
Magnetic field
Photon energy
Magnetic field
Photons reflected
m = +½
m = -½

## Slide 12
Magnetic resonance
Isidor Isaac Rabi (1898 – 1988)
Energy of a spin ½
Magnetic field
Photon energy
Magnetic field
Photons reflected
m = +½
m = -½

## Slide 13
Magnetic resonance
Energy of a spin S = ½
Magnetic field, Bz
Magnetic field, Bz
Photons reflected
Energy gap |ΔE| = g μB Bz
g is the EPR equivalent of chemical shielding in NMR,
µB is the Bohr magneton
Pieter Zeeman (1865 - 1943)
Notes: Zeeman effect

## Slide 14
Magnetic resonance condition
Energy of a spin S = ½
Magnetic field, Bz
Magnetic field, Bz
Photons reflected
Energy gap |ΔE| = g μB Bz = hvres
= ħωres
Notes: Zeeman effect

## Slide 15
Magnetic field, Bz
Photons reflected
Electron paramagnetic resonance
J van Tol, L-C Brunel & RJ Wylde, Rev Sci Instrum 76, 076101 (2005)
Bruker
fres = 10 GHz
fres = 240 GHz

## Slide 16
Electron paramagnetic resonance
Energy of a spin system
Magnetic field, Bz
Magnetic field, Bz
Photons reflected
S = ½
ms = ±½
I = ½
mI = ±½ (= m)
Energy gap |ΔE| = g μB Bz
Notes: mu_N is the nuclear magneton and it is ~1000 times smaller than mu_B

## Slide 17
Electron paramagnetic resonance
Energy of a spin system
Magnetic field, Bz
Magnetic field, Bz
Photons reflected
Energy gap |ΔE| = g μB Bz
S = ½
ms = ±½
I = ½
mI = ±½ (= m)

## Slide 18
Energy of a spin system
Magnetic field, Bz
Photons reflected
A
mI = ½ mI = -½
Magnetic field, Bz
Electron paramagnetic resonance
S = ½
ms = ±½
I = ½
mI = ±½ (= m)
Energy gap |ΔE| = g μB Bz ± A/2
A is the HYPERFINE COUPLING

## Slide 19
Photons reflected
A
Magnetic field, Bz
TEMPO
£20/g from Aldrich
J van Tol, L-C Brunel & RJ Wylde, Rev Sci Instrum 76, 076101 (2005)
Electron paramagnetic resonance
Stable free radicals:
BDPA
Nitroxides
DPPH
mI = ½ mI = -½

## Slide 20
Photons absorbed
A
Magnetic field, Bz
TEMPO
£20/g from Aldrich
J van Tol, L-C Brunel & RJ Wylde, Rev Sci Instrum 76, 076101 (2005)
Electron paramagnetic resonance
mI = ½ mI = -½

## Slide 21
Photons absorbed
A
Magnetic field, Bz
TEMPO
£20/g from Aldrich
J van Tol, L-C Brunel & RJ Wylde, Rev Sci Instrum 76, 076101 (2005)
Electron paramagnetic resonance
mI = 1 mI = 0 mI = -1

## Slide 22
Magnetic field, B
Electron paramagnetic resonance
Magnetic field modulation
(~10 to 100 kHz)
Advantage: noise only at
modulation frequency
Photons absorbed
Differential
absorption
mI = 1 mI = 0 mI = -1

## Slide 23
Differentialabsorption
Magnetic field, B
TEMPO
£20/g from Aldrich
J van Tol, L-C Brunel & RJ Wylde, Rev Sci Instrum 76, 076101 (2005)
Electron paramagnetic resonance
A
mI = 1 mI = 0 mI = -1

## Slide 24
Differentialabsorption
Magnetic field, B
TEMPO
£20/g from Aldrich
J van Tol, L-C Brunel & RJ Wylde, Rev Sci Instrum 76, 076101 (2005)
Electron paramagnetic resonance
mI = 1 mI = 0 mI = -1

## Slide 25
Electron paramagnetic resonance
spectrometer
Console
Computer
Electromagnet (up to 1.5 T) or superconducting magnet for higher field
S
Microwave bridge

## Slide 26
Electron paramagnetic resonance
spectrometer
S
Bridge
source
detector
Microwave resonator
Modulation coils

## Slide 27
Electron paramagnetic resonance
spectrometer
S
Bridge
source
detector
Microwave resonator
Modulation coils

## Slide 28
Electron paramagnetic resonance
spectrometer
S
Bridge
source
detector
Microwave resonator
Modulation coils

## Slide 29
Electron paramagnetic resonance
spectrometer
CW EPR so far…
Pulsed EPR next

## Slide 30
Pulsed electron paramagnetic resonance spectrometer
S
Bridge
High power pulsed source
Protected detector
Microwave resonator
Modulation coils off

## Slide 31
Pulsed electron paramagnetic resonance

## Slide 32
Pulsed electron paramagnetic resonance
Bres
resonance condition g mB Bres = h f
f
p/2
Free induction decay (FID) on timescale T2*
Polarize (thermalize) on timescale T1

## Slide 33
Pulsed EPR
f
p/2
J van Tol, L-C Brunel & RJ Wylde, Rev Sci Instrum 76, 076101 (2005)
~100 MHz width
Pulse width < 500 MHz
Resonator ringing  deadtime
Short T2 and T2* compared to NMR
Homogeneous (T2) can be much longer than inhomogeneous (T2*) so most pulsed EPR uses spin echo

## Slide 34: The rotating frame of reference
Larmor precession

## Slide 35: The rotating frame of reference
Larmor precession

## Slide 36: The rotating frame of reference
Larmor precession

## Slide 37
Rotating frame

## Slide 38
Spin echo
In rotating frame

## Slide 39
Spin echo
In rotating frame

## Slide 40
Spin echo decay
Erwin L Hahn (born 1921) Photo: AIP Emilio Segre Visual Archives, Stephen Jacobs Collection

## Slide 41
Spin echo decay
Erwin L Hahn (1921-2016) Photo: AIP Emilio Segre Visual Archives, Stephen Jacobs Collection
Notes: Hahn echo

## Slide 42
Pulsed EPR
Double electron-electron resonance (DEER) allows distances between two electron spins in the range 2 to 6 nm to be measured (cf < 1 nm by NMR for two nuclear spins)
Dipolar coupling α 1/r3
Site directed spin labelling with
one or more TEMPO

## Slide 43
Energy of a spin system
Magnetic field, Bz
Photons reflected
A
Magnetic field, Bz
Electron nuclear double resonance (ENDOR)
mI = ½ mI = -½
S = ½
ms = ±½
I = ½
mI = ±½ (= m)
Energy gap |ΔE| = g μB Bz ± A/2

## Slide 44
Electron nuclear double resonance (ENDOR)
Why do ENDOR instead of NMR?
only need ~1010 spins instead of ~1015
NMR may be difficult near the electron spin
Energy of a spin system
Magnetic field, Bz
Energy gap |ΔE| = g μB Bz ± A/2

## Slide 45
Electron nuclear double resonance (ENDOR)
B0 is static magnetic field
B1 is EPR magnetic field
B2 is NMR magnetic field
Energy of a spin system
Magnetic field, B0
Energy gap |ΔE| = g μB B0 ± A/2

## Slide 46
ENDOR for quantum computing
Classical Quantum
computer computer
Bits Qubits
0 or 1 α 0 + β 1
Notes: A normal computer stores information as bits that can be 1 or 0. A quantum computer uses qubits: two level quantum systems such as spins 1/2

## Slide 47
Spin qubits in diamond

## Slide 48
EPR applications
  Studying biomolecules
  Quality control in beer, wine etc
  Radiation dose received by teeth
What does an EPR spectrum look like?
What is the resonant frequency for EPR?
Which things have an EPR signal?

## Slide 49
Overview
Electron paramagnetic resonance
  What it is
  Why it’s useful
Dynamic nuclear polarization
  Why it’s useful
  What it is

## Slide 50
Dynamic nuclear polarization (DNP)
Dynamic nuclear polarization
  More signal

## Slide 51
Dynamic nuclear polarization (DNP)
Define polarization as:
n2
n1
ΔE
Thermal (Boltzmann) equilibrium:

## Slide 52
Dynamic nuclear polarization (DNP)
Boltzmann polarization:
So transfer electronic
polarization to nuclei

## Slide 53
Electron paramagnetic resonance
Energy of a spin system
Magnetic field, Bz
Magnetic field, Bz
Photons reflected
Energy gap |ΔE| = g μB Bz
S = ½
ms = ±½
I = ½
mI = ±½ (= m)
Notes: Show these energy levels again

## Slide 54
Energy of a spin system
Magnetic field, Bz
Photons reflected
A
mI = ½ mI = -½
Magnetic field, Bz
Electron paramagnetic resonance
S = ½
ms = ±½
I = ½
mI = ±½ (= m)
Energy gap |ΔE| = g μB Bz ± A/2
Notes: …including the hyperfine term, and then redraw the energy levels at some fixed magnetic field

## Slide 55
Dynamic nuclear polarization (DNP)
Initial polarizations:
Electrons > 95%
Nuclei < 0.1%
For 8.6 T and 3 K
Notes: At 8.6T and 3K, electronic polarization is 95% and nuclear polarization is 0.06%.

## Slide 56
Dynamic nuclear polarization (DNP)
Nuclear magnetic resonance (NMR)

## Slide 57
Dynamic nuclear polarization (DNP)
Electron paramagnetic resonance (EPR)

## Slide 58
Dynamic nuclear polarization (DNP)
Forbidden transition
 Overhauser Effect
Electron paramagnetic resonance (EPR)

## Slide 59
Magnetic resonance
Energy of a spin system
Magnetic field, Bz
Magnetic field, Bz
Photons reflected
Energy gap |ΔE| = g μB Bz
S = ½
ms = ±½
I = ½
mI = ±½ (= m)

## Slide 60
Breit-Rabi diagram
Energy of a spin system
Magnetic field, Bz
Magnetic field, Bz
Photons reflected
A
Gregory Breit (1899-1981)
mI = ½ mI = -½
Energy gap |ΔE| ≈ g μB Bz ± A/2
...in high enough magnetic fields
Notes: Breit-Rabi diagram

## Slide 61
Breit-Rabi diagram
Energy of a spin system
Magnetic field, Bz
Triplet, F = 1: ↑↑
(↑↓ + ↓↑)/√2
↓↓
Singlet, F = 0: (↑↓ - ↓↑)/√2
For a coupled two-spin system at low magnetic field, the spin states of the two spins are not good quantum numbers. Instead:
Energy gap |ΔE| = A
...at zero magnetic field
A

## Slide 62
Dynamic nuclear polarization (DNP)
more Forbidden
at high magnetic fields
Electron paramagnetic resonance (EPR)

## Slide 63
Dynamic nuclear polarization (DNP)
also gets weaker at high magnetic fields
Solid effect DNP

## Slide 64
Dynamic nuclear polarization (DNP)
also gets weaker at high magnetic fields
Solid effect DNP

## Slide 65
Dynamic nuclear polarization (DNP)
also get weaker at high magnetic fields
Cross effect Thermal Mixing
e-
e-
n
e-
e-
n
e-
e-
n
n

## Slide 66
Dynamic nuclear polarization (DNP)
Ray Dupree, Steven Brown, Mark Newton, Kevin Pike, Andrew Howes, Tom Kemp, Mark Smith at Warwick,
see KJ Pike et al, J Mag Res 215, 1 (2012), also Griffin Group (MIT)

## Slide 67
Dynamic nuclear polarization (DNP)
Ray Dupree, Steven Brown, Mark Newton, Kevin Pike, Andrew Howes, Tom Kemp, Mark Smith at Warwick,
see KJ Pike et al, J Mag Res 215, 1 (2012)

## Slide 68
Solid-state DNP
Commercial solid-state DNP-NMR:
400-900 MHz NMR
200x signal enhancement -> 2002 quicker scans

## Slide 69
Liquid-state DNP
Temperature jump
plus
gain x50 from DNP
and x200 from temp
x10,000 total
See Ardenkjaer-Larsen et al, PNAS 100, 10158 (2003)

## Slide 70
Liquid-state DNP
Temperature jump with dissolution
plus
Arnaud Comment and Rolf Gruetter, Lausanne

## Slide 71
Parahydrogen-induced polarization (PHIP) for liquid-state NMR
Hydrogen at low temperatures becomes almost pure parahydrogen
Image by Xaa (Jim Farris)

## Slide 72
Review: F. Reineri, E. Cavallari, C. Carrera & S. Aime, Magn. Reson. Mater. Phys., Biol. Med. 34, 25 (2021).
Parahydrogen-induced polarization (PHIP) for liquid-state NMR

## Slide 73
A company (eg NVision) creates parahydrogen and ships it to users. It stays stable for months.
Polarization is transferred to a natural metabolite by catalytically adding parahydrogen to a precursor.
After purification, the hyperpolarized metabolite (eg pyruvate) is ready to be injected.
Do MRI to image the metabolism.
Parahydrogen-induced polarization (PHIP) for liquid-state NMR

## Slide 74
Conclusion
Electron paramagnetic resonance
  What it is
  Why it’s useful
Dynamic nuclear polarization
  Why it’s useful
  What it is