Risk Assessment Form

| Title of Risk Assessment | WBS MBA Syndicate Rooms |  | Date of assessment | November 2024 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Warwick Business School (WBS) |  | Date review due | November 2025 |  |  |
| Description of Task/Process | Student study spaces/group work spaces. The MBA programme is delivered with face to face teaching and the syndicate rooms are utilised as part of teaching sessions. |  |  |  |  |  |
| Assessment carried out by | Emily Foster (Facilities Coordinator) & the Facilities Team Reviewed & updated by Christina Compton (Building & Facilities Manager) |  |  |  |  |  |

| ##### Additional information | This is a ‘blueprint’ risk assessment so it needs to be tailored to your specific space as several proposed mitigations are given. These have been put in priority order following the recognised health and safety hierarchy of control. It is expected that you will require a number of these to work for your space and style of teaching delivery. Any additional hazards present connected with the activity, the materials used, the people involved, or the environment should be covered by a separate risk assessment (to be read in conjunction with this one). Teaching Staff are defined as the people providing the face to face teaching or who is engaging the group in discussion. Teaching Head / Programme Lead are defined those who have responsibility for the teaching programme. They must discuss this risk assessment in advance of the start of term with those who are involved in the teaching of that programme and refer also to the Blueprint Risk Assessment which has other relevant information for staff. Attendees are defined as those who are seated on the flat floor lecture space or seminar room. This could be made up of students, visitors, conference attendees, members of the public etc. All lecture and seminar spaces will be pre-booked in advance. Whilst each space will vary in size/shape, all will fall within the scope of this risk assessment. A variety of teaching styles have been considered. |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Prolonged Sitting at a Desk - Repetitive strain injury. - Muscle and joint issues. | Staff members | - All new staff must fill in the Computer Self-Assessment Form to make sure their desks and chairs are set-up correctly. - Breaks from sitting are encouraged, including stretching both at and away from the desk. - Foot-rests are available on request. - Adjustable, swivel chairs as standard. - No large, bulky items to be stored under desks as it reduces leg space. | M | Training & induction information provided to reduce occurrence | Line Managers & Trainers | Low |
| Slips, Trips and Falls - Uneven floor surface. - Unsecure carpet. - Poor lighting. - Bad housekeeping. - Stairs. - Personal property left next to desks (e.g. bags). - Large items left in walkways (e.g. boxes, books). - Trailing cables from electrical equipment. All of the above could result in mild to severe injuries including, dislocated, fractured, or broken bones, head injuries such as concussion, sprains, cuts and bruises | All users of the space | - All staff and students are made aware that personal belongings should be stored under their chairs, not in walkways. - Floor coverings are maintained in good condition. - No boxes or bulky items are be left in walkways. If they are, they are moved immediately. - No trailing cables across walkways- cable cover available). - All stairs have handrails. - Uneven floor surface or damaged carpet is reported to the facilities helpdesk. The facilities team will make safe before arranging a permanent fix if needed. - Positive reporting culture. - Lighting is kept in good condition, any bulbs not working are reported to facilities straight away. - Facilities will undertake routine visual checks of all spaces within WBS. - Facilities and Estates Teams undertake regular checks in all buildings, reporting and fixing any issues. Wet floor signs used after cleaning spills. | Low |  |  |  |
| Use of Electrical Equipment - Electric shocks and burns from exposure to live electricity. - Fire or explosion from faulty equipment or static electricity. - Overloading of sockets and outlets which causes fire or injury. The spilling of liquid onto electrical equipment. | Staff members | - All electrical equipment is PAT tested every two-years to check for issues or defects. - Equipment, cables and plugs in good state of repair. - Circuit breakers in place. - Any additional equipment to be set up by competent staff. - Visual check prior to use, isolate and report defective equipment. - If a piece of equipment is thought to be broken, staff are instructed to stop using it and report the issues to the e-solution helpdesk. - Regular checks and maintenance of all Audio- Visual equipment by E – Solutions and Facilities. - Culture of reporting maintenance issues by all WBS staff to WBS Facilities. - All extension cords are PAT tested every two-years. - All University staff have health and Safety training as part of their induction and any faults are reported on an ongoing basis. - Multi-way plug adaptors are not permitted within office spaces as they are easy to overload. - All electrical equipment is kept away from drinks and liquids. If a spillage was to occur, it would be cleaned up quickly. |  |  |  |  |
| Improper Lighting - Eye strain from looking at a screen in a low-light condition. - Glare from light sources on screens. - Headaches/Migraines. - Unable to see hazards, leading to slips, trips and falls. | All space users | - All ceiling lights are on a sensor so they are brighter when it’s dark outside and vice-versa. - All faults or issues with lights are reported to the facilities helpdesk to be rectified as quickly as possible. - All computer screens have adjustable brightness to reduce eye-strain. | Low |  |  |  |
| Exceeding Room Capacity - Delay in safe evacuation from the room(s). Insufficient to undertake activities and to use the room(s) safely. | All users of the space | - Capacity of room(s) established prior to timetabling and adhered to. - Any potential change of use or desired increase in occupancy checked prior to proceeding. | Low |  |  |  |
| Fire; heat, flames, smoke, toxic fumes and oxygen depletion. | All building users | Smoking is prohibited on site. Fire exits kept clear at all times. Fire detectors and fire alarm system in place. Fire alarms are checked weekly. Evacuation procedure displayed in all meeting rooms. Fire safety signage in place. Fire extinguishers checked on regular basis. All building users to leave the building upon hearing the fire alarm sounding. Building users to evacuate and disperse away from the building. University Fire Safety information for Main Campus response information can be found from this page: http://www2.warwick.ac.uk/services/healthsafetywellbeing/guidance/fire/ - Fire risk assessment by University. | Low |  |  |  |
| Faulty furniture could lead to accidents and injuries (bruises, cuts, falls) | All building users | - Facilities Team carry out regular furniture and space checks in WBS. Faulty furniture is fixed, removed or replaced where necessary. All furniture is requested and ordered via Estates Furniture team to ensure compliance with University and government safety guidance. | Low |  |  |  |
| Environmental hazards, e.g. noise, poor ventilation, extreme high/low temperatures that could make rooms uncomfortable and cause health issues in vulnerable people. | All building users | WBS has heating/cooling on BMS which is controlled centrally by Estates. Most rooms and spaces have windows which are able to be opened. Facilities and Estates teams undertake regular checks for environmental hazard issues such as broken windows, heating/cooling not working, etc. Temporary measures are available where faults exist – temporary heaters/fans for example. - Building Manager and WBS Facilities arrange maintenance to limit disruption around the school. Where noise issues may occur, measures are taken to notify staff/students affected, and where possible, events and teaching moved to alternative rooms. | Low |  |  |  |

Emergency, Fire and First Aid Provisions

- Have you considered any high risk activities which need particular First Aid or Fire Safety arrangements? If you are concerned about first aid cover or fire safety contact the Health and the Safety Helpdesk: HealthSafetyHelpDesk@warwick.ac.uk

- Community Safety will be able to provide emergency First Aid support, and departments should make requisite provision for a number of first aiders in their areas as defined by the University’s First Aid Policy.

- WBS has nominated first aid responders to deal with incidents. First aid details and contact points are available on the School’s intranet for staff and students.

- Reception and Facilities staff are adept at dealing with requests for first aid by raising a call to trained first aiders/Community Safety.

- For emergency situations the University Community Safety team should be contacted: 024 7652 2222. This will be published for all staff and students on the intranet and information disseminated to Sections and Groups.

- In the case of an emergency fire evacuation, encourage all members of staff to act as Fire/ Evacuation Wardens. They can complete the Fire Warden training module available on Moodle (available using the Fire Warden link). They need to know how to flag any concerns relating to fire safety to the Health and Safety Helpdesk.

Guidance to Staff

- Managers are requested to brief their teams about risk assessment and safety operating procedures.

- Guidance and advice on University guidance is publicised to staff through managers and through internal communication channels such as inbox insite. Documented guidance in the form of a ‘Safety Operating Procedure’ (SOP) is available to all staff and students, and is publicly available. Key messages are cascaded through Section Heads, HoGs, Programme Teams and line managers.

- Individuals should initially discuss concerns with line managers/ Programme Teams who will consider this in collaboration with WBS HR colleagues where appropriate. If staff are unsure or feel that the control measures are not adequate, or are not working, they should discuss with their manager or supervisor in the first instance. If necessary, they can escalate concerns to their Health and Safety Representative and/or their Health and Safety Office/Adviser or the H&S Helpdesk. Remember: there is nothing so important that it cannot be done safely.

- The measures necessary to minimise the risk of accident or injury rely on everyone taking responsibility for their own actions and behaviours. All managers should encourage an open and collaborative approach, where any issues can be openly discussed and addressed.

- Departments should carry out regular reviews of this risk assessment and arrangements with appropriate staff consultation. Line Managers should also refer to and follow any relevant HR, Organisational Development, and H&S guidance.

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | Low |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  |
| --- | --- |

| Approved By | C. Compton |  | Position | Building & Facilities Manager |
| --- | --- | --- | --- | --- |
| Date | 15/11/2024 |  |  |  |

Please print a copy, sign it and keep for your records

Document History

| Version | Date | Reviewer | Comments |
| --- | --- | --- | --- |
| V1 | 01/2023 | Emily Foster |  |
| V2 | 15/11/2024 | C. Compton | Reviewed & updated |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.