Risk Assessment Form

| Title of Risk Assessment | Events held in Communal Areas across WBS |  |  | Date of assessment |  | Jan 2023 |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Academic Services - Facilities |  |  | Date review due |  | Jan 2024 |
| Description of Task/Process | Risk assessment for events held in communal areas such as atrium areas (i.e the south foyer area of WBS). Risks that could be posed to users and how we mitigate against them. |  |  |  |  |  |
| Assessment carried out by | Emily Foster |

| ##### Additional information | This is a ‘blueprint’ risk assessment so it needs to be tailored to your specific space as several proposed mitigations are given. These have been put in priority order following the recognised health and safety hierarchy of control. It is expected that you will require a number of these to work for your space and style of teaching delivery. Any additional hazards present connected with the activity, the materials used, the people involved, or the environment should be covered by a separate risk assessment (to be read in conjunction with this one). Teaching Staff are defined as the people providing the face-to-face teaching or who is engaging the group in discussion. Teaching Head / Programme Lead are defined those who have responsibility for the teaching programme. They must discuss this risk assessment in advance of the start of term with those who are involved in the teaching of that programme and refer also to the Blueprint Risk Assessment which has other relevant information for staff. Attendees are defined as those who are seated on the flat floor lecture space or seminar room. This could be made up of students, visitors, conference attendees, members of the public etc. All lecture and seminar spaces will be pre-booked in advance. Whilst each space will vary in size/shape, all will fall within the scope of this risk assessment. A variety of teaching styles have been considered. |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Fire; heat, flames, smoke, toxic fumes and oxygen depletion. | All building users | Fire exits kept clear at all times. Fire detectors and fire alarm system in place. Fire alarms are checked weekly. Evacuation procedure displayed in all meeting rooms. Fire safety signage in place. Fire extinguishers checked on regular basis. Fire Assembly point (in a safe place external to the building). All building users to leave the building upon hearing the fire alarm sounding. University Fire Safety information for Main Campus response information can be found from this page: http://www2.warwick.ac.uk/services/healthsafetywellbeing/guidance/fire/ Fire risk assessment by University. | Severity: Major Likelihood: Unlikely Risk: Low | Persons wishing to use a WBS space must approach WBS for access. Room/space booking requests are raised via WBS room bookings and external events are authorised by the Building Manager. Manager of the event to provide users with Emergency Evacuation information during meet and greet. Manager of the event to ensure that any materials brought into the building do not block or inhibit free movement of persons using the building. A Facilities request should be made for assistance with event setups and to ensure the safe installation of furniture/equipment. Users of the space to take control in an emergency and to ensure emergency evacuation procedures are followed. If a large group is using a building, then the manager of the event must ensure fire safety information is given to those helping with the event. | Space/room usage controlled by WBS. From relevant group above prior to the event. At start of event Person in control of the event must take charge and ensure other helpers are made aware. Manager of the event if the fire alarm sounds | Severity: Major Likelihood: Unlikely Risk: Low |
| Fire; heat, flames, smoke, toxic fumes and oxygen depletion | Persons with disabilities | As previous Persons with disabilities may have difficulties in evacuating a building without using a lift. The lift must not be used in an emergency. There are evacuation chairs available for use in WBS. (Evacuation chair to be utilised by trained WBS or Security staff upon determining that an evacuation is required). | Severity: Extreme Likelihood: Unlikely Risk: Low | Attendees of events should be encouraged to declare any disability to the manager of the event that could make it more difficult to leave the building in an emergency. If the event is being managed by the University a member of staff would be allocated to the area at all times if required by the personal evacuation plan. If there is no University staff presence, then the person managing the event must encourage persons to make direct contact with them if they could have a difficulty. If disabilities are declared and assistance could be required to assist in evacuation University Security to be made aware (02476 522083) | Responsibility of Manager of the event. | Severity: Major Likelihood: Unlikely Risk: Low Low |
| Electrocution; from use of electrical appliances. | Users of electrical equipment | Equipment, cables and plugs in good state of repair. Equipment PAT tested on an annual basis. Any additional equipment to be set up by competent staff. Ongoing maintenance of all University electrical equipment. Regular checks of all Audio Visual equipment by E – Solutions and Facilities. Culture of reporting maintenance issues by all WBS staff to WBS Facilities. Visual check prior to use, isolate and report defective equipment. All University staff have health and Safety training as part of their induction and any faults are reported on an ongoing basis. | Severity: Serious Likelihood: Possible Risk: Low | If users of a space wish to bring in their own electrical appliances, then ideally they should have them portable appliance tested (PAT) prior to their use. Daily visual checks. Building Manager and Facilities to have oversight of building and to undertake checks. For defects related to University electrical equipment or electrical infrastructure, this must be reported to the Estates Service desk Users of a space to report any AV issues directly to E - Solutions. Signs are usually posted on the walls with contact details. Users of a space to report any IT issues to IT Services/E - Solutions. | Regular checks carried out by Estates Office and Facilities Teams. Audio visual maintenance carried out by E - Solutions. | Severity: Serious Likelihood: Possible Risk: Low |
| Lack of First Aider to respond to an accident; injuries e.g. cuts, burns etc. | Attendees of an event and building users | Outside term time or regular working hours there might be no immediate First Aid facilities or trained First Aiders within WBS, so any event must provide their own First Aiders and First Aid box if their risk assessment indicates that immediate first aid support could be required. University Security staff are trained in First Aid and could be able to provide first aid support in an emergency but they may not be immediately available. To contact them in an emergency call 02476 522222. | Severity: Minor Likelihood: Possible Risk: Low (but depends very much on the risks associated with the event) | When booking an event, seek advice on First Aid provision that may be available at the booking stage. Manager of the event may need to identify staff who are First Aid trained if their risk assessment requires an immediate response and this cannot be guaranteed by the University. Manager of the event must inform all those supporting delivery of the event of the First Aid arrangements and how to summon help if required. | Manager of the event to determine at booking stage. Manager of the event prior to the event taking place (at planning stage) Manager of the event during pre-start event brief. | Severity: Minor Likelihood: Possible Risk: Low |
| Poor layout of furniture or obstacles preventing ease of movement around an area may hinder evacuation or cause Slips, trips and falls, along with uneven, wet, unsafe floor coverings and stairs. | All building users | Floor coverings are maintained in good condition. Stairs have handrails and are free from damage. Positive reporting culture. Visual check prior to use of building by manager of event. Facilities will undertake routine visual checks of all spaces within WBS. Facilities and Estates Teams undertake regular checks in all buildings, reporting and fixing any issues. | Severity: Serious Likelihood: Possible Risk: Low | If the event will require the introduction of equipment, cabling, banners etc., then these must be positioned in a way as not to pose a slip, trip or fall hazard. Manager of the event to ensure that spills of any liquids are mopped up promptly. Cleaning staff/ WBS Facilities are on site to assist with any spillages and cleaning requirements. | Estates Cleaning staff, and Facilities will ensure space is free of slip, trip and fall hazards. Manager of the event to brief those helping with the event to know what to do to keep the space free of slip, trip and fall hazards prior to the event. | Severity: Serious Likelihood: Possible Risk: Low |
| Poor food quality or lack of hygiene or food allergen; food poisoning, allergic reactions to particular food allergens from cross-contamination or delivery of particular food without awareness of allergies. | Attendees to event who consume the food served on the premises | University catering outlets and University caterers are subject to food safety and food allergen inspections by the Health and Safety Department and by the local Environmental Health Officer. Those serving food at the University are trained in food safety and food allergens. Food allergy information is displayed or will require persons to ask for food allergy information. The University will also ensure that any transported food is temperature controlled where applicable. The University has Food Safety information available for reference. | Severity: Serious Likelihood: Possible Risk: Low | If the manager of the event wishes to bring in their own food, see information relating to External Caterer’s on the University Health and Safety webpages. Further information relating to Charity Cake Sales is also available from the Health and Safety webpages. | If University Caterers are to be used, manager of the event is to provide relevant food allergen advice relating to Any known visitors so that appropriate provisions can be made. Manager of event to otherwise refer to External Caterer’s webpage and to check what facilities will be available to use at time of booking. | Severity: Serious Likelihood: Possible Risk: Low |
| Over capacity of individuals using a space slow down the evacuation of a building in a fire alarm situation. It can also lead to other issues such as injury from being crushed in a panicked stampede to evacuate. | All users of the space | A maximum capacity policy is in place for rooms and spaces across WBS. Attendee numbers should be given at the booking stage. (If exact numbers not known, then a rough estimate) | Severity: Serious Likelihood: Possible Risk: Low |  |  | Severity: Serious Likelihood: Possible Risk: Low |
| Faulty furniture could lead to accidents and injuries (bruises, cuts, falls) | All building users | Facilities Team carry out regular furniture and space checks in WBS. Faulty furniture is fixed, removed or replaced where necessary. All furniture is requested and ordered via Estates Furniture team to ensure compliance with University and government safety guidance. | Severity: Serious Likelihood: Possible Risk: Low |  |  | Severity: Serious Likelihood: Possible Risk: Low |
| Lack of emergency lighting (after a power failure) which would make it difficult to evacuate a building. | All building users | Emergency lighting is installed in WBS. This lighting is subject to statutory testing and maintenance to ensure they will automatically illuminate upon general lighting failure/power cut. Should the emergency lighting fail at any time, the University will instigate an emergency response to determine whether it remains safe to occupy a building / particular areas of a building. Facilities and Estates Teams undertake regular lighting checks in all buildings, reporting and fixing any issues. | Severity: Serious Likelihood: Possible Risk: Low |  |  | Severity: Serious Likelihood: Possible Risk: Low |
| Environmental hazards, e.g. noise, poor ventilation, extreme high/low temperatures that could make rooms uncomfortable and cause health issues in vulnerable people. | All building users | WBS has heating/cooling on BMS which is controlled centrally by Estates. Most rooms and spaces have windows which are able to be opened. Facilities and Estates teams undertake regular checks for environmental hazard issues such as broken windows, heating/cooling not working, etc. Temporary measures are available where faults exist – temporary heaters/fans for example. Building Manager and WBS Facilities arrange maintenance to limit disruption around the school. Where noise issues may occur, measures are taken to notify staff/students affected, and where possible, events and teaching moved to alternative rooms. | Severity: Serious Likelihood: Possible Risk: Low |  |  | Severity: Serious Likelihood: Possible Risk: Low |
| Faulty Fire Doors can lead to fire spreading in or out of rooms quickly in a fire situation. | All building users | Facilities and Estates teams undertake regular checks of fire doors. Issues are reported to and fixed by University Estates team. | Severity: Serious Likelihood: Possible Risk: Low |  |  | Severity: Serious Likelihood: Possible Risk: Low |

Guidance to Staff

- Managers are requested to brief their teams about risk assessment and safety operating procedures.

- Guidance and advice on University guidance is publicised to staff through managers and through internal communication channels such as inbox insite. Documented guidance in the form of a ‘Safety Operating Procedure’ (SOP) is available to all staff and students, and is publicly available. Key messages are cascaded through Section Heads, HoGs, Programme Teams and line managers.

- Individuals should initially discuss concerns with line managers/ Programme Teams who will consider this in collaboration with WBS HR colleagues where appropriate. If staff are unsure or feel that the control measures are not adequate, or are not working, they should discuss with their manager or supervisor in the first instance. If necessary, they can escalate concerns to their Health and Safety Representative and/or their Health and Safety Office/Adviser or the H&S Helpdesk. Remember: there is nothing so important that it cannot be done safely.

- The measures necessary to minimise the risk of accident or injury rely on everyone taking responsibility for their own actions and behaviours. All managers should encourage an open and collaborative approach, where any issues can be openly discussed and addressed.

- Departments should carry out regular reviews of this risk assessment and arrangements with appropriate staff consultation. Line Managers should also refer to and follow any relevant HR, Organisational Development, and H&S guidance.

Emergency, Fire and First Aid Provisions

- Have you considered any high risk activities which need particular First Aid or Fire Safety arrangements? If you are concerned about first aid cover or fire safety contact the Health and the Safety Helpdesk: HealthSafetyHelpDesk@warwick.ac.uk

- Security will be able to provide emergency First Aid support, and departments should make requisite provision for a number of first aiders in their areas as defined by the University’s First Aid Policy.

- WBS has nominated first aid responders to deal with incidents. First aid details and contact points are available on the School’s intranet for staff and students.

- Reception and Facilities staff are adept at dealing with requests for first aid by raising a call to trained first aiders/Security.

- For emergency situations the University Security team should be contacted: 024 7652 2222. This will be published for all staff and students on the intranet and information disseminated to Sections and Groups.

- In the case of an emergency fire evacuation, encourage all members of staff to act as Fire/ Evacuation Wardens. They can complete the Fire Warden training module available on Moodle (available using the Fire Warden link). They need to know how to flag any concerns relating to fire safety to the Health and Safety Helpdesk.

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | Low |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Approved By |  |  | Position |  |
| Date |  |  |  |  |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.