Risk Assessment Form

| Title of Risk Assessment | Edinburgh Instruments FS5 Fluorometer including variable temperature measurements |  |  | Date of assessment |  | 14/06/2021 |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Research Technology Platforms |  |  | Date review due |  | 30/01/2023 |
| Description of Task/Process | Use of the Edinburgh Instruments FS5 Fluorometer, including the use of the SC25 modules for High temperature measurements and SC-70 for cryogenic measurements . |  |  |  |  |  |
| Assessment carried out by | Dr Ben Breeze |  |  |  |  |  |

| ##### Additional information | A separate Risk assessment must be carried out by the user for each sample being used these must be logged on the online form prior to experiments https://warwick.ac.uk/research/rtp/spectroscopy/Safety/Sample These individual sample assessments are available from B Breeze or M Newton on request. |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Main electricity. Electric shock burns. | Operator | Users are not to tamper with the equipment. All equipment must have an in date Pat test. | (Major, Unlikely) Low | none |  | Low |
| UV light Source. Irritation to eyes | Operator Other lab users | Users are not to remove the covers from the spectrometer. Spectrometer door should be in place during operation. UV Light is low power and divergent. | (Minor, Unlikely) Very Low | none |  | Very Low |
| Broken Glassware cuts | Operator Other lab users | Take care, dispose of sharps and broken glass in the approved receptacles provided. | (Minor, possible) Low | none |  | Low |
| Cryogenics Inhalation or ingestion causing loss of consciousness, asphyxiation Burns. | Operator Other lab users | Read all relevant safety data sheets, University and Departmental Safety regulations and guidance, and pass any required safety tests. Lab is equipped with oxygen depletion sensors. PPE, (Safety Goggles, Gloves) Should be worn when handling Cryogens | (Major, Unlikely) Low | none |  | Low |
| High Temperature Burns | Operator | Take care Samples to be return to room temperature before removing from spectrometer. | (Minor, Unlikely) Very Low | none |  | Very Low |
| Trapped finger when loading module Impact | Operator | Operation by trained personal only Care to be taken | (Minor, possible) Low | none |  | Low |
| Dirt or polluted work area Poisoning, eye and skin irritation | Operator Other lab users | Keep all work areas clean and tidy | (Major, Unlikely) Low | none |  | Low |
| Sample Exposure Ill health | Operator Other lab users | Refer to individual sampel risk assessments. Operator Other lab users | (Minor, possible) Low | If induvial sample risk assessment indicated higher risk than LOW appropriate steps must be taken | Operator at time of experiment | Low |
| Obstructed walkways Slip, Fall | Operator Other lab users | Do not block walkways, Design experiments to minimise trailing cables be aware of risk | (Minor, possible) Low | Rubber runners are available in the lab, for any trailing cables created that cannot be avoided, Barriers are available in the lab | Operator at time of experiment | Very Low |

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | Low |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Approved By | Mark Newton |  | Position | RTP Driector |
| Date | 16/06/21 |  |  |  |

Please print a copy, sign it and keep for your records

Document History

| Version | Date | Reviewer | Comments |
| --- | --- | --- | --- |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.