Risk Assessment Form

| Title of Risk Assessment | Low Temperature Stressed Raman/Photoluminescence/optical absorption |  |  | Date of assessment |  | 16/11/21 |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Research Technology Platforms / Physics |  |  | Date review due |  | 16/11/23 |
| Description of Task/Process | The use of the Custom made Uniaxial Stress experiment coupled to existing optical spectrometers |  |  |  |  |  |
| Assessment carried out by | Ben Breeze |  |  |  |  |  |

| ##### Additional information | Users are responsible for having performed a risk assessment for their samples which must be logged at: https://warwick.ac.uk/research/rtp/spectroscopy/Safety/Sample When booking all users will provide a reference to the risk assessment for the sample used. All Users must complete training course before operating the spectrometer. All users will require retraining if they have not operated the system for 18 months. These experiment is designed to be used in conjunction with other spectrometer (FT-IR, Raman, PL) and as such those risk assessments should also be followed prior to use. This document only deals with the additional hazards from the addition of the Uniaxial stress apparatus |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Compressed Gas Leak As[hyxiation | Operator Other lab users | Read all relevant safety data sheets, University and Departmental Safety regulations and guidance, and pass any required safety tests. All experiments must be conducted in a lab with oxygen sensors | (Extreme, Unlikely) Moderate | None | N/A | Moderate |
| Compressed Gas explosion Cuts from shard of glass/metal | Operator Other lab users | Use of Uniaxial stress apparatus prohibited unless user has undergone local training in the safe operation. Pressure release valves are to be used and checked regularly. Pressure vessels must be visually inspected prior to use and any damage reported to Dr. B Green or Dr B Breeze | (Major, Unlikely) Low | None | N/A | Low |
| Main Electricity Electric shocks/ burns | Operator Other lab users | Users are not to tamper with the equipment. All equipment must have an in date Pat test. | (major, Likely) Low | None | N/A | Low |
| Laser light / light sources Light effecting eyes | Operator Other lab users | For all Raman/ PL spectrometers Interlocks are overridden so the system is no longer Class one. With the Probe in place it is impossible to get your eye in the path of laser beam. The beam is also very divergent after the focal point, See attached table for safe nominal optical hazard Distances for the different Excitation wavelengths. During setup up, the Lasers must not be turned on until the probe is in place. All reflective surfaces should be removed from the enclosure and appropriate eye protection should be worn. After the probe is in place laser must be kept below 1mW using the built in ND filters. During normal operation a fabric cover will be placed over the enclosure to block all light from escaping. Laser warning lights should be illuminated and signage in place to alert other lab users the experiment should not be left unattended with the laser in operation. For optical absorption experiments the light sources are weak and do not pose a danger. . | (major, Unlikely) Low | None | N/A | Low |
| Obstructed walkways | Operator Other lab users | Do not block walkways and be aware of risk Keep work areas clean and tidy | (Minor, Possible) Low | None | N/A | Low |
| Dirt or polluted work area | Operator Other lab users | Keep work areas clean and tidy | (Minor, Possible) Low | None | N/A | Low |

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | Low |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  | None |  |  |
| --- | --- | --- | --- | --- |
| Approved By | Ben Green |  | Position | RTP Director |
| Date |  |  |  |  |

Please print a copy, sign it and keep for your records

Document History

| Version | Date | Reviewer | Comments |
| --- | --- | --- | --- |
| 1 | 29/11/2017 | Ben Breeze | Re reviewed when Equipment was brought under RTP Control |
| 2 | 11/02/19 | Ben Breeze | Scheduled Review. No changes |
| 3 | 16/11/21 | Ben Breeze | Format updated, minor changes to user groups and descrition , also added optical absorption spectrometers |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.