Risk Assessment Form

| Title of Risk Assessment | OmniScan Profilm 2D white light interferomter |  |  | Date of assessment |  | 09/09/21 |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Research Technology Platforms / Physics |  |  | Date review due |  | 09/09/23 |
| Description of Task/Process | Use of the OmniScan Profilm 2D white light interferomter located in Milburn House G31 |  |  |  |  |  |
| Assessment carried out by | Ben Breeze |  |  |  |  |  |

| ##### Additional information | Users are responsible for having performed a risk assessment for their samples which must be logged at: https://warwick.ac.uk/research/rtp/spectroscopy/Safety/Sample When booking all users will provide a reference to the risk assessment for the sample used. All Users must complete training course before operating the spectrometer. Bookings are restricted to trained users All users will require retraining if they have not operated the system for 18 months. |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Mains Electricity Electric Shock and/or burns | Operator Other lab users | Equipment should not be tampered with. All equipment requires an in-date PAT test | (Major, Unlikely) Low | None | N/A | Low |
| White light Light Light affecting eye | Operator Other lab users | Users are not to remove the covers from the spectrometer. Light is low power. | (Minor, Unlikely) Very Low | None | N/A | Very Low |
| Broken glassware Cuts | Operator Other lab users | Take care, dispose of sharps and broken glass in the approved receptacles provided. | (minor, Likely) Low | None | N/A | Low |
| Moving parts Trapped finger impact | Operator Other lab users | Loose clothing should be avoided and long hair should be tied back. Care to be taken | (Minor, Possible) Low | None | N/A | Low |
| Obstructed walkways Slip, Fall | Operator Other lab users | Do not block walkways and be aware of risk Keep work areas clean and tidy | (Minor, Possible) Low | None | N/A | Low |
| Dirt or polluted work area Poisoning, eye and skin irritation | Operator Other lab users | Keep work areas clean and tidy | (Minor, Possible) Low | None | N/A | Low |

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | Low |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  | None |  |  |
| --- | --- | --- | --- | --- |
| Approved By | Ben Green |  | Position | RTP Director |
| Date |  |  |  |  |

Please print a copy, sign it and keep for your records

Document History

| Version | Date | Reviewer | Comments |
| --- | --- | --- | --- |
| 1 | 14/06/21 | Ben Breeze | Initial Review |
| 2 | 09/09/21 | Ben Breeze | Scheduled Review Updated Format |
| 3 | 19/07/22 | Ben Breeze | Updated for change of location |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.