Risk Assessment Form

| Title of Risk Assessment | OmniScan Profilm 2D white light interferomter |  |  | Date of assessment |  | 14/06/2021 |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Research Technology Platforms |  |  | Date review due |  | 30/01/2023 |
| Description of Task/Process | Use of the OmniScan Profilm 2D white light interferomter. |  |  |  |  |  |
| Assessment carried out by | Dr Ben Breeze |  |  |  |  |  |

| ##### Additional information | A separate Risk assessment must be carried out by the user for each sample being used these must be logged on the online form prior to experiments https://warwick.ac.uk/research/rtp/spectroscopy/Safety/Sample These individual sample assessments are available from B Breeze or M Newton on request. |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Main electricity. Electric shock burns. | Operator | Users are not to tamper with the equipment. All equipment must have an in date Pat test. | (Major, Unlikely) Low | none |  | Low |
| Trapped finger when leveling samples Impact | Operator | Operation by trained personal only Care to be taken | (Minor, possible) Low | none |  | Low |
| Dirt or polluted work area Poisoning, eye and skin irritation | Operator Other lab users | Keep all work areas clean and tidy | (Major, Unlikely) Low | none |  | Low |
| Sample Exposure Ill health | Operator Other lab users | Refer to individual sample risk assessments. Operator Other lab users | (Minor, possible) Low | If induvial sample risk assessment indicated higher risk than LOW appropriate steps must be taken | Operator at time of experiment | Low |
| Obstructed walkways Slip, Fall | Operator Other lab users | Do not block walkways, Design experiments to minimise trailing cables be aware of risk | (Minor, possible) Low | Rubber runners are available in the lab, for any trailing cables created that cannot be avoided, Barriers are available in the lab | Operator at time of experiment | Very Low |

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | Low |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Approved By | Mark Newton |  | Position | RTP Director |
| Date | 16/06/21 |  |  |  |

Please print a copy, sign it and keep for your records

Document History

| Version | Date | Reviewer | Comments |
| --- | --- | --- | --- |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.