Risk Assessment Form

| Title of Risk Assessment | Transmission Optical Microscope |  |  | Date of assessment |  | 17/07/22 |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Physics |  |  | Date review due |  | 28/02/23 Unless major changes to design |
| Description of Task/Process | Use of the home built transmission optical microscope and mechanically optimising its optics situated in G31 in Millburn house. |  |  |  |  |  |
| Assessment carried out by | Sebastian Stewart-Barry |  |  |  |  |  |

| ##### Additional information | System is currently unders construction and may potentially be redesigned please consult Sebastian Stewart-Barry, Ben Green to check if there have been any live updates to the operation. System must only be used by trained personel. And A separate risk assessment must be carried out for all samples being measured. |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Mains Electricity Electric Shock and/or burns | Operator Other lab users | Equipment should not be tampered with. All equipment requires an in-date PAT test | (Major, Unlikely) Low | None | N/A | Low |
| Extended White Light from Filament Lamp Light affecting eye and skin | Operator Other lab users | Users not to look directly at the light. Spectrometer door should be in place during operation. Light is low power. | (Major, Unlikely) Low | Install covers where possibly to block the light from escaping the microscope | Sebastian Stewart-Barry 15/09/22 | Very Low |
| Broken glassware Cuts | Operator Other lab users | Take care, dispose of sharps and broken glass in the approved receptacles provided. | (minor, Likely) Low | None | N/A | Low |
| Motorised Moving parts Injury to skin | Operator Other lab users | Loose clothing should be avoided and long hair should be tied back. Care taken | (Minor, Possible) Low | None | N/A | Low |
| Obstructed walkways Slip, Fall | Operator Other lab users | Do not block walkways and be aware of risk Keep work areas clean and tidy | (Minor, Possible) Low | None | N/A | Low |
| Dirt or polluted work area #Poisoning, eye and skin irritation | Operator Other lab users | Keep work areas clean and tidy | (Minor, Possible) Low | None | N/A | Low |

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | Low |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Approved By | Ben Breeze |  | Position | RTP Manager |
| Date | 19/07/22 |  |  |  |

Please print a copy, sign it and keep for your records

Document History

| Version | Date | Reviewer | Comments |
| --- | --- | --- | --- |
| V1 | 19/07/22 | Sebastian Stewart-Barry | Initial review |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.