University of Warwick	Substance Information Note 038

	Substance
	BASTA®(Kaspar contains Ammonium Glufosinate)
	UN No: 2902
Transport Cat: 3
	University Hazard Classification
	HIGH

	Activity
	Used for the selection of transgenic plants carrying resistance to BASTA

	Handling Requirements e.g. fume cupboard, MSC, glove type etc.
	· Dispensing and spraying plants must be carried out in a fume cupboard (LEV).  
· Diluted solutions used for soil drenching or rock wool treatment can be used outside of a fume cupboard wearing the PPE stated below. Documented local departmental SOPs must be followed at all times
· Wear chemical resistant nitrile gloves (EN374) and tightly fitted safety spectacles (EN166) at all times when using this product. Breakthrough times must be strictly adhered to.
· Avoid formation of dust and aerosols.
· Do not heat 


	Laboratory Info
	Appropriate to the department include room number and containment level

	Additional Information
	· New and expectant mothers must not use this product as it is suspected of damaging the unborn child. 
· May damage fertility.   
· Refer user to Occupational Health if there are any changes in health status which you think is related to the use of this product.
· Carbon oxides, nitrogen oxides (NOx), sulphur oxides, oxides of phosphorous, ammonia can be produced during a fire.
· If the product contaminates rivers, lakes or drains contact the Health and Safety Team



	Hazard Statements
H302
H312
H332
H319
H360F
H361d
H373
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May case damage to organs (nervous system) through prolonged  or repeated exposure 

Suspected of damaging the unborn child

May damage fertility
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Harmful if swallowed 

Harmful if inhaled

Harmful if in contact with skin

Causes serious eye irritation
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Do not smoke.

Do not use near naked flame or other heat source.  
	

	


	Handling Precautions
P201, P202, P260, P264, P270, P271, P280, P302+P352+P312, P304+P340+P312, P308 + P313, P363, P405, P501
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Wear nitrile gloves (EN374)
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Use tightly fitted safety glasses (EN 166)
	[image: ]Wear protective clothing e.g. fastened lab coat.

	[image: ]Do not breathe dust/ fume/ gas/ mist/ vapours/ spray 
Where risk assessment shows air-purifying respirators are appropriate e.g. spill use a full-face respirator ABEK (EN 14387) respirator cartridges as a backup to engineering controls

	Storage & Transport
	· Store in a locked chemical cupboard and limit access to trained users only
· Store in the original container, tightly closed in a cool, dry and well-ventilated place.
· Protect from freezing.
· Keep away from direct sunlight.
· Do not store with strong oxidising agents, acids, bases, alkali metals.
· Do not reuse the container for any other purpose. 

	Spillage and Waste Disposal
	Spillage:
Outside a fume cupboard (LEV) 
· Evacuate personnel to safe areas. 
· Ensure adequate ventilation/air changes. 
· Trained users wear respiratory protective equipment (RPE) with the appropriate filters and the personal protective equipment stated above. 
· Prevent further leakage or spillage if safe to do so.  
· Soak up with inert absorbent material and discard waste as per departmental procedures. 
· Clean contaminated floors and equipment thoroughly observing environmental regulations.  
· Arrange for waste to be kept in suitable closed containers before disposal.    
Waste: Product must not enter the drainage system. All waste must be treated as hazardous and disposed of in line with departmental procedures. 
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	First Aid
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	EYES: Flush eyes with water as a precaution for at least 15 minutes.  Remove contact lenses if safe to do so. Seek medical attention if irritation develops and persists.

	
	SKIN: Remove contaminated clothing, shoes immediately. Wash off with soap and plenty of water.  Seek medical attention.

	
	INHALATION: If breathed in, move person into fresh air. If not breathing, give artificial respiration.  Seek immediate medical attention.

	
	INGESTION: Never give anything by mouth to an unconscious person. Rinse mouth with water. Seek immediate medical attention.
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