Natural Gas Installations Policy

The University of Warwick, as an Employer and Landlord, has a duty to comply with the requirements of the Gas Safety (Installation and Use) Regulations 1998 (as amended 2018) to ensure the safe installation, maintenance and use of natural gas installations (which includes Liquified Petroleum Gas (LPG) systems), including gas fittings, appliances and flues, within its buildings (as defined under the Regulations). This Policy applies to natural gas installations within or connected to all relevant buildings across the University’s campuses, including Gibbet Hill, Westwood and Wellesbourne, and applies to all accommodation, academic, administrative, commercial and ‘public access’ buildings owned by the University of Warwick (a separate policy covers other buildings not owned by the University, including ‘off-campus’ accommodation).

This Policy is supported by arrangements, instructions and guidance on natural gas safety management which are available via the relevant University web-pages. There is also a separate policy on the management of the natural gas distribution networks across the University’s campuses, which are covered under separate regulations.

It is the duty of all staff, students and others working in the University to comply, as far as it is appropriate, with ‘The Statement of Health and Safety Policy’, together with any other rules and guidance that may apply. This specific Policy, together with supporting arrangements, instructions and guidance on natural gas safety management, form part of the rules and guidance issued pursuant to ‘The Statement of Health and Safety Policy’.

Core Principles

- The Gas Safety (Installation and Use) Regulations (GSIUR) are the relevant statutory provisions, and set out general and detailed requirements dealing with the safe installation, maintenance and use of natural gas systems.

- The Regulations apply to systems downstream of the first emergency control on a Service Pipe distributing gas to premises from a Distribution Main: it is the duty of the Responsible Person to identify and maintain records and drawings of all such systems and to liaise, cooperate and coordinate accordingly with the owners and operators of Service Pipes and Distribution Mains (the gas ‘transporter’).

- Whilst the Executive Team are ultimately accountable for ensuring the safety of gas systems as per this policy, the responsibility for the operational delivery of the relevant requirements sits with a nominated Responsible Person.

- Assurance is provided to the Executive Team through ‘three lines of defence’ incorporating operational checks and supervision, compliance checks and inspections and internal/external audit.

- Works shall be deemed to include any activity carried out by a gas engineering business and/or a Gas Engineer to install, maintain service, permanently adjust, reposition, repair, or renew a fitting or purging it of air or gas.

- The term Fitting shall be deemed to include gas pipes, regulators, meters, fittings, apparatus and appliances designed for use by consumers of gas for heating, lighting and other purposes for which gas can be used.

- All Gas Engineers working on University Gas Systems, whether direct employees of the University or contracted individuals, must be competent and registered with the required levels of training, knowledge, experience and practical skills to carry out works to gas systems and be of a ‘class of persons’ approved by the HSE (i.e. GAS SAFE registered).

- Employers of such Gas Engineers, including the University, must also be an approved business and be able to demonstrate that they also hold appropriate and current GAS SAFE registration.

- The University as a Landlord of ‘relevant premises’ has to ensure that all gas appliances, fittings and flues installed for the use of tenants are routinely inspected, serviced, maintained and operated in a safe condition so as to prevent risk of injury to tenants and others.

- All such works must be carried out in accordance with the Regulations and the supporting HSE Approved Code of Practice (ACOP), with particular attention to testing to ensure ‘gas tightness’ of systems and operational testing of appliances and flues.

- In addition to regular maintenance and testing of gas systems annual safety checks must be carried out on appliances and flues by a competent Gas Engineer and documented accordingly.

- Records of gas safety maintenance and testing and annual safety checks shall be kept by the University in hardcopy format and held on file for a minimum period of 5 years.

Responsibilities

The Director of Estates is the Responsible Person under this Policy. The Director of Estates is required to appoint Competent Person(s) to ensure that all natural gas systems are designed, installed, commissioned, maintained and inspected to the required standard: where there is any suspicion that a system (or part therof) may be dangerous, the Responsible Person must ensure that steps are taken so that the system (or part thereof) cannot be used until the required remedial work and testing has been completed.

Heads of Departments (HoDs) are responsible for the implementation of this Policy insofar as any work on natural gas systems within their respective Departments must only ever be carried out under the control of the Estates Department.

The Operations Director, Head of Maintenance, Site Manager at Wellesbourne and Director of Student and Staff Accommodation are responsible for supporting the Director of Estates in relation to the day-to-day natural gas system safety management and for the maintenance and communication of the detailed records, arrangements, instructions and guidance. They are also responsible for ‘first line’ of assurance (such as supervisory checks and inspections) of work carried out on such systems and for ensuring that remedial works are carried out in a timely fashion.

The Head of Compliance and Assurance is responsible for carrying out ‘second line’ audit spot checks of work and records, escalating any issues to the Director of Estates (the Responsible Person) and the Director of Health and Safety.

The Director of Health and Safety is responsible for advising on the standards and regulations that must be achieved in order to meet legal requirements; for keeping the University’s Health and Safety website up to date with the related policy documents, linking to any relevant arrangements, instructions and guidance. They are also responsible for ensuring that spot checks and audits (including any external audits) are carried out to provide ‘third line’ assurance that activities are being carried out in compliance with this Policy, and escalating any issues to the Executive Team.

Review

This policy is dated February 2020. The policy will be reviewed at least annually.

| Document Control |  |  |  |
| --- | --- | --- | --- |
| Version Number | Date issued | Author | Update information |
| Owner: |  |  | Authorised By: |
| Source Location: Link to file on M:/ |  |  | Approval Date: |
| Published Location: Link to Insite web page |  |  | Review Date: |