| Area of Inspection |  | Date of Inspection |  |
| --- | --- | --- | --- |
| Inspection Team |  |

Introduction

Inspection is considered an organised visual check. Please use the inspection check-list to direct your inspection. We advise you walk around the workshop space, with the checklist, completing it as you go. It is often valuable to include others in your inspection, such as workshop workers and supervisors.

How to use the checklist

The checklist is broken down into various areas, where an area is not applicable, please indicate so.  Each item can be rated  A - F. Please refer to the table below to see the definitions for each score.

University inspection ratings explained:

|  | Blue | Exemplary | No issues raised, ‘best practice’ observed |
| --- | --- | --- | --- |
|  | Green | Very Good | No Issues raised |
|  | Green/Amber | Generally Good | Issues raised, technical issues – not serious |
|  | Amber | Areas for Improvement | Issues raised, areas for improvement |
| E | Red/Amber | Unsatisfactory | Serious issue(s) raised, no immediate risk of harm/damage |
|  | Red | Unacceptable | Issue(s) of imminent danger, immediate rectification required or suspension of use of facility/equipment/procedure |

Assigning actions

Where improvements are needed then an action should be assigned and documented using the attached Findings Action Log.  Best practice observations should be shared with others as a method of continuous improvement.  Generally speaking, each action should be assigned to a named person and a date for action agreed.

The log should be used when:

- All ratings D - F must have an assigned action

- All ‘F’ ratings must be immediately notified to the H&S department and/or the Director of H&S.

- Exemplary practice (A) should also be noted and communicated to those involved.

What next?

Reports should be finalised and issued to the workshop manager. Once reports are agreed these should be sent to your School/Department local H&S Committee for note.

| Item | Observation | Non-conformance Provide details | Recommended Corrective Action | Individual responsible for ensuring corrective action is underway | Date Completed |
| --- | --- | --- | --- | --- | --- |
| 1. EQUIPMENT SAFETY |  |  |  |  |  |
| 1.1 s floor space clear of objects/debris? | Yes No |  |  |  |  |
| 1.2 Are safe work method statements/warning signs clearly visible? | Yes No |  |  |  |  |
| 1.3 Are machines adequately guarded/ protected to prevent contact, entanglement or damage? | Yes No |  |  |  |  |
| 1.4 Are the Personal Protective Equipment (PPE) requirements for the workshop clearly displayed? | Yes No |  |  |  |  |

| 2 Item | Response | Non-conformance Provide details | Recommended Corrective Action | Individual responsible for ensuring corrective action is underway | Date Completed |
| --- | --- | --- | --- | --- | --- |
| 1.5 Are the PPE requirements followed? | Yes No |  |  |  |  |
| 1.6 Are lighting levels satisfactory for operators to utilise equipment safely? | Yes No |  |  |  |  |
| 1.7 Is the plant and equipment located in an appropriate location within the workshop? (i.e. explosion proof etc.) | Yes No |  |  |  |  |
| 1.8 Does the workshop floor have clearly outlined safe walkways? | Yes No |  |  |  |  |
| 1.9 Is there a preventative maintenance program in place for plant and equipment in the workshop? | Yes No |  |  |  |  |
| 1.10 Are there records of maintenance to plant and equipment? | Yes No |  |  |  |  |
| 1.11 Are Residual Current Devices in use for portable electrical equipment, if appropriate? | Yes No N/A |  |  |  |  |
| 1.12 Are there any sources of excessive noise in the immediate work area or from an external source? | Yes No |  |  |  |  |
| 1.13 Are people appropriately trained in plant and equipment? | Yes No |  |  |  |  |

| 3 Item | Response | Non-conformance Provide details | Recommended Corrective Action | Individual responsible for ensuring corrective action is underway | Date Completed |
| --- | --- | --- | --- | --- | --- |
| 1.14 Are records of training held for appropriately trained people? | Yes No |  |  |  |  |
| - EMERGENCY RESPONSE |  |  |  |  |  |
| 2.1 Are all access and egress points clear of obstructions? | Yes No |  |  |  |  |
| 2.2 Is emergency exit signage adequate and functioning correctly? | Yes No |  |  |  |  |
| 2.3 Are appropriate fire extinguishers visible and clear of obstructions? | Yes No |  |  |  |  |
| 2.4 Have fire extinguishers/ equipment been serviced in last 6 months? | Yes No |  |  |  |  |
| 2.5 Is the Emergency Evacuation procedure clearly displayed? | Yes No |  |  |  |  |
| 2.6 Have designated building wardens been identified? | Yes No |  |  |  |  |
| 2.7 Are First Aid Kits readily accessible? | Yes No |  |  |  |  |
| 2.8 Are there First Aid personnel identified? | Yes No |  |  |  |  |
| - CHEMICAL SAFETY |  |  |  |  |  |
| 3.1 Is there a Hazardous Substance register for the workshop? | Yes No |  |  |  |  |

| 4 Item | Response | Non-conformance Provide details | Recommended Corrective Action | Individual responsible for ensuring corrective action is underway | Date Completed |
| --- | --- | --- | --- | --- | --- |
| 3.2 Is the MSDS or other safety information available for all chemicals? | Yes No |  |  |  |  |
| 3.3 Are chemicals labelled appropriately? | Yes No |  |  |  |  |
| 3.4 Are poisons or other drugs kept in locked storage? | Yes No |  |  |  |  |
| 3.5 Are chemicals stored correctly (i.e. only with other compatible chemicals)? | Yes No |  |  |  |  |
| 3.6 Is all shelving compatible with chemicals stored? | Yes No |  |  |  |  |
| 3.7 Is there not more than one flammable liquid cabinet per 250m2 of floor space? | Yes No N/A |  |  |  |  |
| 3.8 Are flammable liquid cabinets at least 3m away from any potential ignition source? | Yes No N/A |  |  |  |  |
| 3.9 Are all storage refrigerators spark proof? | Yes No N/A |  |  |  |  |
| 3.10 Is there security-restricted access to store areas? | Yes No |  |  |  |  |
| 3.11 Is there appropriate secondary containment to prevent spread of major spills? | Yes No N/A |  |  |  |  |

| 5 Item | Response | Non-conformance Provide details | Recommended Corrective Action | Individual responsible for ensuring corrective action is underway | Date Completed |
| --- | --- | --- | --- | --- | --- |
| 3.12 Is personal protective equipment available for use? | Yes No |  |  |  |  |
| 3.13 Are spill cleanup kits and decontamination material available where needed? | Yes No |  |  |  |  |
| 3.14 Are there approved methods for disposal of all chemicals in the workshop? | Yes No |  |  |  |  |
| 3.15 Are staff and students aware of procedures in place for use of chemicals in the workshop? | Yes No |  |  |  |  |
| 3.16 Are gas cylinders in the store segregated by Dangerous Goods class, with correct separation distances? | Yes No |  |  |  |  |
| 3.17 Are all gas cylinders securely chained and the valves safe? | Yes No |  |  |  |  |
| 3.18 Are specialised trolleys available for moving gas cylinders? | Yes No |  |  |  |  |
| 3.19 Are all cylinders at least 3m away from potential ignition sources? | Yes No |  |  |  |  |
| 3.20 Are gas cylinders stored appropriately within the workshop? | Yes No |  |  |  |  |

6

| Item | Response | Non-conformance Provide details | Recommended Corrective Action | Individual responsible for ensuring corrective action is underway | Date Completed |
| --- | --- | --- | --- | --- | --- |
| - WELDING SAFETY |  |  |  |  |  |
| 4.1 Are staff appropriately trained in performing welding tasks? | Yes No |  |  |  |  |
| 4.2 Are students appropriately supervised by a competent person when welding? | Yes No N/A |  |  |  |  |
| 4.3 Are welding operators provided with the appropriate PPE for the task? | Yes No |  |  |  |  |
| 4.4 Is there adequate ventilation for welding tasks? | Yes No |  |  |  |  |
| 4.5 Are there appropriate warning signs in welding areas? | Yes No |  |  |  |  |
| 4.6 Are welding screens used when performing welding tasks? | Yes No |  |  |  |  |
| - GENERAL SAFETY |  |  |  |  |  |
| 5.1 Are dust/ventilation systems working adequately? | Yes No |  |  |  |  |
| 5.2 Are electrical appliances correctly tagged? | Yes No |  |  |  |  |
| 5.3 Are floors and passageways clear of electrical leads? | Yes No |  |  |  |  |

Other comments: