Warwick Arts Centre

Risk Assessment Form

	Area
	Dressing Rooms with bathrooms / Laundry

	Responsible Staff
	House Manager

	Hazard
	Light bulbs round mirrors

Evacuation / access

Shower/toilet

Electrical appliances

	Description of Risk
	Hot water in bathroom/shower
Slips/trips on spilt water and step into shower

Electrical risk from lights/sockets and laundry equipment.
Emergency exits / band room doors could be blocked leading to people in the room being trapped in an emergency.

Fire being started from items being left against hot bulbs around mirror.

Broken mirrors and damaged furniture.

High temperature/poor ventilation.

Fire risk from build up of rubbish

	People at Risk
	Anyone using the Dressing Rooms / Laundry

	Potential Severity of Injury

(Major,  Serious,  Minor)
	Major (electrocution)

Serious (burns)

Minor (trips)

	Description of Injury
	Death or serious injury resulting from faulty electrical equipment or poor installation of electrical equipment

Death or serious injury if unable to exit safely in a fire / evacuation.

Cuts bruises and abrasions, broken bones from trips and falls.

Cuts from broken tiles in and around the shower tray.

Burns from hot water in the bathroom.
Burns from bulbs around the mirrors.

Cuts, abrasions, contusions from damaged furniture/mirrors.

	Probability of Occurrence

(High,  moderate,  low)
	Low (all risks)

	Measures to Control Occurrence
	The hot water tap is clearly marked.

Any spillages are cleaned up immediately. There is good housekeeping including regular emptying of bins to avoid build up of combustibles.
Notices are provided to remind users to keep shower curtain within the tray.
The step into the shower tray is highlighted to the user. 
All electrical equipment is used according to manufacturer’s instructions. 


	Measures to Control Occurrence (cont)
	Damage to plugs and leads is avoided. Equipment is inspected prior to use and taken out of service if faulty. Routine testing / inspection is completed by competent staff.

There is non-slip flooring in the bathrooms.

Fire exits, fire hydrants etc are never blocked or obstructed.
Fire exit signs are provided. Staff follow the Arts Centre fire and evacuation policy.
Operations Assistants check all rooms at end of the night to turn off any lights/check on safety.

Any damage is reported to Estates, made safe temporarily or access is restricted if not possible.

Most dressing rooms have windows and radiator control valves so users can self regulate temperature. (Dressing room 9 and 10 only have small extract fans)

	Potential for Injuries to More Than One Person
	Low (all risks)

	Plans for Elimination / Control
	Generally considered low risk in their present form.

	Training Requirement / Information
	All staff are aware of and understand the evacuation policy.

	Monitoring / Health Surveillance
	Events are monitored by competent staff

Accidents are recorded by the D.S.O. and reported to the University Safety Officer

	Emergency Procedures
	Staff follow Arts Centre Evacuation Procedure

Staff and event organisers are aware of how to contact Arts Centre First Aiders and/or Security

	Assessment Review Date
	30th September2011
Or if:

· The Assessment is no longer valid

· There are significant changes in activities or facilities

· A related accident occurs

	Signed

Department Head
	Date

	Signed

Responsible Director
	Date


