## Cinema RA
Hazard | Risk Assessment | Standard Control Measures | Additional control measures required | By Whom
Hazardous access/exits | People at Risk: Visitors and staff | Temporary obstructions must be removed promptly (especially if on an emergency exit route).
Restricted/obstructed | Severity of risk: Low in normal circumstances, moderate to high in emergencies, especially if visibility is restricted. | Illuminated emergency exit signs and emergency lighting are provided.
Restricted visibility
| Probability hazard will occur: Low | Fire doors are to required standard
| Overall risk: Normally low, but could be moderate to high in exceptional circumstances | Security measures do not conflict with emergency exit requirements.
| Potential for injuries to more than one person: High | All exits are wide enough for wheelchair users and stewards are trained to assist disabled customers.
We have an effective evacuation policy in place.
All emergency exits, lights and extinguishers are checked by operations assistants and stewards before each performance.
Fire | People at Risk: Visitors and staff | Combustible materials are kept to a minimum, to include emptying bins regularly.
Burns
| Severity of risk: High | Sources of ignition are controlled.
Asphyxiation
| Probability hazard will occur: Low if risks properly controlled. | Fire doors are not obstructed or wedged open
Smoke/heat alarms are installed.
Overall risk: Moderate
Smoke inhalation |  | The exit route is signed and provided with emergency lighting
Potential for injuries to more than one person: High
Risk of multiple injuries/fatalities |  | There is an adequate fire alarm system and appropriate fire extinguishers and break glass points are provided.
Staff are instructed in the action to be taken in emergencies and where the safe evacuation areas are.
Our fire policy document is updated annually and distributed to all staff.
All stewards, ops and DM’s receive regular training.
Slips, trips and falls on the flat floor | People at Risk: Visitors and staff | All hazards / damaged areas of the floor are reported immediately and are fixed ASAP. In the meantime damaged areas are taped and marked.
Fractures
| Severity of risk: Low to moderate. | Good housekeeping, spillages are cleared, obstructions are removed, bins are emptied regularly.
Cuts, abrasions & contusions |  | Lighting is adequate.
Probability hazard will occur: Low in well maintained areas.
Dislocations |  | Cleaning and maintenance is done regularly. Warning signs are put out if necessary.
Overall risk: Low to moderate depending on circumstances.
Concussion |  | Before any meeting trailing cables are removed or enclosed in cable covers.
Potential for risk to more than one person: Low
Prompt action is taken in the event of a complaint.
Furniture / seats | People at Risk: Visitors and staff | All Hazards are reported immediately and fixed ASAP.
Cuts, abrasions, and contusions | Severity of Risk: Low to moderate | Staff to ensure there are no rips, protruding screws or sharp edges
Probability hazard will occur: Low if furniture maintained properly, high if furniture broken
| Overall Risk: Low to moderate | Any seat that is not in suitable condition is clearly marked and not used.
| Potential for Risk to more than one person: Low | Chairs could fall on someone when stacked out of the way, so chairs must not be stacked more than 3 high
Overcrowding | People at Risk: Audience | Events are monitored to ensure that we do not exceed our capacity.
Crushing | Severity of Risk: Low when audience is effectively controlled.
Slips/ trips
Probability hazard will occur: Low
Fainting
Overall Risk: Low
Potential for Risk to more than one person: High
Electrical equipment used for presentations / screenings / lectures | People at Risk: People using electrical equipment in the room | Equipment is used according to manufacturer’s instructions.
Severity of Risk: High – electrocution
Electric shock |  | Damage to plugs and leads is avoided.
Probability hazard will occur: Low
Electrocution |  | Equipment is inspected prior to use and taken out of service if faulty.
Fire | Overall Risk: Moderate
Routine testing / inspection is carried out by competent staff.
Potential for Risk to more than one person: Low
Cables are inspected for damage.
High temperature during shows. | People at Risk: Audience, staff | Operations Assistants check the temperature of each venue each evening before a performance and if it is too low or high, adjust the temperature using the BMS.
Dehydration | Severity of Risk: Low when temperature is monitored and controlled.
Fainting |  | Estates check filters / air ducts /ventilation regularly.
Heat stroke | Probability hazard will occur: Low
| Overall Risk: Low | Stewards monitor temp throughout the show and if it becomes too hot contact the Duty Manager or Operations Assistant to get it improved ASAP
| Potential for Risk to more than one person: High | Free water is available from the upper and lower bar when open.
Smoking | People at Risk: Anyone in the building | No smoking signs are in place on all entrances to the building and around the foyer area in compliance with the new smoking laws.
Burns | Severity of Risk: High
Smoke inhalation | Probability hazard will occur: Low | All staff are trained on our procedures to deal with customers who are found smoking.
Fire if cigarettes are not correctly extinguished leading to burns / death | Overall Risk: Low | We have a written policy on dealing with customers and / or artists who are found smoking inside the building.
| Potential for Risk to more Person: Low in normal circumstances / High in case of fire | A designated smoking area is provided away from the building for staff and artists.
Emergency procedures: Immediate first aid assistance. Ensure all staff know how to contact Arts Centre First Aiders and / or security staff.
Assessment Review Date: 30th September 2011 OR if:
• The assessment is no longer valid
• There are significant changes in activities or facilities
• A related incident occurs
Signed Department Head: ………………………………………………. |  | Date: ……………………………………
Signed Responsible Director: ………………………………….......... |  | Date: ……………………………………