Risk Assessment Form

| Title of Risk Assessment | Use of freeze dryers |  |  | Date of assessment |  | <insert date> |
| --- | --- | --- | --- | --- | --- | --- |
| Department | Sciences |  |  | Date review due |  | <review date 3 years later. To review earlier following an incident or significant change> |
| Description of Task/Process | Freeze drying biological and chemical samples for long-term storage. |  |  |  |  |  |
| Assessment carried out by | <name of individual or competent persons> |  |  |  |  |  |

| ##### Additional information | Note that this is a generic risk assessment so should be tailored to take into consideration any additional hazards present connected with the activity, the materials used, the people involved or the environment. All users must be trained on how to use freeze dryers prior to use. Lab rules must be followed at all times This risk assessment must be used to support the development of a Standard operating procedure (SOP) which must be communicated and available to all users of the equipment. Solvents must not be freeze dried. Equipment is installed and maintained in accordance with manufacturers recommendations |
| --- | --- |

| Hazards and how they may cause harm | Who may be at Risk? | Existing Control Measures | Current Risk Level (VL,L,M,H,VH) | Where current risk is M, H or VH, what additional Control Measures are required? | Action required by whom & by when? | Final Risk Level |
| --- | --- | --- | --- | --- | --- | --- |
| Freeze dryer generates a high vacuum which can cause implosion of glass ampoules Eye injury, impact Injury, cuts | Operators, bystanders | Wear safety glasses or face shield (BS EN 166-A) Training | Low |  |  | Low |
| Glass vessels can break if mishandled Skin infection, cuts | Operators, bystanders | Use glass vessels designed for the type of freeze dryer used and in accordance with manufacturer’s instructions All glassware us subject to pre-use checks to ensure it is suitable for high vacuum Training | Low |  |  | Low |
| Low temperatures (˜-55°C) Cold burns | Operators, | Training Wear thermal (cold) resistant gloves (EN 511: 2006) | Low |  |  | Low |
| Mechanical failure Oil fume exposure, damage to machine, fire | Operator, bystanders | Room has sufficient ventilation/ extract Pre-use checks e.g. oil pump level/quality of oil Filter units changed as per manufacturers’ instructions Serviced and maintained as per manufacturer’s instructions including oil changes | Low |  |  | Low |
| Excess ice/liquid Slips, trips, falls | Operator, bystanders | Do not allow a build-up of ice to form Container kept in a tray/bund for the ice to melt and drain into Clean up spillages immediately Training | Low |  |  | Low |
| Electricity Electrocution | Operators | PA tested Pre-use visual checks Do not allow water to enter the internal parts of the machine. Keep flammables away from the machine. Training | V Low |  |  | V Low |
| Sample exposure Occupational ill-health | Operators, bystanders | Aqueous samples are pre-frozen (<-40°C) prior to use Pre-use checks e.g. rubber seals intact etc. Condenser doors locked in place via vacuum Training | V Low |  |  | V Low |

Work should not be carried out until the assessment is completed and all required control measures are in place.

| Overall Final Risk Rating (Highest level in final column above) | Low |
| --- | --- |

| Additional Comments from Risk Assessor (e.g. funding or practical implications) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Approved By | <name of peer, supervisor or line manager> |  | Position | <insert role> |
| Date | <insert date of approval> |  |  |  |

Please print a copy, sign it and keep for your records

Document history:

| Version | Date | Reviewer | Comments/Changes Made |
| --- | --- | --- | --- |
| V1.0 | 30/07/2018 | Mary Bagnall | New version |
| V1.1 | 15/08/2019 | Ian Graham | Reviewed – no significant changes made |
| V1.2 | 03/08/2023 | Caroline Farren | Reviewed – added document history and altered dates on front page – this section should be completed by those adopting this generic. |

|  | Severity |  |  |  |  |  |  | Risk Level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Likelihood | Superficial | Minor | Serious | Major | Extreme |  | Very low | Acceptable risk - no action required |
| Unlikely | Very low | Very low | Low | Low | Moderate |  | Low | Tolerable risk - further control measures not required, but status must be monitored |
| Possible | Very low | Low | Low | Moderate | High |  | Moderate | Further control measures required to reduce risk as far as is reasonably practical |
| Likely | Low | Low | Moderate | High | Very high |  | High | Urgent action required to allow activity to continue |
| Very likely | Low | Moderate | High | Very high | Very high |  | Very high | Risk intolerable - activity must cease until the risk has been reduced |
| Extremely likely | Moderate | High | Very high | Very high | Very high |  |  |  |

See ‘Matrix for risk evaluation’ for further guidance.