[image: image1.png]THE UNIVERSITY OF

WARWICK




Immediate Action 

after an oil spill

1) STOP any work.

2) Open the spill kit and put on the gloves supplied.
3) CONTAIN: Stop the oil spill entering the surface water aco and drain cover (coloured blue) alongside the Boiler House and Oil Tanks. 
4) NOTIFY: Contact the Security Gatehouse on 
024 76 52 2222 and state, “There has been a oil spillage at the Boiler House Yard. Please mobilise the BST’s to respond immediately.”
5) CONTROL: Remain at scene, restrict access to the area and continue to contain and absorb the spill until handing over the management of the incident to the BST’s.
For further information refer to:

Environmental Procedure 3-Environmental Spill Controls (EP-03-V01)
Environmental Procedure 2-Waste Management (EP-02-V01)

Available on the staff intranet or from the Estates Office
Fuel


Tanks





Boiler House


Building








