[image: image1.png]THE UNIVERSITY OF

WARWICK




Immediate Action 

after a fuel spill

1) STOP any work.

2) Open the spill kit and put on the gloves supplied.
3) CONTAIN: Stop the fuel spill entering the surface water drain (coloured blue) in the middle of the yard. 
4) NOTIFY: Contact the Security Gatehouse on 
024 76 52 2222 and state, “There has been a fuel spillage at Westwood Fuel Tank. Please mobilise the BST’s to respond immediately.”
5) CONTROL: Remain at scene, restrict access to the area and continue to contain and absorb the spill until handing over the management of the incident to the BST’s.
For further information refer to:

Environmental Procedure 3-Environmental Spill Controls (EP-03-V01)
Environmental Procedure 2-Waste Management (EP-02-V01)
Available on the staff intranet or from the Estates Office
Fuel


Tanks





Boiler House


Building








