[image: image1.emf]

Environmental Toolbox Talk 04
Water Pollution Prevention (Fuel & Oil)

Version 1
Learning objectives: Give learners the understanding of the implications of poor storage of fuel and oil and knowledge on how to store these legally to reduce the risk of pollution.

WHAT HAPPEN BY THE RELEASE OF FUEL OR OIL?

· A large number of oil related water pollution incidents occur each year.

· Discharging fuel, oil or water containing fuel or oil into drains or watercourses is illegal.

· Many are from unbunded tanks and can easily be avoided by following simple guidelines.

WHY DO WE WANT TO PREVENT IT?

Avoid prosecution: Your employer or you as an individual can be prosecuted for causing water pollution.

Cost: The costs of clean up far exceed those to put control measures in place

Damage to wildlife: Long-term damage to watercourses including fish kills. Oil spreads rapidly - one gallon of oil can completely cover a lake the size of two football pitches

(Do’s

General

· Store oils away from drains or watercourses.

· Return oil and fuels to storage areas after use.

· Locate oil stores away from areas of high

· vehicular movement to prevent accidental damage.

· Bund individual 205 litre drums to 25%

· Supervise all fuel deliveries

· Lock oil stores when not in use.

· Use drip trays under all static plant and during refuelling from mobile plant.

Bulk Storage

· Bund tanks and bowsers to 110%

· Ensure bunds are free from cracks and leaks.

· Regularly empty bunds and drip trays of rainwater.

· Keep all hoses & pipe work within bunded area after use.

· Keep a spill kit near to refuelling areas.

· DO report any irregularities or incidents.
(DON’Ts

· DON’T refuel or store oil within 10m of watercourses or surface water drains

· DON’T leave bunds and drip trays to overflow

· DON’T leave refuelling hoses outside of bunds after use

· DON’T use high pressure delivery systems when filling small containers

· DON’T hose down spills.

· DON’T ignore spillages.
See also Environmental Toolbox Talk number 02 on Spill Controls 

(document number ET-TBT-02)
GROUP EXERCISE

Ask the learners each to give an example of how they can effectively store fuel and oil

Recap learning objective:  Give learners the understanding of the implications of poor storage of fuel and oil and knowledge on how to store these legally to reduce the risk of pollution.

Ask learners if they have any questions.
	Toolbox Talk Delivered by



	Site


	Date

	Attendees

	Name
	Employer
	Job title
	Signature

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Please return copy of completed TBT to Joel Cardinal at the Estates Office
	ET-TBT04-V01
	Environmental Toolbox Talk 04
Water Pollution Prevention (Fuel & Oil)

Version 1
	Page 1 of 2

	Issue Date:

31 August 2013
	
	

	The University of Warwick, Estates Office – Uncontrolled when printed 

	Key to document prefixes: EE=Environmental Policy; EM=EMS Manual; ER=EMS Register; EP=EMS Procedure; EL=EMS Legal Register;

EK=EMS KPI Objectives & Programmes; EO=Environmental Report; EF=Environmental Form; EA=Environmental Audit; ET=Environmental Training; EC=Environmental Record; EV=EMS Management Review



